## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL | Select | Not Quoted | At Par | Excess (+) | Less (-)
Tender Inviting Authority: Maharastra Natural Gas Limited, Pune
Name of Work: Tender for rate contract for period of 2 years for appointment of the contractors to attend the Industrial Connections for City Gas Distribution Network of MNGL Pune GA
Contract No: MNGL/CP/2025-26/61
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE / SCHEDULE OF RATES (SOR) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | . | Item Code / Make | Quantity | Units | Unit Rate inclusive of all taxes & duties except GST (Rs.) | Per Unit Goods & Service Tax @18% (Rs.) | Unit Rate inclusive of all taxes & duties including GST (Rs.) | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes including GST @18% Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | 1) For MDPE Pipeline length to be laid upto 25 meters, fixed Lumpsum charges towards pipeline laying shall be paid. For the additional length to be laid over and above 25 mtrs, pipeline laying rate shall be paid as per Line Item No 4,5 & 6 as the case may be. For the cases where different dia of pipeline is required to be laid, the lumpsum rate of higher size pipeline shall be paid. Example: 1) For pipeline length of 24 mtrs of dia 32 mm:- Amount to paid as per final SOR rate of line no 1.1 below 2) For pipeline length of 30 mtrs of dia 32 mm (by Open Trench Method):- Amount to paid =( for initial 25 meter to be paised as peras per final SOR rate of line no 1.1 below + fo remaining (5 mtr) shall be paid as per final SOR rate of line no 2.1 below and it will similar way for other dia also Note:- This is applicable for All the Pipe sizes, please refer line item 2.00 for detail scope of MDPE Laying and scope of work shall be as per descriotion mentioned in Sr no 2 below | item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | 1.1) 32 mm PE pipe Laying upto 25 M | item2 | 5 | Nos | 9250 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46250 | 54575 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | 1.2) 63mm/90mm Laying upto 25 M | item3 | 110 | Nos | 11750 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1292500 | 1525150 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | 1.3) 125mm/180 mm upto 25 M | item4 | 44 | Nos | 14525 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 639100 | 754138 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | 2) LAYING OF MDPE NETWORK & LMC WORK,, Laying in all kind of surfaces (normal, unprepared, built-up, hard surface of any kind like asphalted, concrete, tiled, paved, brick lined, etc.) by any method (molling/directional drilling, etc confirming to statutory permissions) in all type of soil strata. Construction, Installation, Testing and Commissioning of MDPE pipes. This includes supply of all material which is not in scope of owner like PE electrofusion fittings, warning tapes, Transition Fittings, RCC Guards, etc. Receiving and taking over, handling, loading, transportation and unloading of owner supplied MDPE pipes, and other free issue items from Owner's designated stock yards to Contractor's own stock-yards/ workshops/ work-sites with proper storing, stacking, identification, providing security and insurance cover. Preparation and getting approval of schedules, execution procedures, drawings/ sketches/ wherever required, making trial pits to determine the underground utilities/ services etc. restoration of the abandoned trial pits to original condition.,, Line marking and Grading of the ROU, barricading the work area as per MNGL Safety Policy *, local authorities norms & to the satisfaction of EIC, installation of safety signs and boards, trenching to required depth, repairing of all damaged utilities if any, and payment of any compensation (if claimed by owner/ other utility agencies/third party Barricading & Safety items shall be paid separately under the Line Item No. 20.0 Sand/Soft Soil Padding of 75mm at the trench bottom including supply of Sand/Soft Soil Uncoiling & stringing of pipes, clamping, jointing of the pipe ends/ fittings/ valves by qualified personnel using approved electro-fusion techniques as per specification. Lowering the pipeline in trench to required depths, filling sand/soft graded soil around and upto 75 mm from top of pipe, then anther layer of 125 mm sand/soft graded soil, insertion of carrier pipe inside the Casing pipe wherever required by MNGL(Supply as per specification attached) and placement of warning mat over the pipeline along the complete route, padding around pipeline with suitable approved soil, backfilling with available excavated material after screening, compaction with jumping jack compactor and water at subsequent layers of 150 mm above warning mat. All tiles/ slabs/ curb stones etc removed during excavation shall be placed properly. Roads, pavements, footpaths etc. to be made motorable wherever trenching has been done. Installation and electro fusion jointing of valves, wherever required and as directed by Engineer-in-charge. | item5
6 | Restoration of area to original condition, including cleaning the area of all unserviceable materials, debris, excess earth near trenches to the designated disposal area as per instruction and complete satisfaction of local authorities / Owner/ Engineer -in- Charge. Restoration of all surrounding ground features to that existing before as directed by Engineer-in- charge which would also include replanting of any uprooted trees etc, if required.,, Flushing&,& cleaning&,& Pneumatic testing, purging with nitrogen and commissioning as per specification and approved procedures with providing all tools and tackles, nitrogen, calibrated instruments, qualified manpower and other related accessories and as per the instructions of the Engineer-in Charge. Rectification/repairing of the completed pipelines / installation for any defect / failures due to material or workmanship during defect liability period ( I.e. 12 months from date of commissioning. Handing over the completed works to MNGL for their operation/ use, returning of all surplus material to MNGL stores, reconciliation of free issue material area wise and obtaining no objection certificate. Preparation and submission of Daily progress report, Laying Graphs on daily basis to EIC. Submission of Weekly report, Monthly Progress Report along with material reconciliation statement to EIC. Preparation and submission of As built drawings, crossings details, graphs and deviation statements before commissioning of pipelines. Submission of all documents required for contract closure as per instruction of EIC in numbers as mentioned in contract.,, Any other activities not mentioned / covered explicitly above, but otherwise required for satisfactory completion / operation/ safety / statutory / maintenance of the works shall also be covered under the scope of work and has to be completed by the Contractor within specified schedule at no extra cost to MNGL,, Making trial pits at a distance of 40 to 50 Mtrs or as per the instructions of Site In Charge/Engineer In Charge to ensure the exact location of pipeline and condition of Pipe wherever the pipeline is laid by the HDD Method and the HDD/Shot Length is upto or more than 80 Mtrs and to do the liasoning with the local bodies/residents to facilitate the job/making the pits. The pit location is to be marked on the Graph/As Graph. No extra payment shall be payable to the Contractor for carrying out this activity. All the fitting/material required for the commissioning of the laid MDPE pipe line by jointing with source(charged) pipe line of any size will be Vendor scope.,, | item6 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | 2.1) 32 mm PE pipe Laying over and above 25 | item7 | 100 | Meter | 387.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38792 | 45774.56 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | 2.2) 63/90 mm PE pipe over and above 25 M | item8 | 1200 | Meter | 494.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 593184 | 699957.12 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | 2.3) 125mm PE pipe over and above 25 M | item9 | 22000 | Meter | 543.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11951280 | 14102510.4 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | 3) Pipe Laying (With HDPE Casing Pipe) Pipe laying using manual boring / machine boring (directional drilling) technique (With HDPE Casing Pipe) for carrier pipe sizes of Survey of underground utilities, execution of the work as per specification, including excavation of pits with the hole size not exceeding 20% of the pipe dia, jointing and insertion of carrier pipe without casing and subsequent backfilling, compaction restoration of the pits to its original condition as per specifications and the instructions of Engineer-in-Charge. Payment shall be made on the actual length of Casing Pipe. However, payment for Carrier Pipe inside Casing Pipe shall be paid as per Line Item No.-2.1, 2.2 & 2.3 of Mainline Laying.( Above) | item10 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | 3.1) 32mm Pipe Laying (With HDPE Casing Pipe) | item11 | 50 | Meter | 747 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37350 | 44073 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12 | 3.2) 63mm Pipe Laying (With HDPE Casing Pipe) | item12 | 100 | Meter | 416.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41657 | 49155.26 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | 3.3) 125mm Pipe Laying (With HDPE Casing Pipe) | item13 | 180 | Meter | 617.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 111229.2 | 131250.46 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | 4) Repair and rectification of uncharged/damaged MDPE pipe, laid by other contractor: Flushing, Testing, Commissioning of any size of pipeline stretch and submission of as built autocad drawing for same. This includes supply of all material & tools tackles which is not in scope of owner like warning tapes, Trial Pit, excavation for pipeline rectification etc (Fusion jointing of MDPE gas pipe line will be pay separately, as per line Item No - 4.2 & 4.3 and this is applicable for only against SOR item no 4.1) | item14 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | 4.1) Rectification of uncharged MDPE Pipe for all Sizes | item15 | 1500 | Meter | 52.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 78750 | 92925 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | 4.2) Fusion Jointing-20 & 32mm | item16 | 10 | Nos | 103.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1037.2 | 1223.9 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | 4.3) Fusion Jointing-63 & 125mm | item17 | 40 | Nos | 746.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29845.2 | 35217.34 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | 5) Supply of Steel Casing Pipe 6.4mm Thick- IS: 3589/API 5L Gr. B / IS: 2062 Gr. B (MTC required while claiming this SoR) Quantities has to be procured with due approval of E.I.C | item18 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19 | 5.1) Supply of Steel Casing Pipe-6" NB | item19 | 100 | Meter | 1620 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 162000 | 191160 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
20 | 5.2) Supply of Steel Casing Pipe-10" NB | item20 | 120 | Meter | 3555 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 426600 | 503388 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
21 | 6) Supply of PE to Steel TF PE to Steel Transition Fitting | item21 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
22 | 6.1) Supply of PE to Steel TF : 32 MM to 1" (32mm to 1" as per the specification (MTC required while claiming this SoR)) | item22 | 2 | Nos | 1230 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2460 | 2902.8 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | 6.2) Supply of PE to Steel TF : 63 MM to 2" (63mm to 2" as per the specification (MTC required while claiming this SoR)) | item23 | 4 | Nos | 4763 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19052 | 22481.36 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
24 | 6.3) Supply of PE to Steel TF : 125 MM to 4" (63mm to 2" as per the specification (MTC required while claiming this SoR)) | item24 | 4 | Nos | 13780 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55120 | 65041.6 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
25 | 7) Removing of Built-up Surfaces Breaking and Removing of the hard surfaces of roads including Asphalting,metal,Cement concrete/RCC, bituminous,Tiles/Slabs/Blocks/Curb stones/Footpath,Brick setting/channels etc inside the premises of INC customers, as per sites condition & as guided by MNGL. | item25 | 2800 | Meter | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 336000 | 396480 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26 | 8) Excavation of Hard Rock Excavation of hard rock wherever hard rock of single piece exceeding 1.5m in length removable by Pneumatic Chisel /dril / Porkland Machine etc. as per specifications and direction of EIC | item26 | 5280 | M3 | 952.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5029675.2 | 5935016.74 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | 9) Excavation for Hook up/Saddling (TOP TEE) Excavation of pit for Hook up/Saddling of existing charged line at any depth for Connecting INC Customers.(MNGL existing MDPE charged pipeline depth varies from 1.0m to 5.0m.), actually Hook Up/Saddling photos of sites along with their google co-ordinates are required while claiming this SoR | item27 | 350 | M3 | 1250 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 437500 | 516250 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
28 | 10) Installation of MDPE Valves Construction of RCC valve chamber should be done with as per the tender drawing with/without supply of extended stem PE ball valve with/with out purge as instructed by EIC. This SOR covers the supply of required MDPE fittings to install the extended stem valve, manpower, material, tools, equipment etc. Unit rate includes cost of labours, tools, tackles, equipment, equipment hire charges, supply of all materials such as minimum 43 grade cement including sulphate resistant cement for sub-structures, R/F steel dia 12mm,SFRC chamber cover,barricading, liasioning, permissions,etc. This SOR also includes any restoration,liasioning,barricades deployment,pit which needs to be done in order to complete the job. | item28 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
29 | 10.1) Construction of RCC valve chamber & installation with supply Extended stem PE Ball valve | item29 | 30 | Nos | 25555.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 766676.1 | 904677.8 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
30 | 10.2) Construction of RCC valve chamber & installation with out supply Extended stem PE Ball valve | item30 | 170 | Nos | 9077.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1543134.2 | 1820898.36 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31 | 11) Supply and Installation of RRC Route Markers Route Markers as per Sketch: Supply, fabrication and installation of RCC route markers, at distance of every 50 meter, as per the attached drawings, along the route including all associated civil works such as excavation and construction in all types of soils, grouting with concrete, clearing , supply and application of approved color and quality of primer and paint, stencil letter cutting of numbers, direction, chainage etc. restoration of area to original condition and performing all works as per drawings, specification and instruction of EIC. Markers are also required to be installed at all T poins of pipeline, end point of pipeline, both end at every road crossing, and as per direction of EIC. | item31 | 550 | Nos | 527.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 290312 | 342568.16 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
32 | 12) Supply and Installation of Plate Markers Pipeline Warning Sign Markers without Foundation as per Sketch (Plate Marker): Supply, fabrication and installation of warning markers as per the attached drawings and as per the instruction of EIC. | item32 | 400 | Nos | 182 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 72800 | 85904 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
33 | 13) PCC 1:4:8 Plain Cement Concrete Supplying and laying plain cement concrete (including shuttering of required) in all types of concrete works including leveling courses below foundation, substructure, superstructure, chambers, cable trench, under floors and any other locations, at all levels as per drawings, specifications and directions of EIC. Foundation for installation of Service Regulator shall also be considered in this SOR. PCC 1:4:8 1 Cement: 4 Coarse sand: 8 stone aggregate 40 mm nominal size | item33 | 240 | M3 | 5500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1320000 | 1557600 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34 | 14) PCC 1:2:4 1 Cement : 2 Coarse sand : 4 stone aggregate 20mm nominal size. (Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials, shuttering, earthwork in excavation and backfilling using approved earth in all conditions etc. with all bye works and sundry works.) | item34 | 600 | Sq. mtr | 5917 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3550200 | 4189236 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
35 | 15) RCC M-20 Reinforced Cement Concrete,, Providing and laying reinforced of grade M-20 with 20 mm and down grade crushed stone aggregate in all types of structures like foundations, pedestals, pedestal bases, pipe supports, sleepers cable trench including construction joints, bitumen painting on surface in contact with soil, providing and fixing reinforcing steel, shuttering, inserts, finishes etc. at all depths and heights complete as per drawings , specifications and direction of the Engineer-in- Charge. Rate to include cost of all labour, tools, tackles, equipment , hire charges, supply of all materials, such as minimum 43 grade cement including sulphate resistant cement for sub structures, R/F steel, Inserts, bolts, conduits, bitumen, other minor construction materials, shuttering tanging, earth work in excavation and backfilling using serviceable earth in all conditions shorting bailing and pumping out water, testing of concrete, curing etc. will all bye works and sundry works | item35 | 400 | M3 | 6500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2600000 | 3068000 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
36 | 16) Supply and Installation of Concrete Sleeves. Supply, installation of concrete sleeves, insertion of MDPE pipe, sealing the annuals, firm fixing of sleeves with concrete mix as per specification and instructions of the EIC. | item36 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
37 | 16.1) Supply Installation-Concrete Sleeve - 4" (One meter long piece)) | item37 | 5 | Nos | 280 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1400 | 1652 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
38 | 16.2) Supply Installation-Concrete Sleeve - 8" (Five meter long piece) | item38 | 25 | Nos | 652 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16300 | 19234 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | 16.3) Supply Installation-Concrete Sleeve: 10" (Three meter long piece) | item39 | 40 | Nos | 938 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37520 | 44273.6 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
40 | 17) Liaisoning and Permission Work: To get permission by liasoning / preparation of application & drawings from Statutory Authorities like (PMC/PCMC/NHAI/PMRDA/SMART CITY/GRAMPANCHAYAT/MIDC/DEFENCE/PWD/ZP/IRRIGATION/FOREST/Pvt Land & Any other authority whocse permission is required for laying), Municipal Corporation/Council/Nagarparishad/Nagarpanchyat & Development Authority and submit to MNGL Engineer in Charge (However necessary required documents for Permission will be given by MNGL to Contractor for further submission to Statutory Authority and statutory demand charges from Statutory Authority will be paid by MNGL), Job also includes getting NOC and BG return from Authorities after completion of work and submission to MNGL Engineer in Charge. This SoR will be claimabale only after submission the Original permission/NoC from Statutory Authority | item40 | 18000 | Meter | 85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1530000 | 1805400 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
41 | 18) GI Pipe Threaded Installation of "C" Class GI Service Pipes with GI Fittings including Elbow, Tees, Cross, Union, Socket, Reducer, Nipple, End Cap, End Plug,Isolation Valve,Appliance Valve and all other require fittings, etc of NPT Thread,, Preparation and approval of schedules , execution procedures, sketches. Finalization of optimum route with consent of customer and MNGL representative / TPI, from transition fitting to meter inlet. Supply and Installation of GI Pipes , Fittings and Valves including NPT threading, painting as specified.,, Supply & Fixing of approved, Clamps, Dowell Plugs with SS screws, grout material, suitable thread sealant I.e. Teflon Tape/ lock tight, drilling of holes through tiles / wood/ marble/ Granite etc . Jointing of PE to aboveground service GI pipes, testing, purging and commissioning of the complete installation.,, Drilling of holes through walls with proper heavy duty Hammer Drill Machine, tools & tackles, using proper sealant/ grout material & colours to match original, replacement of damages during drilling, restoring the area to original condition to the satisfaction of Owner/ EIC.,, All above activities to be carried out as per specification to the complete satisfaction of consumer & as directed by EIC.,, Testing, purging, commissioning, of Network; submission of as built drawing for PE line (plotting service line in main network line) and isometric drawing of GI installation duly accepted by customer and owner / owner's representative,, Any other activity not mentioned / covered, explicitly above, but otherwise required for satisfactory completion/ safety/ statutory/ maintenance of works shall also be covered under scope of work and has to be completed by contractor within specified schedule at no extra cost to MNGL.,, Supply of all tools, tackles, Safety Harness Belt of approved quality and consumables required to execute the work in an efficient manner. Contractor has to maintain proper data entry operator at his office with laptop/desktop and update daily activity in MNGL portal daily. Installation of 1/2" NB GI Pipe Welded after Isolation Valve of Regulator piece(Forged Fittings),, | item41 | [52 empty] | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
42 | 18.1) 1/2" NB GI Pipe Threaded | item42 | 40 | Meter | 234.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9369.6 | 11056.13 | #VALUE!
43 | 18.2) 3/4" NB GI Pipe Threaded | item43 | 35 | Meter | 245.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8598.8 | 10146.58 | #VALUE!
44 | 18.3) 1" / 2" NB GI Pipe Threaded | item44 | 100 | Meter | 301 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30100 | 35518 | #VALUE!
45 | 19) GI Pipe welded GI / Pipe installation Installation of "C" Class GI Service Pipes with GI Fittings including Elbow, Tees, Cross, Union, Socket, Reducer, Nipple, End Cap, End Plug,Isolation Valve,Appliance Valve and all other require fittings, etc of NPT Thread,, Preparation and approval of schedules , execution procedures, sketches. Finalization of optimum route with consent of customer and MNGL representative / TPI, from transition fitting to meter inlet. Supply and Installation of GI Pipes , Fittings and Valves including NPT threading, painting as specified.,, Supply & Fixing of approved, Clamps, Dowell Plugs with SS screws, grout material, suitable thread sealant I.e. Teflon Tape/ lock tight, drilling of holes through tiles / wood/ marble/ Granite etc . Jointing of PE to aboveground service GI pipes, testing, purging and commissioning of the complete installation.,, Drilling of holes through walls with proper heavy duty Hammer Drill Machine, tools & tackles, using proper sealant/ grout material & colours to match original, replacement of damages during drilling, restoring the area to original condition to the satisfaction of Owner/ EIC.,, All above activities to be carried out as per specification to the complete satisfaction of consumer & as directed by EIC.,, Testing, purging, commissioning, of Network; submission of as built drawing for PE line (plotting service line in main network line) and isometric drawing of GI installation duly accepted by customer and owner / owner's representative,, Any other activity not mentioned / covered, explicitly above, but otherwise required for satisfactory completion/ safety/ statutory/ maintenance of works shall also be covered under scope of work and has to be completed by contractor within specified schedule at no extra cost to MNGL.,, Supply of all tools, tackles, Safety Harness Belt of approved quality and consumables required to execute the work in an efficient manner. Contractor has to maintain proper data entry operator at his office with laptop/desktop and update daily activity in MNGL portal daily. Installation of 1/2" NB GI Pipe Welded after Isolation Valve of Regulator piece(Forged Fittings),, | item45
46 | 19.1) 1/2" NB GI Pipe welded | item46 | 50 | Meter | 286.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14329.5 | 16908.81 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
47 | 19.2) 3/4" NB GI Pipe Welded | item47 | 70 | Meter | 338.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23717.4 | 27986.53 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
48 | 19.3) 1"/ 2'' NB GI Pipe Welded | item48 | 200 | Meter | 687.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 137440 | 162179.2 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
50 | 20) HSE Ensuring at Site - Hard Barricades HSE Ensuring at Site. Ensuring Personnel Protective Equipment and other site related safety requirements (Required Colors photos of acutally working sites while claiming this SoR & Statuatory Permission/NoC) | item49 | 22000 | Meter | 21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 462000 | 545160 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
51 | 21) Crossing of utilities/Drainage/Culverts/Nalah Excluding supply of all types of MDPE pipes (PE 80/100,SDR11), but Including supply of all types of MDPE fittings, Warming mat etc. as required to complete the job (Particular job specification). "Receiving and taking-over" as defined in the specification, handling, loading, transportation and unloading of Owner supplied MDPE line pipes (PE80/100, SDR11) of all sizes (as free issue items) from Owner's designated place(s) of issue to Contractor's own stock-yard(s)/ Work Shop(s)/ work-site(s) including proper storing, stacking, identification, providing security & insurance cover , including supply of accessories of all sizes & thickness like Bends, Couplers, End caps, Tee, PE Reducer, CS to PE Fittings, Saddle Tapping etc. This SOR covers the laying/installation of all sizes of MDPE pipes, its jointing, testing, commissioning, submission of laying reports, as-built drawings and other documents etc. as per the instructions of EIC. All types of nala crossing for any length covered in this SOR Above ground laid MDPE pipe shall be protected by RCC i.e. all sides of MDPE Pipe covered by 4" thick RCC. Providing and laying reinforced cement of grade M-20 with 20mm and down grade crushed stone aggregate in all types of structures like foundations, pedestals, pedestal bases, pipe supports, sleepers cable trench including construction joints, bitumen painting on surface in contact with soil, supplying and fixing reinforcing steel, shuttering, inserts, finishes etc. at all depths and heights complete as per drawings, specifications and direction of the Engineer-in-charge. Unit rate includes cost of labours, tools, tackles, equipment, equipment hire charges, supply of all materials such as minimum 43 grade cement including sulphate resistant cement for sub-structures, R/F steel dia 12mm, Inserts, bolts, conduits, bitumen, other minor construction materials, shuttering, stanging, earthwork in excavation and backfilling using serviceable earth in all conditions, shorting bailing and pumping out water, testing of concrete, curing etc. with all bye works and sundry works. This SOR also includes any restoration,liasioning,barricades deployment,pit which needs to be done in order to complete the job. | item50 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
52 | 21.1) Above ground Crossing of Culverts/Nalah Excluding supply of all types of MDPE pipes (PE 80/100,SDR11), but Including supply of all types of MDPE fittings, Warming mat etc. as required to complete the job (Particular job specification). "Receiving and taking-over" as defined in the specification, handling, loading, transportation and unloading of Owner supplied MDPE line pipes (PE80/100, SDR11) of all sizes (as free issue items) from Owner's designated place(s) of issue to Contractor's own stock-yard(s)/ Work Shop(s)/ work-site(s) including proper storing, stacking, identification, providing security & insurance cover , including supply of accessories of all sizes & thickness like Bends, Couplers, End caps, Tee, PE Reducer, CS to PE Fittings, Saddle Tapping etc. This SOR covers the laying/installation of all sizes of MDPE pipes, its jointing, testing, commissioning, submission of laying reports, as-built drawings and other documents etc. as per the instructions of EIC. Suitable size of HDPE casing (NP6 standard) shall be provided by the vendor in case of underground nala / culvert crossing. Additional material like shuttering for supporting the side wall of the trench or any other material / things required for safe working for completion of job / as per instructions This SOR also includes any restoration,liasioning,barricades deployment,pit which needs to be done in order to complete the job. | item51 | 100 | Meter | 2147.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 214792 | 253454.56 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
53 | 21.2) Under ground Crossing of Culverts/Nalah Material Cost for Supply of Concrete Sleeves / HDPE Sleeves: Supply, installation of sleeve, insertion of pipe, sealing the annuals, firm fixing of Sleeves with concrete mix. Breaking through any obstructions and their subsequent restoration, as per specifications and instructions of the Engineer-in-charge. | item52 | 100 | Meter | 2264.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 226412 | 267166.16 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
54 | 22) Groove cutting: Groove cutting in RCC/CC/PCC etc. with supply of all type of tools, material, manpower, helper etc as required and bitumen filling (if required) in the gap after the trench restoration as per specifications and cleaning the area complete to the satisfaction of EIC. In this SOR, One (1) running mtr means cutting of both side of the trench or Per running trench length. | item53 | 3000 | Meter | 49.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 149640 | 176575.2 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
55 | 23) Shifting & installation of DPRS/IPRS/MRS/SRM/DCS etc. Receiving and taking over, handling, loading, transportation and unloading of Owner's supplied MRS/DRS upto 10 T from Owner's designated stack-yard to Contractor's stock yard/workshop/work-site including preliminary activities. This SOR also covers the installation of MRS/DRS on site, including the supplied of all required material and tools which is required to installed the MRS/DRS(Like: Fixing of Unit, Earthling etc.). Providing, Earthing of IPRS and DPRS - Testing and certification of earthing stations including providing and laying 300 x 300 x 3 mm GI plate as a electrode To form earth electrode with inspection chamber, 300 x300 mm Chamber with earth link cover, painting and identification etc.(Scope including excavation by manual/Machines /Boaring, Charcoal, salt, or Bentonie slurry, BFC, construction of chamber etc as per drawing) to complete the job in all respect as per satisfaction of EIC) The contractor shall pay LUMSUM charges for shifting of MRS, DRS up to 10 Ton Capacity which includes loading, unloading by cranes, manpower, tools and tackles, ropes , vehicle required for shifting of MRS/DRS , managing transit issues etc. in a safe manner. Damage of assets will recover from contractors. Shifting activities will perform as directed by AIC/EIC with proper documentation & written mail communications. | item54 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
56 | 23.1) Shifting of DPRS/IPRS/MRS/SRM/DCS | item55 | 120 | Nos | 8544.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1025313.6 | 1209870.05 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
57 | 23.2) Installation of DPRS/IPRS/MRS/SRM/DCS | item56 | 120 | Nos | 8447.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1013727.6 | 1196198.57 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
58 | 24.0) Last Mile Connectivity (LMC) 1) The contractor shall pay last mile connectivity (LMC) charges only after successful testing, commissioning of MDPE network, commissioning of Non-Domestic Meters, installation of root /plate markers, completion of allied activities & submission of the related documents to AIC/EIC. 2) The contractor shall paint (double coat) Non-Domestic Meters foundation/wall, supports by Oil Paint / exterior paint as directed by AIC/EIC. 3) MRS Foundation White washing/Painting wherever will be required or as directed by EIC/AIC | item57 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
59 | 24.1) LMC for Canteen/Commercial connections in gasified area Start to End MDPE & GI connectivity till commissioning and submission of JMR | item58 | 15 | Nos | 8325 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 124875 | 147352.5 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
60 | 24.2) Last Mile Connectivity for Industrial Customer where MRS installation has to be done | item59 | 120 | Nos | 10800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1296000 | 1529280 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
61 | 24.3) Last Mile Connectivity for Industrial Customer where Non-domestic meter installation has to be done | item60 | 30 | Nos | 6994.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 209849.1 | 247621.94 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
62 | 25) Painting of Old Entire MRS (Includes Internal Piping , Body etc) - Spray Painting As per the directives of AIC/EIC, Old MRS will be painted by spray painting machine which includers cleaning of MRS, Paint, Thinner, Spray Painting machine, gun, labour, supervisors & allied materials. Colour codes will inform by AIC/EIC. Painting includes complete MRS body (internally & externally), internal piping’s, supports etc. painting with double coat oil paint recommended by AIC/EIC. Also, contractor has to change the MRS glass/fibre sheet along with packing, minor repairs of body as directed by AIC/EIC. Rubber packing to pipeline, insulation to U-clamps etc. | item61
63 | 25.1) Upto 500 SCMH MRS | item62 | 5 | Nos | 4451.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22256.75 | 26262.97 | #VALUE!
64 | 25.2 ) Upto 500 SCMH MRS | item63 | 5 | Nos | 6500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32500 | 38350 | #VALUE!
65 | 26) Painting of Old Entire MRS (Includes Internal Piping , Body etc) - Manual Painting (Brush,Roller etc) As per the directives of AIC/EIC, Old MRS will be painted by spray painting machine which includers cleaning of MRS, Paint, Thinner, Spray Painting machine, gun, labour, supervisors & allied materials. Colour codes will inform by AIC/EIC. Painting includes complete MRS body (internally & externally), internal piping’s, supports etc. painting with double coat oil paint recommended by AIC/EIC. Also, contractor has to change the MRS glass/fibre sheet along with packing, minor repairs of body as directed by AIC/EIC. Rubber packing to pipeline, insulation to U-clamps etc. | item64
66 | 26.1) Upto 500 SCMH MRS | item65 | 5 | Nos | 2670.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13354.05 | 15757.78 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
67 | 26.2) Upto 500 SCMH MRS | item66 | 5 | Nos | 4451.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22256.75 | 26262.97 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
68 | 27) HDD Laying(Dia.63,Dia.90 and Dia.125)in Soft soil surface MDPE Pipe laying in soft soil/murum,using HDD Technicque- Scope of works includes- i) All the fittings in the scope of vendor ii)All types of required survey i.e.Utility survey,GPR Survey,Route Survey & any other survey as required iii) Arrangement of water iv) Excavation for entry & exit pit& acces forpalcement of HDD Machine v) Bentonite & polymer mixing & disposal of used material i.e.water,debris & other material from site. vi) HDD Machine transportation. vii) Liasioning,Laying,Testing with all joints,commissioning of the entire laid pipeline. viii) Submission of all documents,TC, as built drawings.Any other activity which needs to be done for completion of pipeline laying works. ix) Rectification of damaged utilities on immediate basis. | item67 | 800 | Meter | 1914.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1531808 | 1807533.44 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
69 | 28) HDD Laying(Dia.63,Dia.90 and Dia.125)in Hard soil surface MDPE Pipe laying in Hard soil,using HDD Technicque- Scope of works includes- i) All the fittings in the scope of vendor ii)All types of required survey i.e.Utility survey,GPR Survey,Route Survey & any other survey as required iii) Arrangement of water iv) Excavation for entry & exit pit& acces forpalcement of HDD Machine v) Bentonite & polymer mixing & disposal of used material i.e.water,debris & other material from site. vi) HDD Machine transportation. vii) Liasioning,Laying,Testing with all joints,commissioning of the entire laid pipeline. viii) Submission of all documents,TC, as built drawings.Any other activity which needs to be done for completion of pipeline laying works. ix) Rectification of damaged utilities on immediate basis. | item68 | 2900 | Meter | 7522.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21816294 | 25743226.92 | #VALUE!
70 | 29) Installation of non domestic Meter (G-4 to G-16) Installation & Fixing of meters with associated inlet and outlet connections/ fittings, valves approved meter brackets and other supports by proper scaffolding/ grouting, Restoring the area to original condition as per specification. | item69 | 5 | Nos | 2316.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11583.25 | 13668.24 | #VALUE!
71 | 30) Installation of non domestic Regulator Installation & Fixing of Service/Commercial/Domestic regulator with associated inlet and outlet connections/ fittings, purging valves approved regulator brackets and other supports by proper scaffolding/ grouting, Restoring the area to original condition as per specification | item70 | 40 | Nos | 869.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34789.2 | 41051.26 | #VALUE!
72 | 31) Installation of RPD Meter (G-25 & Above) with EVC (2 Bar outlet pressure) Installtion of RPD meters & EVC supllied by MNGL.all necessary fittings like Y-type strainer,Conical Filter, Orifice plate, pressure guage, etc are in the scope of Vendor & the vendor has to submit TC to MNGL for the fittings/accessories used in the assembly & the whole assembly should be done as per the directives of EIC/AIC (For reference sketch is attched in tender document) | item71 | 30 | Nos | 15830 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 474900 | 560382 | #VALUE!
73 | 32) Installation of RPD Meter (G-25 & Above) without EVC (350 milibar) Installtion of RPD meters by MNGL.all necessary fittings like Y-type strainer,Conical Filter, Orifice plate, pressure guage, etc are in the scope of Vendor & the vendor has to submit TC to MNGL for the fittings/accessories used in the assembly & the whole assembly should be done as per the directives of EIC/AIC (For reference sketch is attched in tender document) | item72 | 10 | Nos | 14600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 146000 | 172280 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 62109630.7 | 73289364.27 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information