## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL | Select | Not Quoted | At Par | Excess (+) | Less (-)
Tender Inviting Authority: Maharastra Natural Gas Limited, Pune
Name of Work: Tender for Rate contract for period of 2 years for appointment of the contractors to attend the Commercial Connections for City Gas Distribution Network of MNGL Pune GA
Contract No: MNGL/CP/2025-26/82
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE / SCHEDULE OF RATES (SOR) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | . | Item Code / Make | Quantity | Units | Unit Rate inclusive of all taxes & duties except GST (Rs.) | Per Unit Goods & Service Tax @18% (Rs.) | Unit Rate inclusive of all taxes & duties including GST (Rs.) | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes including GST @18% Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | 1) For MDPE Pipeline length to be laid upto 25 meters, fixed Lumpsum charges towards pipeline laying shall be paid. For the additional length to be laid over and above 25 mtrs, pipeline laying rate shall be paid as per Line Item No 1.1, 2.2 & 2.3 as the case may be. For the cases where different dia of pipeline is required to be laid, the lumpsum rate of higher size pipeline shall be paid. Example: A) For pipeline length of 25 mtrs of dia 32 mm:- Amount to paid as per ine Item No. 1.1 B) For pipeline length of 30 mtrs of dia 32 mm (by Open Trench Method):- Amount to paid = As per SoR No. 2.1 Note:- This is applicable for All the Pipe size & vaild only for laying upto 25 mtrs only, Above 25 mtrs this SoR is not applicable. please refer line 2.1, 2.2 & 2.3 or detail scope of MDPE Laying | item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | 1.1) 32 mm PE pipe Laying upto 25 M | item2 | 90 | Nos | 9250 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 832500 | 982350 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | 1.2) 63mm/90mm Laying upto 25 M | item3 | 100 | Nos | 11750 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1175000 | 1386500 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | 1.3) 125mm/180 mm upto 25 M | item4 | 50 | Nos | 14525 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 726250 | 856975 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | 2.0 ) LAYING OF MDPE NETWORK & LMC WORK,, Laying in all kind of surfaces (normal, unprepared, built-up, hard surface of any kind like asphalted, concrete, tiled, paved, brick lined, etc.) by any method (molling/directional drilling, etc confirming to statutory permissions) in all Construction, installation, testing, and commissioning of MDPE pipelines, including supply of all materials not in the scope of the Owner, such as PE electrofusion fittings, transition fittings, warning tapes, RCC guards, etc. Receiving, handling, loading, transportation, and unloading of Owner-supplied MDPE pipes and other free-issue items from designated stockyards to Contractor’s stockyards/workshops/worksites with proper storing, stacking, identification, security arrangements, and insurance cover. Preparation and approval of execution schedules, procedures, drawings/sketches as required, excavation of trial pits to determine underground utilities/services, restoration of abandoned pits to original condition, and liaison with local bodies/residents to facilitate execution, especially in HDD stretches, with pit locations marked on as-built graphs. Line marking and grading of ROU, barricading of work areas in compliance with MNGL Safety Policy and statutory norms, installation of caution boards and traffic signage, trenching to the required depth, identification and repairing of damaged utilities (if any), and settlement of compensation claims of owners/utility agencies/third parties as applicable. Sand/soft soil padding of 75 mm at trench bottom including supply, uncoiling and stringing of pipes, alignment and clamping, jointing of pipe ends, fittings, and valves by qualified personnel using approved electrofusion techniques, lowering of the pipeline into trenches, further padding of 75 mm below and 125 mm above the pipe, insertion of carrier pipe inside casing pipe wherever required as per MNGL specifications, continuous placement of warning mats along the pipeline route, suitable soil padding, and backfilling with screened excavated material in 150 mm compacted layers using jumping jack compactors and water. Restoration of removed tiles, slabs, curbstones, pavements, roads, and footpaths to their original motorable condition; reinstatement of ground features such as landscaping and replanting of trees if required; cleaning of the site; removal and disposal of unserviceable material and excess earth to designated disposal areas; ensuring overall restoration to the satisfaction of Engineer-in-Charge and local authorities. Installation and electrofusion jointing of valves and fittings as per instructions of the Engineer-in-Charge, including supply and installation of all fittings/materials required for commissioning and final tie-in with charged pipelines of any size. Flushing, cleaning, pneumatic testing, nitrogen purging, and commissioning of pipelines as per specifications and approved procedures, with provision of nitrogen, calibrated instruments, tools, tackles, qualified manpower, and execution under the supervision of the Engineer-in-Charge. Rectification/repair of any defects or failures in the completed pipeline system due to material or workmanship during the defect liability period of 12 months from the date of commissioning. | item5
6 | Preparation and submission of daily progress reports and laying graphs, weekly and monthly progress reports with material reconciliation statements, as-built drawings, crossing details, deviation statements, and final graphs prior to commissioning; reconciliation of free-issue materials, return of surplus items to MNGL stores, and obtaining no objection certificates. GIS updation of the laid mainline and service pipeline routes with all required attributes, coordinates, and features as per MNGL specifications prior to final handover. Submission of all documents required for contract closure as per Engineer-in-Charge’s instructions in the specified number of copies. Execution of any other incidental or ancillary activities not explicitly mentioned above but necessary for the safe, statutory, and satisfactory completion, operation, and maintenance of the MDPE pipeline system within the contract schedule and at no additional cost to MNGL. | item6 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | 2.1) 32 mm PE pipe Laying above 25 m | item7 | 2000 | Meter | 383 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 766000 | 903880 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | 2.2) 63/90 mm PE pipe over and above 25 M | item8 | 7000 | Meter | 425 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2975000 | 3510500 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | 2.3) 125mm PE pipe over and above 25 M | item9 | 2000 | Meter | 543.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1086480 | 1282046.4 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | 3) Pipe Laying (With HDPE Casing Pipe) Pipe laying using manual boring/machine boring (directional drilling) technique with HDPE casing pipe for carrier pipe sizes, including survey of underground utilities, execution of work as per specifications, excavation of entry and exit pits with hole size not exceeding 20% of the pipe diameter, jointing and insertion of carrier pipe (with or without casing as applicable), subsequent backfilling, compaction, and complete restoration of pits to original condition in line with specifications and instructions of the Engineer-in-Charge. Measurement & Payment: Payment shall be made on the actual length of HDPE casing pipe laid. Payment for the carrier pipe inserted inside the casing shall be made separately under Line Item No.-2.1, 2.2 & 2.3 of Mainline Laying.( Above) | item10 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | 3.1) 32mm Pipe Laying (With HDPE Casing Pipe) | item11 | 50 | Meter | 747 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37350 | 44073 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12 | 3.2) 63mm Pipe Laying (With HDPE Casing Pipe) | item12 | 50 | Meter | 416.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20828.5 | 24577.63 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | 3.3) 125mm Pipe Laying (With HDPE Casing Pipe) | item13 | 50 | Meter | 605 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30250 | 35695 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | 4.0) HDD Laying(Dia.63,Dia.90 and Dia.125)in Soft soil surface MDPE Pipe laying in soft soil/murum,using HDD Technicque- Scope of works includes- i) All the fittings in the scope of vendor ii)All types of required survey i.e.Utility survey,GPR Survey,Route Survey & any other survey as required iii) Arrangement of water iv) Excavation for entry & exit pit& acces forpalcement of HDD Machine v) Bentonite & polymer mixing & disposal of used material i.e.water,debris & other material from site. vi) HDD Machine transportation. vii) Liasioning,Laying,Testing with all joints,commissioning of the entire laid pipeline. viii) Submission of all documents,TC, as built drawings.Any other activity which needs to be done for completion of pipeline laying works. ix) Rectification of damaged utilities on immediate basis. | item14 | 500 | Meter | 1910.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 955100 | 1127018 | #VALUE!
15 | 5.0) HDD Laying(Dia.63,Dia.90 and Dia.125)in Hard soil surface MDPE Pipe laying in Hard soil,using HDD Technicque- Scope of works includes- i) All the fittings in the scope of vendor ii)All types of required survey i.e.Utility survey,GPR Survey,Route Survey & any other survey as required iii) Arrangement of water iv) Excavation for entry & exit pit& acces forpalcement of HDD Machine v) Bentonite & polymer mixing & disposal of used material i.e.water,debris & other material from site. vi) HDD Machine transportation. vii) Liasioning,Laying,Testing with all joints,commissioning of the entire laid pipeline. viii) Submission of all documents,TC, as built drawings.Any other activity which needs to be done for completion of pipeline laying works. ix) Rectification of damaged utilities on immediate basis. | item15 | 500 | Meter | 7522.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3761430 | 4438487.4 | #VALUE!
16 | 6) Repair and rectification of uncharged/damaged MDPE pipe, laid by other contractor: Flushing, testing, and commissioning of any size of MDPE pipeline as per approved procedures and specifications. Preparation and submission of As-Built AutoCAD drawings for the rectified pipeline stretch. Includes supply of all materials, tools, and tackles not in the scope of Owner such as warning tapes, excavation and trial pits for pipeline rectification, and other incidental works required for successful completion. Unit of Measurement: Running Meter (RM) of MDPE pipeline stretch repaired/rectified and successfully commissioned. Payment Terms: Payment shall be made on the actual length of MDPE pipeline stretch repaired, tested, and commissioned. Fusion jointing of MDPE pipeline shall be measured and paid separately under Line Item Nos. 6.2 & 6.3 | item16 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17 | 6.1) Rectification of uncharged MDPE Pipe for all Sizes | item17 | 500 | Meter | 52.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26250 | 30975 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18 | 6.2) Fusion Jointing-20 & 32mm (Fusion Jointing for pipe line connectivity (applicable only for line item no - 6.00) | item18 | 50 | Nos | 102 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5100 | 6018 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | 6.3) Fusion Jointing-63 & 125mm (Fusion Jointing for pipe line connectivity (applicable only for line item no - 6.00) | item19 | 50 | Nos | 746.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37306.5 | 44021.67 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
20 | 7)Supply of Steel Casing Pipe 6" NB, 6.4mm Thick- IS: 3589/API 5L Gr. B / IS: 2062 Gr. B (MTC required for claiming this SoR) Quantities has to be procured with due approval | item20 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
21 | 7.1) Supply of Steel Casing Pipe-6" NB | item21 | 50 | Meter | 1620 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 81000 | 95580 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
22 | 7.2) Supply of Steel Casing Pipe-10" NB | item22 | 50 | Meter | 3555 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 177750 | 209745 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23 | 8) Supply of PE to Steel TF PE to Steel Transition Fitting | item23 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
24 | 8.1) Supply of PE to Steel TF : 32 MM to 1" (32mm to 1" as per the specification (MTC required while claiming this SoR)) | item24 | 5 | Nos | 1230 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6150 | 7257 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | 8.2) Supply of PE to Steel TF : 63 MM to 2" (63mm to 2" as per the specification (MTC required while claiming this SoR)) | item25 | 5 | Nos | 4763 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23815 | 28101.7 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
26 | 8.3) Supply of PE to Steel TF : 125 MM to 4" (63mm to 2" as per the specification (MTC required while claiming this SoR)) | item26 | 5 | Nos | 13780 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 68900 | 81302 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
27 | 9) Removing of Built-up Surfaces Breaking and removal of built-up/hard surfaces of roads and pavements, including asphalt, metal, cement concrete/RCC, bituminous surfaces, tiles, slabs, blocks, curbstones, footpaths, brick setting/channels, etc., inside the premises of Commercial customers. Work to be car Removal, collection, and safe stacking/disposal of debris to designated areas as per local norms. | item27 | 3500 | Meter | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 420000 | 495600 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28 | 10) Excavation of Hard Rock Excavation of hard rock encountered in single pieces exceeding 1.5 m in length, continuous Asphalt/Bituminous, and Concrete. Removal to be carried out using pneumatic chisels, drills, pokland machines, or other approved mechanical means as per specifications. Work to be executed under the supervision and directions of the Engineer-in-Charge (EIC). Includes handling, stacking, and disposal of excavated rock/debris to designated areas as instructed. | item28 | 1500 | M3 | 952.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1428885 | 1686084.3 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | 11) Excavation for Hook up/Saddling (TOP TEE) Excavation of a pit for hook-up/saddling of the existing charged MDPE pipeline at any depth for connecting commercial customers. Depth of the existing MNGL-charged MDPE pipeline may vary from 1.0 m to 5.0 m. Work includes excavation, shoring (if required), safe handling of charged pipeline, dewatering (if needed), backfilling, compaction, and complete restoration of the site as per MNGL specifications and Engineer-in-Charge (EIC) instructions. Contractor shall ensure strict adherence to MNGL safety policy and O&M guidelines while working on charged pipelines. Submission of site photographs (before, during, and after execution) along with Google coordinates is mandatory while claiming this SoR. | item29 | 600 | M3 | 1250 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 750000 | 885000 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
30 | 12) Installation of MDPE Valves Construction of RCC valve chamber as per approved tender drawings and instructions of the Engineer-in-Charge (EIC). Scope includes execution with or without the supply/installation of an extended stem PE ball valve with or without a purge arrangement, as specified. Supply of all required MDPE fittings for extended stem valve installation. Deployment of manpower, materials, tools, tackles, and equipment necessary to complete the work. Supply of all civil materials, including a minimum 43-grade cement (including sulphate-resistant cement for sub-structures), reinforcement steel of 12 mm dia, and SFRC chamber cover. Execution of associated works such as barricading, liaisoning, obtaining permissions, excavation of the pit, and any restoration required after completion of work. Unit rate shall be inclusive of cost of labour, material, tools, tackles, equipment hire charges, civil construction materials, MDPE fittings, and all incidental works such as barricading, liaisoning, permissions, pit excavation, and restoration.No extra payment shall be made for any activity required to complete the chamber in all respects as per the specifications and satisfaction of the Engineer-in-Charge.. | item30 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
31 | 12.1) Construction of RCC valve chamber & installation without supply, Extended stem or without extended of all sizes PE Ball valve | item31 | 90 | Nos | 9077.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 816953.4 | 964005.01 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
32 | 12.2) Construction of RCC valve chamber & installation with supply Extended stem PE Ball valve | item32 | 10 | Nos | 25555.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 255558.7 | 301559.27 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | 13) Supply and Installation of RRC Route Markers Supply, fabrication, and installation of RCC route markers as per approved sketches/drawings. Installation to be carried out at intervals of every 50 meters along the pipeline route, and additionally at all T-junctions, end points of pipeline, and both ends of every road crossing, or as directed by the Engineer-in-Charge (EIC). Work includes all associated civil works such as excavation and installation in all types of soils, grouting with concrete, backfilling, compaction, and restoration of the area to its original condition. Application of approved primer and paint of specified quality, along with stencil cutting of numbers, direction arrows, chainage details, and other required markings as per specifications. Execution shall be strictly as per drawings, technical specifications, and instructions of the Engineer-in-Charge. Payment shall be made on the actual number of RCC route markers supplied, installed, painted, and accepted by the Engineer-in-Charge. Unit rate shall be inclusive of all labour, materials, tools, tackles, equipment, civil works, painting/marking, restoration, and all incidental activities required for completion in all respects | item33 | 1000 | Nos | 527.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 527840 | 622851.2 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34 | 14) Supply and Installation of Plate Markers Supply, fabrication, and installation of pipeline warning plate markers without foundation as per approved sketches/drawings. Markers to be installed at locations along the pipeline route and other points as directed by the Engineer-in-Charge (EIC). Includes all works such as cutting, fabrication, painting with approved primer and paint, stencil lettering for numbering/direction/chainage details, and finishing as per specifications. Execution to be completed in accordance with drawings, specifications, and instructions of the Engineer-in-Charge. Payment shall be made on the actual number of plate markers supplied, fabricated, installed, painted, and accepted by the Engineer-in-Charge.Unit rate shall be inclusive of all costs of materials, labour, fabrication, painting, lettering, tools, tackles, and incidental works required for completion in all respects.. | item34 | 1800 | Nos | 182 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 327600 | 386568 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
35 | 15)PCC 1:4:8 (Outside & inside the premises of the Customer ) Supplying, mixing, laying, compacting, and curing plain cement concrete (PCC) of proportion 1:4:8 (1 Cement : 4 Coarse Sand : 8 Stone Aggregate, 40 mm nominal size). Includes all works such as centering, shuttering, and leveling courses below foundations, substructures, superstructures, chambers, cable trenches, floors, and any other specified locations at all levels. The foundation for the installation of the regulator/meters shall also be covered under this SoR. Work to be carried out strictly as per approved drawings, specifications, and instructions of the Engineer-in-Charge (EIC). Payment shall be made on the actual volume of PCC executed and accepted by the Engineer-in-Charge. The unit rate shall be inclusive of the cost of all labour, materials (cement, sand, stone aggregate, water), tools, equipment, shuttering/centering, mixing, placing, compacting, curing, and all incidental works required for completion in all respects. | item35 | 180 | M3 | 5500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 990000 | 1168200 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
36 | 16) PCC 1:2:4 (Outside & inside the premises of the Customer ) Supplying, mixing, laying, compacting, and curing plain cement concrete (PCC) of proportion 1:2:4 (1 Cement : 2 Coarse Sand : 4 Stone Aggregate, 20 mm nominal size). Work includes centering, shuttering, earthwork in excavation and backfilling using approved earth in all conditions, and laying PCC in all types of structures such as foundations, substructures, superstructures, chambers, trenches, flooring, and any other specified locations. All associated bye-works and sundry works necessary for completion are deemed to be included. Execution shall be strictly as per drawings, specifications, and instructions of the Engineer-in-Charge (EIC). Cost of all materials (cement, sand, stone aggregate, water). Labour charges, tools, tackles, equipment, and hire charges. Centering, shuttering, mixing, placing, compacting, curing, excavation, backfilling, and finishing complete in all respects. | item36 | 180 | M3 | 5917 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1065060 | 1256770.8 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
37 | 17)RCC M-20/25 (Outside & inside the premises of the Customer ) Reinforced Cement Concrete, Providing and laying reinforced of grade M-20 with 20 mm and down grade crushed stone aggregate in all types of structures like foundations, pedestals, pedestal bases, pipe supports, sleepers cable trench including construction joints, bitumen painting on surface in contact with soil, providing and fixing reinforcing steel, shuttering, inserts, finishes etc. at all depths and heights complete as per drawings, specifications and direction of the Engineer-in- Charge. Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials, such as minimum 43 grade cement including sulphate resistant cement for sub structures, R/F steel, Inserts, bolts, conduits, bitumen, other minor construction materials, shuttering tanging, earth work in excavation and backfilling using serviceable earth in all conditions shorting bailing and pumping out water, testing of concrete, curing etc. will all bye works and sundry works | item37 | 180 | M3 | 6500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1170000 | 1380600 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
38 | 18) Restoration of new Tiles/Paver Blocks /Farshi etc (Outside & inside the premises of the Customer ) | item38 | 1000 | M | 390 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 390000 | 460200 | #VALUE!
39 | 19) Supply and Installation of Concrete Sleeves. Supply, installation of concrete sleeves, insertion of MDPE pipe, sealing the annuals, firm fixing of sleeves with concrete mix as per specification and instructions of the EIC. | item39 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
40 | 19.1) Supply Installation-Concrete Sleeve - 4" (One meter long piece)) | item40 | 50 | Nos | 280 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14000 | 16520 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
41 | 19.2) Supply Installation-Concrete Sleeve - 8" (Five meter long piece) | item41 | 50 | Nos | 652 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32600 | 38468 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
42 | 19.3) Supply Installation-Concrete Sleeve: 10" (Three meter long piece) | item42 | 50 | Nos | 938 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46900 | 55342 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
43 | 20) Liaisoning and Permission Work | item43
44 | 20.1) Liaisoning and Permission Work If Length Above 100 m Liaisoning with and preparation of applications, drawings, and other necessary documents for obtaining permissions/NOCs from statutory authorities, including but not limited to: PMC, PCMC, NHAI, PMRDA, SMART CITY, Grampanchayat, MIDC, Defence, PWD, ZP, Irrigation, Forest, Private Landowners, Municipal Corporations/Councils/Nagarparishads/Nagarpanchayats, Development Authorities, or any other authority whose permission is required for pipeline laying. Submission of applications to respective authorities and coordination until permission/NOC is granted. Submission of the granted permission/NOC to the MNGL Engineer-in-Charge (EIC). After completion of the work, coordination for obtaining NOC for reinstatement, return of Bank Guarantee (BG), and submission of the same to MNGL EIC. Note/Conditions: All supporting documents required for permission shall be provided by MNGL to the contractor for further submission. Any statutory demand charges/fees levied by authorities shall be paid directly by MNGL. The contractor’s responsibility is limited to application preparation, follow-up, liaison, and obtaining approvals from concerned authorities. This SoR item shall be claimable only upon submission of the original Permission/NOC obtained from the concerned statutory authority. Unit of Measurement: Each Permission / NOC obtained (Nos.) | item44 | 7000 | Meter | 85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 595000 | 702100 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
45 | 20.2) If Length upto 100 m, lumpsump amount | item45 | 20 | Nos | 10000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 200000 | 236000 | #VALUE!
46 | 21) HSE Ensuring at Site - Hard Barricades Ensuring Personnel Protective Equipment and other site related safety requirements (Required Colors photos of acutally working sites while claiming this SoR & Statuatory Permission/NoC As per Scope | item46 | 9000 | Meter | 21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 189000 | 223020 | #VALUE!
47 | 22) Crossing of utilities/Drainage/Culverts/Nalah | item47
48 | 22.1) Above ground Crossing of Culverts/Nalah Excluding supply of all types of MDPE pipes (PE 80/100,SDR11), but Including supply of all types of MDPE fittings, Warming mat etc. as required to complete the job (Particular job specification). "Receiving and taking-over" as defined in the specification, handling, loading, transportation and unloading of Owner supplied MDPE line pipes (PE80/100, SDR11) of all sizes (as free issue items) from Owner's designated place(s) of issue to Contractor's own stock-yard(s)/ Work Shop(s)/ work-site(s) including proper storing, stacking, identification, providing security & insurance cover , including supply of accessories of all sizes & thickness like Bends, Couplers, End caps, Tee, PE Reducer, CS to PE Fittings, Saddle Tapping etc. This SOR covers the laying/installation of all sizes of MDPE pipes, its jointing, testing, commissioning, submission of laying reports, as-built drawings and other documents etc. as per the instructions of EIC. Suitable size of HDPE casing (NP6 standard) shall be provided by the vendor in case of underground nala / culvert crossing.Additional material like shuttering for supporting the side wall of the trench or any other material / things required for safe working for completion of job / as per instructions . This SOR also includes any restoration,liasioning,barricades deployment,pit which needs to be done in order to complete the job. | item48 | 200 | Meter | 2147.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 429584 | 506909.12 | #VALUE!
49 | 22.2) Under ground Crossing of Culverts/Nalah Material Cost for Supply of Concrete Sleeves / HDPE Sleeves: Supply, installation of sleeve, insertion of pipe, sealing the annuals, firm fixing of Sleeves with concrete mix. Breaking through any obstructions and their subsequent restoration, as per specifications and instructions of the Engineer-in-charge. | item49 | 200 | Meter | 2264.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 452824 | 534332.32 | #VALUE!
50 | 23) Groove cutting: Groove cutting in RCC/CC/PCC etc. with supply of all type of tools, material, manpower, helper etc as required and bitumen filling (if required) in the gap after the trench restoration as per specifications and cleaning the area complete to the satisfaction of EIC. In this SOR, One (1) running mtr means cutting of both side of the trench or Per running trench length. | item50 | 3500 | Meter | 49.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 174580 | 206004.4 | #VALUE!
51 | 24) Shifting & installation of DPRS/IPRS/MRS/SRM/DCS etc. Receiving and taking over, handling, loading, transportation and unloading of Owner's supplied MRS/DRS upto 10 T from Owner's designated stack-yard to Contractor's stock yard/workshop/work-site including preliminary activities. (Disconnection If Required) This SOR also covers the installation of MRS/DRS on site, including the supplied of all required material and tools which is required to installed the MRS/DRS(Like: Fixing of Unit, Earthling etc.). Providing, Earthing of IPRS and DPRS - Testing and certification of earthing stations including providing and laying 300 x 300 x 3 mm GI plate as a electrode To form earth electrode with inspection chamber, 300 x300 mm Chamber with earth link cover, painting and identification etc.(Scope including excavation by manual/Machines /Boaring, Charcoal, salt, or Bentonie slurry, BFC, construction of chamber etc as per drawing) to complete the job in all respect as per satisfaction of EIC) The contractor shall pay LUMSUM charges for shifting of MRS, DRS up to 10 Ton Capacity which includes loading, unloading by cranes, manpower, tools and tackles, ropes , vehicle required for shifting of MRS/DRS , managing transit issues etc. in a safe manner. Damage of assets will recover from contractors. Shifting activities will perform as directed by AIC/EIC with proper documentation & written mail communications. | item51
52 | 24.1) Shifting of DPRS/IPRS/MRS/SRM/DCS | item52 | 25 | No | 8544.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 213607 | 252056.26 | #VALUE!
53 | 24.2) Installation of DPRS/IPRS/MRS/SRM/DCS | item53 | 25 | No | 8447.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 211193.25 | 249208.04 | #VALUE!
54 | 25) Last Mile Connectivity (LMC) including JMR for DPRS/IPRS/MRS/SRM/DCS 1) The contractor shall pay last mile connectivity (LMC) charges only after successful testing, commissioning of MDPE network, commissioning of Non-Domestic Meters, installation of root /plate markers, completion of allied activities & submission of the related documents to AIC/EIC. 2) The contractor shall paint (double coat) Non-Domestic Meters foundation/wall, supports by Oil Paint / exterior paint as directed by AIC/EIC. 3) MRS Foundation White washing/Painting wherever will be required or as directed by EIC/AIC | item54 | 25 | No | 8325 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 208125 | 245587.5 | #VALUE!
55 | 26) Installation of non domestic Meter (G-4 to G-16) Installation & Fixing of meters with associated inlet and outlet connections/ fittings, valves approved meter brackets and other supports by proper scaffolding/ grouting, Restoring the area to original condition as per specification. | item55 | 100 | No | 2316.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 231665 | 273364.7 | #VALUE!
56 | 27) Installation of non domestic Regulator Installation & Fixing of Service/Commercial/Domestic regulator with associated inlet and outlet connections/ fittings, purging valves approved regulator brackets and other supports by proper scaffolding/ grouting, Restoring the area to original condition as per specification | item56 | 75 | No | 869.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65229.75 | 76971.11 | #VALUE!
57 | 28) Installation of RPD Meter (G-25 & Above) with EVC (2 Bar outlet pressure) Installtion of RPD meters & EVC supllied by MNGL.all necessary fittings like Y-type strainer,Conical Filter, Orifice plate, pressure guage, etc are in the scope of Vendor & the vendor has to submit TC to MNGL for the fittings/accessories used in the assembly & the whole assembly should be done as per the directives of EIC/AIC (For reference sketch is attched in tender | item57 | 75 | No | 15830 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1187250 | 1400955 | #VALUE!
58 | 29) Installation of RPD Meter (G-25 & Above) without EVC (350 milibar) Installtion of RPD meters by MNGL.all necessary fittings like Y-type strainer,Conical Filter, Orifice plate, pressure guage, etc are in the scope of Vendor & the vendor has to submit TC to MNGL for the fittings/accessories used in the assembly & the whole assembly should be done as per the directives of EIC/AIC (For reference sketch is attched in tender document) | item58 | 225 | No | 14600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3285000 | 3876300 | #VALUE!
59 | 30) CS Seamless Schedule 40/GI pipe Installation The scope of work for CS/GI Header Fabrication (TF/Branch) & Installation shall include all activities from pre-execution to commissioning and handover. Pre-execution activities shall consist of preparation of schedules, execution procedures, and sketches, along with finalization of optimum pipe routing in consultation with the customer, MNGL representative, and TPI, followed by approval of drawings/routes before execution. The contractor shall arrange the supply of all materials including CS Seamless Schedule 40 (ASTM A106 Gr. B) fittings (Elbows, Tees, Cross, Union, Socket, Reducer, Nipple, End Cap, End Plug, etc.), isolation valves ( As per instructions and appliance valves (NPT-threaded), Y-type strainers (1", 2", 3", 4") with gaskets, studs, bolts, and wire sealing arrangements, clamps (MS angle clamps, ceiling clamps, dowel plugs with SS screws), insulation material (PVC/PTFE sheet) for supports, and consumables such as grout material, sealants (Teflon tape/Loctite), primer, and enamel paints. Fabrication and installation works shall include erection, fabrication, welding, and installation of common headers up to isolation valves, connection of common regulators, NPT threading of pipe ends and fittings, radiography (As per instruction of EIC)and testing of weld joints as per specifications, joining of PE pipe to aboveground CS pipes through transition fittings, and installation of Y-type strainers between transition fitting isolation valves and regulator inlets. Civil and finishing works shall involve drilling of holes in brick, RCC, granite, marble, wood, and glass using heavy-duty drill machines, sealing and grouting of drilled holes with approved material in matching surface color, restoration of damages to original condition, application of insulation sheets between pipe/meter supports, and surface preparation, cleaning, and painting of pipes/fittings with one coat of approved primer and two coats of synthetic enamel paint. Testing and commissioning activities shall include hydrotesting of headers and branch connections, purging of the pipeline, and commissioning of the complete installation. Upon completion, the contractor shall submit as-built drawings for PE lines (showing service lines in the main network line) and isometric drawings of GI/CS installations duly accepted by the customer and MNGL/TPI. All works shall be executed in compliance with specifications and directions of the EIC, and any activity not explicitly mentioned but required for safety, statutory compliance, maintenance, or satisfactory completion shall be deemed included in the contractor’s scope. The contractor shall also supply all necessary tools, tackle, safety harness belts, and consumables, and maintain a data entry operator with a laptop/desktop at their office to ensure daily updates in the MNGL portal. | item59
60 | 30.1) 3/4" GI Threaded Pipe | item60 | 50 | Meter | 240 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12000 | 14160 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
61 | 30.2) 3/4" CS Welded Pipe | item61 | 500 | Meter | 475 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 237500 | 280250 | #VALUE!
62 | 30.3) 1" GI Threaded Pipe | item62 | 150 | Meter | 301 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45150 | 53277 | #VALUE!
63 | 30.4) 1" CS Welded Pipe | item63 | 6000 | Meter | 600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3600000 | 4248000 | #VALUE!
64 | 30.5) 1.5" CS Welded Pipe | item64 | 20000 | Meter | 640 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12800000 | 15104000 | #VALUE!
65 | 30.6) 2" CS Welded Pipe | item65 | 12000 | Meter | 725 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8700000 | 10266000 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
66 | 30.7) 3" CS Welded Pipe | item66 | 1000 | Meter | 850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 850000 | 1003000 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
67 | 30.8) 4" CS Welded Pipe | item67 | 1000 | Meter | 950 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 950000 | 1121000 | #VALUE!
68 | 30.9) 3/4" GI Welded Pipe | item68 | 50 | Meter | 322.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16134.5 | 19038.71 | #VALUE!
69 | 30.10) 1" GI Welded Pipe | item69 | 50 | Meter | 373.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18697.5 | 22063.05 | #VALUE!
70 | 30.11) 1.5" GI Threaded Pipe | item70 | 50 | Meter | 687.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34360 | 40544.8 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
71 | 30.12) 2" GI Welded Pipe | item71 | 50 | Meter | 687.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34360 | 40544.8 | #VALUE!
72 | 31.0) CS Common Headers for MRS installation - Supply, Erection, welding & Installation of CS pipes & fittings (all types) except Ball Valves as common headers along with branching for commercial connections. | item72 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
73 | Erection, Fabrication, Welding & Installation of common headers of CS pipes & Fittings till isolation valves for fixing of numerous meters through a single header and includes connecting of common Regulators on headers, NPT threading, as specified, Drillings of holes through the walls Brick, RCC, Granite, Marble, Wood Cutting, Glass Cutting with proper heavy duty hammer drill machine, tools & tackles, using proper sealant/grout material and colors to match the original replacement of the damages during drilling, restoring the area to the original condition, Painting of entire length of pipe along with fittings after proper surface finish by one coat of approved primer paint and two coats of approved synthetic enamel paint. Restoring the wall surface to original conditions, Supply & fixing of approved MS angle clamps, Ceiling clamps & dowel plugs with screws, supply and insertion of insulation material i.e. PVC, PTFE sheet between pipe/ meter support and pipe/ meter, grout material, suitable thread sealant i.e. Teflon Tape / lock tight, Supply of different sizes 1" to 4", 150# spiral wound gasket, studs & bolts (various sizes with wire sealing arrangement wherever required), Joining of transition ftg. to above ground CS pipes, testing, purging and commission of the complete installation. Supply and installation of STANDARD Y TYPE FLANGE END STRAINER between T.F. I.V. to Regulator Inlet. Strainer size may be 1'', 2'', 3'' & 4'' corresponding to installed TF size. The payment for the supply and installation of the Y-type strainer is included in the MRS fabrication. The meters installed on tap-offs from the common header will be paid separately as per SOR No. 26 to 29. | item73 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
74 | 31.1) 2" pipes & fittings | item74 | 5 | No | 2033 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10165 | 11994.7 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
75 | 31.2) 4" pipes & fittings | item75 | 5 | No | 3000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15000 | 17700 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
76 | 31.3) Connection rates for installation of CS MRS with 1" pipe & fittings with Diaphragm meter , installation as per standard drawing including supply of MS Clamps/supports. | item76 | 5 | No | 16800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 84000 | 99120 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
77 | 31.4) Connection rates for installation of CS MRS with 1-1/2" pipe & fittings with Diaphragm meter.installation as per standard drawing including supply of MS Clamps/supports. | item77 | 5 | No | 20860 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 104300 | 123074 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
78 | 31.5) Connection rates for installation of CS MRS with 2" pipe & fittings with RPD Meter up to G-65 as, per standard drawing including supply of MS Clamps/supports. | item78 | 5 | Nos | 35900 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 179500 | 211810 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
79 | 31.6) Connection rates for installation of CS MRS with 3" pipe & fittings with RPD Meter above G-25 and above as per standard drawing including supply of MS Clamps/supports. | item79 | 5 | Nos | 41000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 205000 | 241900 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
80 | Note: ( For item no 31.1 to 31.6) a. Supply & Installation of required size of brass fittings in all types of meters supplied by MNGL shall be in the scope of the contractor. B. Supply & installation of SS Tubing with fitting shall be in scope of contractor; Maximum length is 2.0m per MRS installation C. 10% payment shall be released only after installation of caging | item80 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
81 | 32) Supply & Installation of Pressure Gauges | item81 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
82 | 32.1) RANGE 0-100 MBAR - 4"- DIAL SIZE | item82 | 5 | Nos | 1700 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8500 | 10030 | #VALUE!
83 | 32.2) RANGE 0-1 BAR - 4"- DIAL SIZE | item83 | 210 | Nos | 1733 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 363930 | 429437.4 | #VALUE!
84 | 32.3) RANGE 0-4 BAR - 4"- DIAL SIZE | item84 | 200 | Nos | 1800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 360000 | 424800 | #VALUE!
85 | 32.4) RANGE 0-6 BAR - 4"- DIAL SIZE | item85 | 10 | Nos | 1997 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19970 | 23564.6 | #VALUE!
86 | 33) Supply & Installation of FLANGE END BALL VALVES, MAOP- 4 BAR | item86 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
87 | 33.1) 4" FLANGE END BALL VALVE | item87 | 10 | Nos | 12967 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 129670 | 153010.6 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
88 | 33.2) 2" FLANGE END BALL VALVE | item88 | 10 | Nos | 5300 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53000 | 62540 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
89 | 33.3) 1-1/2” FLANGE END BALL VALVE | item89 | 10 | Nos | 3767 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37670 | 44450.6 | #VALUE!
90 | 33.4) 1" FLANGE END BALL VALVE | item90 | 10 | Nos | 2933 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29330 | 34609.4 | #VALUE!
91 | 34) Supply & Installation of FLANGE END GLOBE VALVES, MAOP- 4 BAR | item91
92 | 34.1 ) 2" FLANGE END GLOBE VALVES | item92 | 10 | Nos | 9000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 90000 | 106200 | #VALUE!
93 | 34.2 ) 1-1/2” FLANGE END GLOBE VALVES | item93 | 10 | Nos | 6900 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 69000 | 81420 | #VALUE!
94 | 34.3 ) 1" FLANGE END GLOBE VALVES | item94 | 10 | Nos | 3400 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34000 | 40120 | #VALUE!
95 | 35) Supply & Installation of BRASS ISOLATION VALVE | item95
96 | 35.1) 2" BRASS ISOLATION VALVE | item96 | 50 | Nos | 2400 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 120000 | 141600 | #VALUE!
97 | 35.2) 1-1/2” BRASS ISOLATION VALVE | item97 | 50 | Nos | 2067 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 103350 | 121953 | #VALUE!
98 | 35.3) 1" BRASS ISOLATION VALVE | item98 | 50 | Nos | 830 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41500 | 48970 | #VALUE!
99 | 35.4) 1/2" BRASS ISOLATION VALVE | item99 | 50 | Nos | 550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27500 | 32450 | #VALUE!
100 | 36) Supply & Installation of STRAINER | item100
101 | 36.1) 2" STRAINER | item101 | 50 | Nos | 12163 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 608150 | 717617 | #VALUE!
102 | 36.2) 1" STRAINER | item102 | 50 | Nos | 8166 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 408300 | 481794 | #VALUE!
103 | 37) WELDING OF JOINTS - Butt Weld Joints | item103
104 | 37.1) 4" Butt Weld Joints | item104 | 50 | Nos | 356 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17800 | 21004 | #VALUE!
105 | 37.2) 3" Butt Weld Joints | item105 | 50 | Nos | 330 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16500 | 19470 | #VALUE!
106 | 37.3) 2" Butt Weld Joints | item106 | 50 | Nos | 310 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15500 | 18290 | #VALUE!
107 | 37.4) 1-1/2" Butt Weld Joints | item107 | 50 | Nos | 260 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13000 | 15340 | #VALUE!
108 | 37.5) 1" Butt Weld Joints | item108 | 50 | Nos | 140 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7000 | 8260 | #VALUE!
109 | 37.6) 1/2" Butt Weld Joints | item109 | 50 | Nos | 96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4800 | 5664 | #VALUE!
110 | 38) Fillet Joints & Supply of Socolet | item110
111 | 38.1) 1" Fillet Joints | item111 | 25 | Nos | 950 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23750 | 28025 | #VALUE!
112 | 38.2) 1/2" Fillet Joints | item112 | 25 | Nos | 850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21250 | 25075 | #VALUE!
113 | 39) RADIOGRAPHY OF JOINTS | item113
114 | 39.1) 4" RADIOGRAPHY OF JOINTS | item114 | 25 | Nos | 790 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19750 | 23305 | #VALUE!
115 | 39.2) 3" RADIOGRAPHY OF JOINTS | item115 | 25 | Nos | 640 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16000 | 18880 | #VALUE!
116 | 39.3) 2" RADIOGRAPHY OF JOINTS | item116 | 25 | Nos | 650 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16250 | 19175 | #VALUE!
117 | 39.4) 1-1/2" RADIOGRAPHY OF JOINTS | item117 | 25 | Nos | 600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15000 | 17700 | #VALUE!
118 | 39.5) 1" RADIOGRAPHY OF JOINTS | item118 | 25 | Nos | 540 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13500 | 15930 | #VALUE!
119 | 39.6) 1/2" RADIOGRAPHY OF JOINTS | item119 | 25 | Nos | 530 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13250 | 15635 | #VALUE!
120 | 40) SUPPLY/ INSTALLATION OF CLAMPS, SUPPORTS FOR ERECTION OF ALL SIZES OF PIPELINE | item120
121 | 40.1) TYPE-1, SIDE WALL MOUNTED AS PER DRAWING | item121 | 25 | Nos | 152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3800 | 4484 | #VALUE!
122 | 40.2) TYPE-2, GROUND BASED AS PER DRAWING | item122 | 25 | Nos | 147 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3675 | 4336.5 | #VALUE!
123 | 40.3) TYPE-3, CEILING MOUNTED AS PER DRAWING | item123 | 25 | Nos | 140 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3500 | 4130 | #VALUE!
124 | 41) SUPPLY OF THREADED END BALL VALVE | item124
125 | 41.1) 1" (HREADED END BALL VALVE) | item125 | 25 | Nos | 770 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19250 | 22715 | #VALUE!
126 | 41.2) 1/2" (HREADED END BALL VALVE) | item126 | 25 | Nos | 587 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14675 | 17316.5 | #VALUE!
127 | 42) SUPPLY OF FLANGES AS PER SPECIFICATION | item127
128 | 42.1) WNRF 3" | item128 | 5 | Nos | 1316 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6580 | 7764.4 | #VALUE!
129 | 42.2 )WNRF 2" | item129 | 5 | Nos | 833 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4165 | 4914.7 | #VALUE!
130 | 42.3) BLRF 3" | item130 | 5 | Nos | 750 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3750 | 4425 | #VALUE!
131 | 42.4) BLRF 2" | item131 | 5 | Nos | 656 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3280 | 3870.4 | #VALUE!
132 | 42.5) Spectacle Blind 3" | item132 | 5 | Nos | 2147 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10735 | 12667.3 | #VALUE!
133 | 42.6) Spectacle Blind 2" | item133 | 5 | Nos | 1783 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8915 | 10519.7 | #VALUE!
134 | 43) SUPPLY OF REDUCER | item134
135 | 43.1) 3" X 2" REDUCER | item135 | 25 | Nos | 290 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7250 | 8555 | #VALUE!
136 | 43.2) 2" x 1-1/2" REDUCER | item136 | 25 | Nos | 186 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4650 | 5487 | #VALUE!
137 | 44) Construction of Wall (Thickness 6 '' & Height approx upto 2 meter & Width upto 4 meter) | item137 | 20 | Nos | 9874 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 197480 | 233026.4 | #VALUE!
138 | 45) Supply & installation of Casing/Caging to Commercial Meter Assembly (Including MNGL branding, material, Painting, Welding, etc) | item138 | 375 | Nos | 5000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1875000 | 2212500 | #VALUE!
139 | 46)Supply & Installation of Safety Devices as per PNGRB gudelines | item139
140 | 46.1) 1" Solenoid Valves | item140 | 9 | Nos | 14667 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 132003 | 155763.54 | #VALUE!
141 | 46.2) 1.5" Solenoid Valves | item141 | 20 | Nos | 16833 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 336660 | 397258.8 | #VALUE!
142 | 46.3) 2" Solenoid Valves | item142 | 10 | Nos | 23333 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 233330 | 275329.4 | #VALUE!
143 | 46.4) 2.5" Solenoid Valves | item143 | 6 | Nos | 22167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 133002 | 156942.36 | #VALUE!
144 | 46.5) ATEX/PESO/CMRI approved Gas detectors | item144 | 50 | Nos | 18353 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 917650 | 1082827 | #VALUE!
145 | 46.6) 1" Shutoff valve | item145 | 9 | Nos | 12063 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 108567 | 128109.06 | #VALUE!
146 | 46.7) 1.5" Shutoff valve | item146 | 20 | Nos | 14830 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 296600 | 349988 | #VALUE!
147 | 46.8) 2" Shutoff valve | item147 | 10 | Nos | 18663 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 186630 | 220223.4 | #VALUE!
148 | 46.9) 2.5" Shutoff valve | item148 | 6 | Nos | 20663 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 123978 | 146294.04 | #VALUE!
149 | 47) Conversion of the Stove | item149 | 800 | Nos | 500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 400000 | 472000 | #VALUE!
150 | 48) Core Cutting | item150 | 600 | Nos | 700 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 420000 | 495600 | #VALUE!
151 | 49) Coordination for the New Registration of Commercial customers till the conversion of the commercial connection ( Lead Generation, Application, Survey & Feasibility, and Documentation) | item151 | 220 | Nos | 1000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 220000 | 259600 | #VALUE!
152 | 50) Third-party inspection & Certification of the Internal Customer downstream pipeline (Testing and Documentation of all the material used, including As Built Autocade Drawing, Test Report ) | item152 | 450 | Nos | 14000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6300000 | 7434000 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 71059427.1 | 83850123.99 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information