## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Maharastra Natural Gas Ltd.,Pune
Name of Work: "Tender for appointment of an agency for carrying out Civil & Electrical Works for the new City Gas Station (CGS) & allied construction works in Mehkar, Nanded GA of MNGL.
Tender No: MNGL/CP/2025-26/116
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | UNIT RATE In Figures To be entered by the Bidder inclusive of all taxes & duties except GST Rs. P | Per Unit Goods & Service Tax (GST) In % | GST in Rs. | Unit rate inclusive of all taxes & duties including GST (Rs.) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | PART - I : CIVIL & STRUCTURAL WORKS | Item1 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Demolition of Brick/Stone masonry | Item2 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Site clearance by demolition of Brick/stone masonry/ in walls, stone soling, RCC, PCC, pavior blocks in flexible/rigid pavements etc., removing the debris or any type of material and disposal of serviceable or unserviceable material to any lead as per technical specifications and directions of the Engineer-in-charge. | Item3 | 10 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Dismantling of Bolted/ welded structural steel fencing | Item4 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Dismantling of existing bolted /welded steel fencing erected on 1.50 m high brick wall complete in all respect and disposal of serviceable or unserviceable material to any lead as per technical specifications, tender document and direction of Engineer-in-charge | Item5 | 10 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Temporary Barricading: Providing and fixing temporary barricading using GI sheets and ISA 50x50x6 mm, grouting of angle etc. complete in all respect as per technical specifications, tender document and direction of Engineer-in-charge | Item6 | 60 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7 | Surface Dressing | Item7 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Surface Dressing of ground including removing vegetaltion tress of girth upto 40 cm removing all inequalities not exceeding 15 cm deep and disposal fo rubbish to any lead as per technical specifications, tender document and direction of Engineer-in-charge | Item8 | 3700 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Earth work in excavation/site grading | Item9 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Earth work in excavation in all kinds of soil except rock in any plan dimension up to 3.0 M depth including disposal of excavated earth up to any lead in all conditions, and disposal of surplus and unserviceable earth. Soil to be leveled and neatly dressed complete in all respect as per scope of work, detailed construction drawings, as per technical specifications and directions of the Engineer-in-charge. | Item10 | 4000 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | Earth work in excavation same as above but beyond 3.0m and upto 6.0m | Item11 | 100 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Earth work in hard rock: | Item12 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Excavation in hard rock including PCC, RCC, pavior blocks in flexible/rigid pavements etc., removing the debris or any type of material and disposal of serviceable or unserviceable material to any lead as per technical specifications and direction of EIC | Item13 | 540 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | (The Contractor shall take into account in his rate, the provision for excess excavation for necessary working space, slope etc., required for excavation and other allied works and refilling the side slopes and working space) | Item14 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Earthwork in filling: | Item15 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Earth work in filling with good quality imported earth from approved source in the layers of 150 mm and compacted up to 95% to its MDD up to 4 m depth and any plan dimension including all testing, watering, rolling each layer with 1/2 tonne roller or wooden or steel rammers, and every 3rd and top-most layer with power roller of minimum 8 tonnes and dressing / filling up ground depressions etc. complete in all respect as per scope of work, detailed construction drawings, as per technical specifications and directions of the EIC. | Item16 | 9000 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17 | Supplying and filling Sand in 150 mm thick layers watering, rolling, ramming, consolidating and dressing the surface including cost of sand (zone-II/Zone-III sand only) complete in all respect as per scope of work, detailed construction drawings as per technical specifications and directions of the Engineer-in-charge. | Item17 | 50 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18 | Stone Soling / Rubble massonry | Item18 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19 | Providing and laying stone ballast 115 to 150 mm size in layers of 300 mm thick or 1: 4 rubbly massonry with spreading & blinding material like sand, stone grit and compaction with mechanical means, watering etc. including cost of material complete in all respect as per scope of work, detailed construction drawings as per technical specifications and directions of the Engineer-in-charge. | Item19 | 1150 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | Brick Work in foundation with CM 1:4 | Item20 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
21 | Providing, construction and handing over of brick masonry foundations below DPC including weepholes, plastering of 15 mm thickness in CM 1:4 on exposed surfaces, mudmat, excavation and backfilling with serviceable earth, complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of Engineer-in-charge. | Item21 | 80 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22 | Brick Work in superstructure with CM 1:4 | Item22 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23 | Providing, construction and handing over of brick walls of superstructure plastering of 15 mm thickness in CM 1:4 on both the faces complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of Engineer-in-charge. | Item23 | 100 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
24 | PCC | Item24 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | Providing, laying in position, construction and handing over of PCC in foundations, substructure, superstructure and under floor, etc complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of Engineer-in-charge. | Item25 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
26 | a) PCC 1:2:4 [1 Cement : 2 coarse sand : 4 stone aggregate 20 mm nominal size] | Item26 | 100 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | b) PCC 1:3:6 [1 Cement : 3 coarse sand : 6 stone aggregate 20 mm nominal size] | Item27 | 125 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
28 | c) PCC 1:4:8 [1 Cement : 4 coarse sand : 8 stone aggregate 40 mm nominal size] | Item28 | 125 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
29 | RCC in foundation | Item29 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
30 | M-20 gr (1:1.5:3) | Item30 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31 | Providing, laying in position, construction and handing over of RCC 1:1.5 :3 in foundations, substructure and under floor including shuttering inserts/ anchor bolts, sleeves, two coats of bitumen paint on surfaces in contact with soil etc complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of EIC. | Item31 | 100 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
32 | RCC in foundation | Item32 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | M-25 gr (1:1:2) | Item33 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34 | Providing, laying in position, construction and handing over of RCC 1:1 :2 in foundations, substructure and under floor including shuttering inserts/ anchor bolts, sleeves, two coats of bitumen paint on surfaces in contact with soil etc complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of EIC | Item34 | 1200 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35 | RCC in superstructure | Item35 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36 | Providing, construction and handing over of RCC M25 GR in superstructure elements such as walls, retaining walls, columns, beams etc. including shuttering inserts, conduits, openings, accesses, edge protection etc. complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of Engineer-in-charge. | Item36 | 120 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
37 | [1. Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials such as minimum 43 grade cement, coarse sand and coarse aggregates, other minor construction materials, shuttering, staging, shoring/strutting, finishing, testing etc. all bye works and sundry works.] | Item37 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38 | Reinforcement steel | Item38 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
39 | Supplying and Fabricating and Fixing in position HYSD Steel Reinforcements/ TMT Grade Fe-500 D conforming to IS1786-1985 at all levels and positions including the Cost of transport, Straightening, Cutting, Bending, Cranking, Binding, Welding, Provision of necessary Chairs and Spacers, Preparation of bar bending schedule Drawings, getting the same approved etc., as per Drawings and Specifications and including Cost of binding wire, Labour etc., all complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of Engineer-in-charge. The chairs and spacer bars provided will not be Measured for payment. | Item39 | 50 | MT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
40 | Compound wall | Item40 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
41 | Providing, constructing and finishing of compound wall in brick masonry / RCC Wall 250 thk with RCC 460 square pillar at interval of 3 mt or as specified in construction drawings, and height 3 mt m as per scope of work detail construction drawings, including plastering, coping, painting, GI Pipe,whitewash, finishes all complete as per technical specifications and direction of the Engineer-In-Charge. | Item41 | 350 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42 | BUILDING WORKS | Item42 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
43 | RCC framed structure building [Refer PREAMBLE BUILDING WORKS RCC FRAMED STRUCTURE BUILDING]. | Item43 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
44 | Providing, construction and handing over of RCC framed structure building, including reinforcing steel, finishes, fittings, fixtures, complete in all respects as per scope of work, detailed construction drawings, technical specifications and directions of the Engineer-in-charge. | Item44 | 176 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
45 | SOAK PIT AND SEPTIC TANK | Item45 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46 | Providing and construction of septic tank and soak pit in brick masonry and base and top slab in RCC M20 complete in all respect as per scope of work, detailed construction drawings, technical specifications and directions of the Engineer-in-charge. | Item46 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
47 | [1. Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials such as minimum 43 grade cement including chemical resistant paint for sub-structures, bricks, inserts, bolts, covers, aggregates/ sand fill conduits, finishes, bitumen, other minor construction materials, shuttering , staging, earthwork in excavation and backfilling using serviceable/ borrow earth in all conditions, shoring/strutting, bailing and pumping out water, masonry work, plastering, plumbing, sanitation, etc. with all bye works and sundry works.] | Item47 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
48 | UNDER GROUND WATER TANK | Item48 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
49 | Providing and construction of underground water tank in RCC/BM and base and top slab in RCC M-30 complete in all respect as per scope of work, detailed construction drawings, technical specifications and directions of the Engineer-in-charge. | Item49 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
50 | [1. Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials such as minimum 43 grade cement including chemical resistant paint for sub-structures, bricks, inserts, bolts, covers, aggregates/ sand fill conduits, finishes, bitumen, other minor construction materials, shuttering, staging, earthwork in excavation and backfilling using serviceable/ borrow earth in all conditions, shoring/strutting, bailing and pumping out water, masonry work, plastering, plumbing, sanitation, etc. with all bye works and sundry works.] | Item50 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
51 | RCC FLOORING IN FORECOURT | Item51 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
52 | Providing construction and handing over of 150 mm thick RCC 1:1:2 (Nominal mix strength not less than 25 N/mm2 conforming to IS) forecourt over 100 mm thick PCC (1:3:6) & 150 mm thick Brick bat soling ( 63mm to 90mm) including reinforcement steel complete in all respects as per scope of work, detailed construction drawings, technical specifications and directions of the Engineer-in-charge. | Item52 | 2400 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
53 | CNG Area FLOORING | Item53 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
54 | DWAY .WBM 150 mm THIK | Item54 | 2100 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
55 | PAVER BLOCK FLOORING IN FORECOURT | Item55 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
56 | Supply, construction and handing over of CC inter locking paver block 80 mm thick, I shape, rough finish, M-40 strength with epoxy coating of approved brand laid over the sand bed of minimum 75 mm thick. The CC interlocking blocks to be of uniform Grey colour or as approved by EIC complete in all respects as per scope of work, detailed construction drawings, technical specifications and directions of the Engineer-in-charge. | Item56 | 100 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
57 | Single SS Tube Trench in Forecourt | Item57 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
58 | Providing and construction of Single SS tube trench in RCC/ CQ Plate Cover over the 100 mm thick PCC (1:4:8) base with precast SFRC cover of 600x550X 70 mm thk alongwith edge angle (ISA 75x75x6) and fixing of ISA 50x50x6 for supporting pipetrays @ spacing of 1000 mm c/c along the trench, including 12 mm in CM 1:5 plastering of walls of trenches complete in all respect as per scope of work, detailed construction drawings, technical specifications and directions of the Engineer-in-charge. | Item58 | 100 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
59 | Double SS Tube Trench in Forecourt | Item59 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
60 | Same as above for Double SS tube trench. | Item60 | 90 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
61 | External sewerage and Water Piping | Item61 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
62 | Supply, laying and commissioning RCC pipes of 300 dia including earth cutting, filling, disposal of surplus earth, bed concrete, RCC pipe, SW gully trap/ chamber, grease trap, all complete in all respects as per scope of work, detailed drawings, technical specification and directions of the EIC. | Item62 | 30 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
63 | Supply, laying and commissioning RCC pipes of 150 dia including earth cutting, filling, disposal of surplus earth, bed concrete, RCC pipe, SW gully trap/ chamber, grease trap, all complete in all respects as per scope of work, detailed drawings, technical specification and directions of the EIC. | Item63 | 30 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
64 | Electrical & Water Pit chamber Construction: | Item64 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
65 | Providing and construction of Electrical Cable Pit of size 600x600x900 including PCC to be carried out at base, brickwork, SFRC cover and its frame over the chamber, leaving space for GI pipe fixing complete in all respect as per technical specification, construction drawings and direction of EIC. | Item65 | 34 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
66 | [1. Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials including laying, jointing of pipes, earthwork etc. with all bye works and sundry works | Item66 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
67 | External water piping system (Borewell Connection) | Item67 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
68 | Supply, laying and commissioning GI water supply piping (Heavy Duty, Tata / Jindal / Indus make) with all fitting such as garden irrigation fittings, water meter, water connection, and all other fittings including earth cutting, filling, disposal of surplus earth, bore well 150 mm dia, 250 meter depth and submersible pumps CRI make 3 h.p. including all accessories, panel, wiring all complete in all respects as per scope of work, detailed drawings, technical specifications and directions of the Engineer-in-Charge. | Item68 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
69 | BLDG PORTA CABINS . PORTA CABINS | Item69 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
70 | Fabricating supply and installation of Porta Cabins as per Drawings The following details are being specified for reference purpose and to be followed on development of Portable cabin. However, mngl reserves the right to effect the minor changes as per site requirement and availability of material. The contractor is requested to understand all details on the construction material as well as arrange to get the porta cabin inspected during fabrication and also on completion.1. Shell : The shell will be fabricated from quality steel duly welded, comprising of base frame, peripheral structure and self draining roof. One entry door and 3windows. The eight corners are sufficiently strengthened to facilitate transportation, lifting and placing.2. Base Frame : The base frame is made of pressed mild steel channel section. The main structural element having 150 mm x 75 mm I beam and cross members are of ISMC 75 #C# channels.3. Side and End Walls : The side and end frame is made out of mild steel pressed sections of suitable profiles / pillars of suitable strength.4. Flooring Systems : On the bottom frame 19 mm thick Marine Plywood, of approved quality is fixed by means of self tapping screw. PVC Vinyl Sheets are fixed on this for Floor covering. 5. Roof : Self draining type rood is made out of 1.6mm thick MS Sheet, Adequate roof bows are provided. Roof is adequately chambered for draining of rain water.6. Insulation : 50 mm Thick Glass Wool/Rock Wool/ PUF / thermo Cole is used for walls and 75 mm thick insulation material is used for roof.7. Inner paneling : The interior will be aesthetically finished so as to give custom built appearance with extremely high quality workmanship.8. Windows : The provision of 2 No. window. | Item70 | 340 | FT2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
71 | Plaster in CM 1:4 | Item71 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
72 | Providing and laying 12 mm thick cement plaster on walls, RCC beams, columns and chajja etc of mix 1:4 ( I cement, 4 fine sand) including making of typical grooves drip-course including hacking of RCC roof beams and columns surfaces and curing etc. The job includes the cost of supplying and fixing of chicken wiremesh at every joint of brick masonry and RCC before commencing the plastering work complete in all respect as per scope of work, detailed construction drawings, technical specifications and directions of the EIC. | Item72 | 300 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
73 | Providing and laying 19 mm thick cement plaster on walls, RCC beams, columns etc of mix 1:4 ( I cement, 4 fine sand) including making of typical grooves drip-course etc including hacking of RCC roof beams and columns surfaces and curing etc. complete. The job includes the cost of supplying and fixing of chicken wiremesh at every joint of brick masonry and RCC before commencing the plastering work complete in all respect as per scope of work, detailed construction drawings, technical specifications and directions of the Engineer-in-charge. | Item73 | 300 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
74 | Painting ( APEX / Weathercoat / Weathershield) | Item74 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
75 | Supplying and applying 3 coats of Apex paint of Asian paints / Weathercoat of Berger paints / Weathershield of ICI paints on external walls surfaces in approved colour at all heights as per scope of work and recommendations of manufacturer including surface preparation, primer putty etc. detailed construction drawings , technical specifications and directions of the Engineer-In-Charge. | Item75 | 500 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
76 | [Rate to include priming coat of putty, scaffolding, tools & tackles, consumables etc complete. ] | Item76 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
77 | Painting (OBD) | Item77 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
78 | Supplying and finishing internal walls and ceilings in plaster of paris punning to achieve an even finish and applying 3 coats of Oil Bound Distemper of Asian paints/ Berger/ICI brand in approved colour including surface preparation, primer, putty etc. as per scope of work, detailed construction drawings, technical specifications and directions of the Engineer-In-Charge. | Item78 | 500 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
79 | White washing | Item79 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
80 | White washing with Dehradun/Rajasthan lime in 3 or more coats to give an even finish including the cost of adding required adhesive (DDL), blue pigment (Robin Blue) etc. on walls, ceiling etc. complete in all respects as per scope of work, detailed construction drawings, technical specifications and directions of the Engineer-in-charge. | Item80 | 750 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
81 | Providing and fixing Granite Stone over Dispenser Island & stair case | Item81 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
82 | Providing and fixing 20 mm thick polished, machine cut granite stone for dispenser islands of required size and approved quality laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement , mixed with matching pigment, epoxy touchups, including rubbing, making edge moulding, curing etc all complete as per detailed construction drawings, technical specifications and directions of the Engineer-In-Charge. | Item82 | 20 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
83 | IPS Flooring | Item83 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
84 | Providing and laying 60 mm thick cement concrete floor with M-20 (1 cement : 1.5 coarse sand :3 stone aggregate of 12 mm nominal size) with a floating coat of neat cement all complete as per detailed construction drawings, technical specifications and directions of the Engineer-In-Charge. | Item84 | 100 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
85 | [Rate to include all labour tools, tackles, hire charges, water charges PVC/glass strips etc complete.] | Item85 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
86 | WEARING COURSE OVER RCC FLOOR | Item86 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
87 | Providing & laying in panels 50 mm thick, 1:1:2 ( 1 cement, 1 fine aggregates, 2 (6mm) coarse aggregate ) screed with wire mesh of 4 mm thick & 75 mm square over RCC floor, all complete as per scope detailed drawings, technical specifications and directions of the Engineer-In-Charge. | Item87 | 2300 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
88 | Polycarbonate sheeting: | Item88 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
89 | Providing and fixing 4 mm thick multiwall polycarbonate sheets of required canopy roof shapes and sizes and erecting them on roof/facia at proper position, all work as per specification, drawings and direction of EIC. | Item89 | 120 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
90 | [1. Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials, with all bye works and sundry works]. | Item90 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
91 | Providing and fixing ceramic glazed wall tiles. | Item91 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
92 | Ceramic glazed wall tiles of the approved size and of the appropriate specification shall be fixed in the walls using mortar with proper finishing as mentioned ias per scope of work, detailed construction drawings, technical specifications and direction of Engineer-in-charge. | Item92 | 200 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
93 | Providing and fixing vitrified tiles 600 x 600 mm. | Item93 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
94 | Vitrified glazed floorl tiles of the approved size and of the appropriate specification shall be fixed in the floor over the subbase, pointing, cutting, curing and proper finishing as per scope of work, detailed construction drawings, technical specifications and direction of Engineer-in-charge. | Item94 | 200 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
95 | [Rate to include all labour, tools, tackles, hire charges, water charges etc complete.] | Item95 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
96 | Steel structure fabrication | Item96 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
97 | Supplying, Fabricating & Erecting in position steel structures fabricated out of MS Girders, channels, Tees, angle, flats, plate, square hollow sections pipes etc. conforming to IS:2062 and/or from pipes conforming to IS:1161 for structural purpose for cascade supporting structure, loading/unloading platform, Gratings for platform, handrails, hoardings for signage, safety signboards,etc. of any size/dial for required design including cutting, welding, bolting, hoisting, fixing in position, and applying two or more coats of approved quality synthetic enamel paint over a priming coat of approved steel primer etc complete as per scope detailed drawings, technical specifications and directions of the EIC. | Item97 | 12 | MT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
98 | Providing and fixing Fencing Structure | Item98 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
99 | Supplying, fabricating & fixing steel structural fencing fabricated from pipes conforming to IS:1161 and plates conforming to IS:2062 & fixing of GI weldmesh made from 3mm GI wire @ 75 mm bothways to structural steel frame by means of welding/bolting, painting with enamel paint in approved shade including supply of all raw materials, bolts, electrodes, transportation, including making pockets & pouring with PCC (1:2:4) in of block 500x500x500 for fixing of posts etc complete as per enclosed sketch, technical specifications and directions of the EIC. | Item99 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
100 | Fencing height up 2.1 | Item100 | 80 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
101 | Providing and fixing Fencing Gates | Item101 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
102 | Supplying, fabricating & fixing fencing gates fabricated from pipes conforming to IS:1161 and plates conforming to IS:2062 & fixing of GI weldmesh made from 3mm GI wire @ 75 mm bothways to structural steel frame by means of welding/bolting, painting with enamel paint in approved shade including supply of all raw materials, bolts, electrodes, transportation etc complete as per enclosed sketch, technical specifications and directions of the Engineer-In-Charge. | Item102 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
103 | 2m Wide and fencing height up 2.1 | Item103 | 4 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
104 | 4m Wide and fencing height up 2.1 | Item104 | 6 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
105 | Providing and fixing chequered plate covers | Item105 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
106 | Providing and fixing chequered plate in approved panel or over steel structure including cutting, welding, hoisting, fixing in position, and applying two or more coats of approved quality synthetic enamel over a priming coat of approved steel primer etc complete as per scope detailed drawings , technical specifications and directions of the Engineer-In-Charge. | Item106 | 8 | MT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
107 | Providing and fixing safety guard Dispenser /LCV | Item107 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
108 | Providing and fixing safety guard with 100 mm heavy duty sta.steel Pipe (size 750 deep and 600 width inside) grouted with ready mix high strength grout mortar of approved manufacturer and painted with approved quality paint as per scope of work, detailed construction drawings, technical specifications and directions of Engineer-In-Charge. [Rate to include cost of all labour, tools, tackles etc. complete]. | Item108 | 32 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
109 | Supplying, fabricating and erecting structural steel canopy (including canopy fascia with 4 mm thick ACP, Led Company Logo, ACP column cladding 4 mm thick including all signage work & ACM sheeting ) | Item109 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
110 | Supply, fabrication, erection and handing over of structural steel fabricated canopy (85Kg/Sqmt +-15%) including roof sheeting as per specification, Pre-coated Steel false ceiling system with powder coated finishes as per manufacturers instruction and specification, gutters, facia, flashings, Rain water pipes and gutter, painting, complete in all respects as per scope of work, detailed construction drawings, technical specification and directions of Engineer-in-charge. (Plan area shall be considered for measurement.) Rate Included in item for Supply, fabrication, erection and handing over of 4MM thick, 1MM Wide and approximate 68RM ACP Canopy Facia along with approximate 60 SQMT column cladding by 4mm thick ACP sheet. | Item110 | 256 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
111 | Providing and fixing Al glazed framing Door. | Item111 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
112 | Supply, transportaion, fixing in place the aluminium glazed framed door of approved make in the masonry wall as per the procedure laid down in the tender document at the locations specified by Engineer In Charge. | Item112 | 50 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
113 | [Rate to include all material, labour, tools, tackles, hire charges, water charges etc and all the necessary things that are required for completing the job in all respect .] | Item113 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
114 | Design, Supply, transportation, installation, testing & commissioning of Monolith as per approved design drawings, scope of work, tender document and as per direction of EIC. | Item114 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
115 | Design, supply, transportation, installation, testing and commissioning of monolith : 3mm thick ACM (Aluminium Composite Material) panel router cut cladding on M.S. framework (hollow steel sections as per design requirement) with 4 nos. backlit panels on both sides in 3mm thick PET-G (Spectra Copolymer! Relstar). PET-G panels shall be of appropriate approved colour and cutouts for product names, logos, etc. The body of the monolith shall be in 3mm thick ACM in colour and shape as per approved design. The company logo should be prepared in polycarbonate sheets (GEl LEXAN make) in corporate colours and thermoformed to form the design which shall be in turn fixed in cutouts made in monolith body of ACM. The portions of the monolith to be backlit to make the acrylic polycarbonate portions! logos visible at night. Special spot lights (2 nos. - 400 watts with metal halide lights of Philips make) to be incorporated in design to light up the entire tower with throw from base. The backlit portion of the monolith to be lit with sufficient numbers T5 (28 W) tube lights (Philips make) with electronic choke, mounted on MS tube frames with plastic holders. Multi strand copper conductors with PVC insulation to be used. Steel structural frame to be installed on RCC foundations. All work to be done in line, level and plumb. The total work should be carried out as per approved design drawings, scope of work, tender document and as per direction of EIC. | Item115 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
116 | Note: 1. Rate to include designing (including structural design) supply, fabrication and installation of Monolith tower with all material and framework at site, ACM cladding as per the approved design including thermoformed PET-G, acrylic! Polycarbonate sheet, adhesive, rivets, bolts, nuts, screws, washers, tube lights, choke, all civil and structural works, conductors, connectors, etc. all inclusive. 2. Item also to include cost of labour, transportation, erection, assembling, hoisting, launching, tools, tackles, jigs, scaffolding, framework, and all other consumable that might be required to complete the job. 3. Peal-off protective film of ACM to be removed at site after final inspection. Mode of measurement: Per unit installed at site as per the designs and specifications. 4. RCC foundation for monolith will be paid in separate item. (However drawing for the foundation is to be provided by bidder.) 5. The above rate are inclusive of all the taxes and duties that are applicable. | Item116 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
117 | Warehouse shed in steel structure with corrugated 0.8mm thik coadted GI sheet. (up to 9 mt Supply, fabrication, erection and handing over of structural steel fabricated Coverd Shed(50Kg/Sqmt +-20%) including roof sheeting as per specification, with powder coated finishes as per manufacturers instruction and specification, gutters, facia, flashings, Rain water pipes and gutter, painting, Lighting ,Cableing ,B/W ,Plaster,painting , Foundation & over All civil electrical work complete in all respects as per scope of work, detailed construction drawings, technical specification and directions of Engineer-in-charge. (Plan area shall be considered for measurement.) Rate Included in all work. | Item117 | 200 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
118 | Kerb stone fixing Providing and fixing kerb stone of approved make (kerb stone blocks shall have niche with reflective material fixed in it) at ground level as per approved pattern and setting in position with cement mortar 1:3 (one cement : 3 coarse sand) including the cost of required centering, shuttering and finishing smooth over 75 mm thick PCC 1:4:8 (1 cement : 4 coarse sand : 8 stone aggregate 40 mm), painting with emulsion paint of approved brand and colour complete in all respects as per scope of work, detailed construction drawings , technical specifications and directions of the Engineer-In-Charge. | Item118 | 80 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
119 | [ Rate to include all labour, tools, tackles, shuttering, transportation, water charges, earth work if any , PCC, painting etc complete] | Item119 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
120 | Polysulphide filling in Joints | Item120 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
121 | Providing and placing polysulphide sealant, over 12x38 mm thickness of Capcell- of supreme make in the expansion joints in the panels of forecourt and other specified locations; including sand fill, edge preparation by machine cut, cleaning, drying complete in all respects as per scope of work, detailed construction drawings, site sketches, technical specifications and directions of Engineer-In-Charge. | Item121 | 600 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
122 | Providing and laying Capcell board | Item122 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
123 | Providing and laying Capcell of Supreme make board sealing in expansion joints of 25 mm thickness & depth upto 100 mm at all locations; including sand fill, edge preparation, cleaning, drying complete in all respects as per scope of work, detailed construction drawings, site sketches, technical specifications and directions of Engineer-In-Charge. | Item123 | 5 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
124 | EXTERNAL DEVELOPMENT | Item124 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
125 | Providing and planting turfs, Wall other plant material, pesticides, sweet soil as per design and specifications complete in all respects as per scope of work, detailed construction drawings, technical specifications and directions of the Engineer-in-charge. | Item125 | 1500 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
126 | Providing and Construction of Rain Water Harwesting Pit including 40M Deep Bore well 150MM Dia with all Associated Works as per approved design drawings, scope of work, tender document and as per direction of EIC. | Item126 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
127 | Supply, installation & fixing of Speed breaker as per drawing, technical specification, tender document & direction of Engineer in Charge | Item127 | 30 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
128 | Supply & laying of G.I. Pipes buried/embedded into ground/ RCC/PCC complete with pipe sockets/ bends etc. as required of following sizes. All pipe shall be of medium grade as per IS:1239. | Item128 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
129 | 100 mm NB | Item129 | 300 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
130 | Supply & laying of perforated G.I. trays of following sizes as per technical specification. | Item130 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
131 | 450 mm wide | Item131 | 10 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
132 | Supply & laying of Black HD PVC. Pipes buriedfor dranege/other work. | Item132 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
133 | 200 mm NB | Item133 | 300 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
134 | 150 mm NB | Item134 | 450 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
135 | 100 mm NB | Item135 | 450 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
136 | ROAD WORK | Item136 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
137 | RCC M-20 in DRIVEWAY (RATE include. cost of 80 -100 kg re-inforcement and shut. With GP2 ) | Item137 | 251 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
138 | DWAY BITU PREMIX CARPET 50TK | Item138 | 425 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
139 | DWAY BITU SEAL COAT 25TK | Item139 | 425 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
140 | Design, supply, installation, testing & commissioning of Electrical distribution panel as per specifications & single line diagram (Drg. No. MNGL/PANEL/01, MNGL/PANEL/02, MNGL/PANEL/03 & MNGL/PANEL/04). | Item140 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
141 | Power Distribution Board for Mother Station(DEPOT) 800 Amp | Item141 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
142 | Emergency Panel for Mother Station(DEPOT) | Item142 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
143 | Supply, installation, testing and commissioning of Wall Mounted Lighting DB. Double door construction. Constructed with 2 mm sheet steel enclosure along with a housing to mount the entire board. With required hardware, making connections including providing cable glands, lugs, earthing & Painting etc. arrangement for termination of cable / wires, including 3 phase and neutral bus bars etc. complete in all respects as per the tender document, technical specification, drawings and direction of EIC. | Item143 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
144 | LDB - 1 (For Out Door Lighting) | Item144 | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
145 | Wall mounted ACDB for UPS Incomer: one no DP MCB 63Amp with Ammeter(Rating-0-30Amp) and indication lamp. Out going : 03 nos. DP MCBs 3 Amp, 4 no.DP MCBs 16Amp and 2 nos.DP MCBs 6Amp | Item145 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
146 | Supply, laying , testing and termination of PVC insulated & sheathed, 1100V grade, armoured ,Aluminium/copper conductor cable of follwing sizes & type in surface trench./on wall/structural surface/in G.I. Pipes/conduit as specified / required as per the tender document, technical specification, drawings and direction of EIC. | Item146 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
147 | 3½ x 300 mm2AYFY | Item147 | 150 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
148 | 3½ x 185 mm2 YRY | Item148 | 150 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
149 | 3½ x 120 mm2AYFY | Item149 | 200 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
150 | 3.5 x 50 mm2 AYFY | Item150 | 200 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
151 | 3.5 x 75 mm2 AYFY | Item151 | 150 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
152 | 4 x 6 mm2 YRY | Item152 | 400 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
153 | 4 x 2.5 mm2 YRY | Item153 | 1500 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
154 | 2 x 2.5 mm2 YRY | Item154 | 500 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
155 | 16 mm2 PVC insulated green colour copper conductor single core wire | Item155 | 100 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
156 | Supply, installation, testing & commissioning of Flame Prof Lighting poles of 8 M height as per the enclosed drg. equipped with light fittings of type MRX51 (Philips,Nima or equivalent) 70W (LED FLP) and HPIT lamp complete with Plate earting , J.B. equipped with terminals for incoming/ outgoing cables and 2A, MCB, 4 x 2.5 mm2 YWY armoured cable from juction box to fixture including civil foundation as per the tender document, technical specification, drawings and direction of EIC. | Item156 | 20 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
157 | Supply, installation, testing & commissioning of LED Lighting poles of 8 M height as per the enclosed drg. equipped with light fittings of type MRX51 (Philips, or equivalent)70W and HPIT lamp complete with Plate earting , J.B. equipped with terminals for incoming/ outgoing cables and 2A, MCB, 4 x 2.5 mm2 YWY armoured cable from juction box to fixture including civil foundation as per the tender document, technical specification, drawings and direction of EIC. | Item157 | 20 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
158 | Supply, installation, testing & commissioning of canopy light with pole / bracket, flameproof fixture and control gear box, internal cable (4x2.5 mm2 YWY) from fitting to junction / control gear box to flameproof fitting, mercury vapour lamp etc. including civil foundation with pipe inserts for cables and connecting work, with all material and labour as per specification, drawings and instruction of Engineer-in-charge. | Item158 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
159 | FLP Canopy light SP - 13, Fixture : Well glass FLPW - 1095 for 250 W HPMV lamp. | Item159 | 16 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
160 | Supply & laying of Copper Strip (for earthing) of following sizes, clamped to wall/structure& laying in trenches (as reqd.) including termination at the required points by welding/nut bolts including all earthing material as per the tender document, technical specification, drawings and direction of EIC. | Item160 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
161 | 25 x 3 mm | Item161 | 250 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
162 | Supply & laying of GI Strip (for earthing) of following sizes, clamped to wall/structure& laying in trenches (as reqd.) including termination at the required points by welding/nut bolts including all earthing material as per technical specification & drawings. | Item162 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
163 | 40 x6 mm | Item163 | 600 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
164 | Construction of Copper earthpit | Item164 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
165 | Construction of Earthpits as per the drawing using GI pipe medium (class-B) 3M long, Copper plate of 600x600x3 mm size including supply of all material required and testing of earth pits as per latest version of IS:3043, specification and drawing. | Item165 | 18 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
166 | Construction of G.I. earthpit | Item166 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
167 | Construction of Earthpits as per the drawing using GI pipe medium (class-B) 3M long, including supply of all material required and testing of earth pits as per latest version of IS:3043 & specification & drawing. | Item167 | 20 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
168 | Suppy, installation and commissioning of 3 KVA UPS | Item168 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
169 | 3KVA non- redundant ,Single manufacturer's standard design UPS System suitbale for input power supply voltage of 230V +-20 % Single phase input single phase output with 4 hours battery backup(VRLA-SMF 12V) and all interconnecting cables between UPS & Battery Bank,Stands for UPS and battery etc. 3KVA UPS system comprising of 13KW rectifier/charger. | Item169 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
170 | Supply, installation, testing and commissioning of Building Lighting and Power Plug Socket including concealed point wiring with havey duty PVC conduit earth wire,on/off switches etc as required as per technical specification & drawings. | Item170 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
171 | 6/16 Amp Power Socket with 20A MCB,Four in one(Make Seimens or Equi.)4 sq. mm Cu. Conductor PVC insulated point wiring. | Item171 | 20 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
172 | 20 Amp 3 Pin Industrial type socket with 20 Amp. SP MCB sheet steel enclosure with 4 sq. mm Cu. Conductor PVC insulated point wiring for air conditioner. | Item172 | 20 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
173 | Horading & FCS 31/211 make Philips or equivalent | Item173 | 20 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
174 | TMC - 501/136 | Item174 | 20 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
175 | TMC - 501/236 | Item175 | 20 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
176 | Wall Mounted Fan | Item176 | 12 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
177 | Exhaust Fan(Size 300mm,Sweep)Industrial type | Item177 | 12 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
178 | Exhaust Fan(Size 300mm,Sweep) | Item178 | 12 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
179 | De watering pump (3P x6 H ) | Item179 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information