## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Maharastra Natural Gas Ltd.,Pune
Name of Work:Tender for laying of steel pipeline & associated works from Dhakhambe to Akrale MIDC including the connectivity for DBS to OLS conversions in Nashik GA.
Tender No: MNGL/CP/2025-26/117
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | UNIT RATE In Figures To be entered by the Bidder inclusive of all taxes & duties except GST Rs. P | Per Unit Goods & Service Tax (GST) In % | GST in Rs. | Unit rate inclusive of all taxes & duties including GST (Rs.) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | CARBON STEEL PIPES | Item1
2 | PIPELINE LAYING / INSTALLATION in all type of surface (Normal/built-up surface) "Receiving and taking over" as defined in the specifications, handing, loading, transportation and unloading of Owner supplied 3-Layer PE coated linepipes from Owner's designated stack-yard to Contractor's stock yard/workshop/work-site including preliminary activities, preparation of drawings, wherever required for crossing etc. including handling, stacking, stringing on the pipeline Right-of-Use/ pipeline route alignment, carrying out inspection of company supplied materials including linepipes at the time of taking over, laying/ installation of coated linepipes, associated burried valves, barred tees, insulating joints, flanges & fittings of all sizes, thickness & ANSI class rating and accessories as per specification wherever required depending on site condition including execution of all works, "taking over", handling , including loading and unloading, transportation of Owner supplied materials other than linepipe from Owner's designated place (s) of issue to work site, | Item2 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | additional lands required for Contractor's storage, fabrication, access for construction, procurement and supply of all materials (except Owner supplied materials), consumables, equipment, labour and other inputs, carrying out all temporary, ancillary, auxiliary works, aquistion of ROU/ROW for laying of pipeline from HDD Exit and entry point to Tie in Point of existing Pipeline/ ROU, ready for commissioning of pipeline as per drawings, specifications, other provisions of Contract document and instructions of Engineer-in-charge, including but not limited to carrying out the following works: | Item3 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Surveying of route and detours required at the time of execution including marking the same in topographical sheet, preparation of construction drawings showing survey details, and submit same to Owner for review / approval. | Item4 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Staking and installation of construction markers, clearing, fencing, grubbing, cutting of trees, full filling all the requirements of vNopsus statutory/ environment authorities to the entire satisfaction of concerned authorities, grading of work area. Shifting of all obstruction within the ROU/ Pipeline route alignment viz. electrical lines/ poles, telephone line / poles, etc. coordination with concerned authorities and obtain permissions from these authorities. | Item5 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6 | Trenching to all depths by excavation in all types of soils including soft/ hard rock and different type of pavement / footpath / roads etc. including rock breaking, chiselling or otherwise cutting etc. as required and storing excavated soil, reusable materials at designated area as directed by Engineer in charge and to a width to accommodate the Steel pipeline and MDPE as per the relevant standard/ specification etc. [The minimum depth of the top of pipeline shall be 1.0m measured from top of pipeline coating to the top of undisturbed surface of the soil or as per SCC/ OISD - 141 / 226, whichever is higher]. Dewater of trenches if required as per site condition. | Item6 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Carrying out repairs of pipe defects/ replacement in case of irreparable defects and repairs of defects of pipe coating not attributable to Owner including defects/ damages occurring during transportation / handling. | Item7 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Stringing of line pipes along pipeline trench / ROU on straw / sand / soft soil bags including supply of bags and its filling materials. | Item8
9 | Checking, cleaning, aligning, bending, cutting and bevelling (as required) of pipes for welding and field adjustments including pipe fittings, welding, carrying out non-destructive testing of welds as required including 100% radiography by X-ray and providing all requisite equipment, labour, supervision, materials, films, consumables, all facilities and personnel to process, develop, examine and interpret radiographs and other tests as required, carrying out repairs of weld joints found defective by Engineer-in-Charge, carrying out re-radiography and other tests as required on repaired joints. | Item9
10 | Carrying out installation of carrier line pipe at all minor crossing viz. carttrack, pathway, water bodies etc. at designated depth by open cut (except at crossing by HDD method). | Item10 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Carrying out installation of carrier line pipe in the casing pipe at cased crossing (excluding installation of casing pipes which is covered separately). | Item11 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12 | Coating of field weld joints, long radius bends (R=3D), elbows, buried fittings and valves etc. including supply of coating materials etc. (i.e. heat shrinkable sleeves and high build epoxy etc.) as per PJS & Technical Specification compatible with 3 layer PE coating material of the line pipe. | Item12 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Counting the number and type of trees cut in presence of DFO/concerned authorities and keeping record thereof, stacking and handing over of all cut tress. | Item13 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Installation / lowering the pipeline in trench to required depth as per PJS, Techanical Specification & drawings, supply & placement of 1.0mm thk. HDPE Yellow colour warning mat,RCC tiles (300 mm width x 50 mm thick) over the pipeline & MDPE Pipe in same trench along the complete route as per standard drawings, data sheets & technical specifications, padding around pipeline as per Standard Drg. no. MNGL/Plng./Steel/03 with suitable soil duly approved by EIC including supply of padding material, backfilling and its compaction to the satisfaction of concerned authorities with excavated earth / borrowed select soil including supply of borrowed select soil duly approved by EIC before backfilling and make ready for restoration to be done by Onwer / concerned authorities. | Item14 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Supply and installation of slope breakers, wherever required or, as directed by Onwer / Engineer–in–charge. | Item15 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Crossing the all-foreign pipeline / HT line / cable / any other utilities etc. with necessary concrete / HDPE sheet protection including coordination with all agencies and obtaining NOC | Item16 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17 | Supply and installation of bank protection alongwith backfill materials duly approved by EIC for pipeline trench and banks falls under minor water body crossing as per technical specification & Std. Drg. No. MNGL/Plng./Steel/28, wherever required or, as directed by Onwer / EIC. | Item17 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Training and diversions of streams in steep slope area, wherever required. | Item18 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19 | Carrying out air cleaning, pigging, flushing, cleaning and hydrostatic testing of complete pipeline with required quantity of corrosion inhibitor including pre-testing of designated sections complete as per specification and approved by Engineer–in–charge to specified pressures indicated elsewhere and duration after stabilization as per specification, providing all equipment, pumps, fittings, instruments, dead weight tester, pressure recorder, thermocouples etc., and services, supervision, labour, consumables, water including supply of corrosion inhibitor, air, etc. as required, locating of leaks and rectification of defect attributable to Contractor (rectification of defects in linepipe material not attributable to contractor shall be paid separately as per other item of schedule of rate), re-testing after rectification, dewatering after successful completion of hydrotesting of entire section and as per specification | Item19 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20 | All tieing-in, including the tie-in(s) of the pipeline with the adjacent sections of pipeline including cutting of test header, rebevelling as required, radiography and other NDT examination, joint coating as per specification. | Item20 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
21 | Final clean-up of right-of-use or area disturbed by contractor during their construction activities for laying of pipeline works and disposal of debris and surplus material to designated disposal areas and backfilling of trench and compaction of the same as per satisfaction of Owner and / Or as directed by Engineer–in–charge. | Item21 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Installation of all burried valves (except extended stem valves) inside the valve pit and making provision to operate the valve. | Item22 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23 | Preparation of as-built drawings, pipe-books (1 set of tracing on polyester film and 6 sets of as-built drawings and 1 soft copy and 6 hard copies of pipe book) All the works shall be executed in accordance with the provision of contract including carrying out all temporary/ ancillary/ auxiliary works required for the performance of the works and all other acts, deeds, matters and things necessary to make the pipeline ready for precommissioning activities. | Item23 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24 | Raking up of hard surface of any type including metal, concrete, bituminous, tiled, brick lined soft rock which is breakable in pieces manually (without use of pneumatic machine) etc. All tiles/ slabs/ curb stones etc. removed during excavation shall be placed properly. Payment for cutting of hard rock, if any, is covered unders SOR no. 81.0 | Item24 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
25 | Specified dia Thk (mm) Material Coating Type Length of each pipe (mm) NB | Item25 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
26 | 150 6.4 API X-52 3 Layer PE Coating (Externally) Double random (approx. 11.5 m to 12.5 m) | Item26 | 12750 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | 100 6.4 API X-52 3 Layer PE Coating (Externally) Double random (approx. 11.5 m to 12.5 m) | Item27 | 6770 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
28 | Note: This item shall be applicable for the underground steel grid main pipeline & branch pipeline, barred tees, insulating joints, bends, flanges & fittings, accessories etc. (i.e. including arrangement for making provision for tap-off on proposed steel grid main pipeline) and aboveground approach pipeline upto Insulating Joint (excluding installation of aboveground insulating joint) for vNopsus stations. | Item28 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
29 | Items except above are covered separately. The lengths of pipelines are tentative. | Item29 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
30 | Permission Liasioning /Follow-up | Item30 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31 | Liasioning & follow up for Permission with all the concerned authorities & boards viz Railways, NH, PWD, MIDC, Local Municipal, Panchyat, Electricity, REC, RES, Sewage water, Drinking water, Forest, Social Forestry, Owners of OFC, Traffic, Law & Order, Fire Brigade, Private Land Owner etc. for entire pipeline length and associated terminals (like SVs, tap-offs) alongwith associated work as per tender. | Item31 | 20000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
32 | Laying of RCC Tiles | Item32
33 | Providing single layer of RCC Tiles with supply of RCC Tiles to entire width of trench above Warning Mat placed in trench over the laid pipeline as per standard drawing, specification and instruction of Owner. (Rate to include cost of all labour, tools, tackles, equipment, hire charges & supply of all materials, etc.) | Item33 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34 | For width of 6" pipeline trench | Item34 | 13000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35 | For width of 4" pipeline trench | Item35 | 7000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
36 | Barricading to comply with HSSE | Item36
37 | Steel barricading of the trenches Cautionary Sign Boards and lighting arrangement shall be provided as per attched drawing no.MNGL/Plng./steel/04. The rates include barricading of trenches along with sign boards, lighting etc. and maintain the same till the back filling of the trench. Rates will be payable per metre of BARRICADING PROVIDED. If proper barricading is not provided, MNGL will barricade the trenches at the risks and costs of the CONTRACTOR and will levy penalty of twice the rate per unit for the relevant section of the pipeline apart from other actions as per contract. | Item37 | 20000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
38 | RESTORATION OF ROADS Restoration of asphalt / concrete / red stone roads / pavement/Footpath/Paver block including compaction of soil, to original condition as per requirement and to the entire satisfaction of EIC and / or concerned Owners having jurisdiction for following thickness. | Item38
39 | Restoration of Asphalt road upto 10 cm thickness | Item39 | 1100 | Sq. metre |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
40 | Restoration of Asphalt road beyond 10 cm upto 20 cm thickness | Item40 | 400 | Sq. metre |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
41 | Restoration of Concrete road upto 10 cm thickness | Item41 | 900 | Sq. metre |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
42 | Restoration of red stone road / footpath / pavement/ Paverblock upto 4 cm thickness | Item42 | 800 | Sq. metre |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
43 | BORROWED SELECT SOIL FOR BACKFILLING Additional work over and above item 1.0 for supply of specified and approved quality of borrowed soft graded soil / sand in place of available excavated material and / or other suitable soil as per applicable standards / specifications, including backfilling of excavated trench for specified length after laying and padding of pipeline, including transportation of such special backfill material over all distances, complete. | Item43 | 1000 | m3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
44 | CROSSING OF STEEL PIPELINE BY OPEN CUT | Item44
45 | Preparation of required length of carrier pipeline welded string including all other works as mentioned in item no. 1.0 above and specification/ drawings. Insertion of carrier pipeline welded string including all other works as mentioned in item no. 1.0 above and as per specification/ drawings. Insatllation of vent and drain assembly, fixing of end seals, backfilling and restoration as original of the facilities crossed and performing all other works including pigging, cleaning, final hydrotesting etc. alongwith mainline works (as mentioned in item no. 1.0 above) and as per specification, approved procedure, drawing etc. and instruction of Engineer-in-charge and provision of contract document, getting NOC from all concerned Authority of the facilities crossed. | Item45 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46 | Road Crossing By Open Cut Method Road Crossings at vNopsus locations by Open cut Method along with laying of MDPE upto 180 mm Dia if necessary as decided by EIC at site as per concerned authority requirement.Depth of Line at crossing shall be as mentioned in Tender. | Item46 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
47 | Line pipe detail 6" NB, 6.4 mm thk API X-52 pipe, C.S. by open cut method along with laying of MDPE upto 180 mm Dia if necessary | Item47 | 280 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
48 | Line pipe detail 4" NB, 6.4 mm thk API X-52 pipe, C.S. by open cut method along with laying of MDPE upto 180 mm Dia if necessary | Item48 | 200 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
49 | Water body Crossing By Open Cut Method water/ canal/ nallah/ drain/ channel Crossings at vNopsus locations by Open cut Method along with laying of MDPE upto 180 mm Dia if necessary as decided by EIC at site as per concerned authority requirement.Depth of Line at crossing shall be as mentioned in Tender. | Item49 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
50 | Line pipe detail 6" NB, 6.4 mm thk API X-52 pipe, C.S. by open cut method along with laying of MDPE upto 180 mm Dia if necessary | Item50 | 220 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
51 | Line pipe detail 4" NB, 6.4 mm thk API X-52 pipe, C.S. by open cut method along with laying of MDPE upto 180 mm Dia if necessary | Item51 | 190 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
52 | Note: Laying of the pipeline by the approved method across the crossing including, strings preparation of pipes, welding, testing, radiography, welding repair and retest, coating of field joints and repair of pipeline coating with special PERP-80 repair patch or equivalent material as per specification, pre-hydrotest of complete strings made for crossing etc. | Item52 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
53 | Backfilling of the Road/water/ canal/ nallah/ drain/ channel Crossings/ trench including restoration and clean-up of area etc. to the satisfaction of Engineer-in-charge/ Concerned Authority. | Item53
54 | All other works including pigging, cleaning, final hydrotesting etc. alongwith mainline works (as mentioned in item no. 1.0 above) required as per specifications, codes, approved drawings, calculations, methods and as directed by Engineer-in-charge. | Item54 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
55 | CROSSINGS/LAYING ALONG THE ROAD/WATER BODY BY HDD METHOD | Item55
56 | Complete work of the any crossing (between the limits are defined as approved drawings) by HDD method including "Receiving and taking over" owner supplied three layer PE coated line pipes from Owner's designated place to issue/ dump site(s) and transportation to Contractor's stock yard/ work shop/ work site including all handling loading, unloading, aligning etc. supply of all Contractor supplied material, manpower, equipment, other resources and aquiring the required land for storage, fabrication inclduing string preparation of pipes, welding, welding repair, radiography, coating of field joints with special type Heat Shrink Sleeve and repair of pipeline coating with special repair patch materials as per specification,pre-testing etc. of complete string made for crossing access for Contractor etc and execution of, but not limited to, following works in accordance with specifications scope of work and instructions of Engineer-in-charge and as per all provision of Contract Document. | Item56
57 | Pre-construction surveys based on site visit, collection of historical data from irrigation/ concerned department including design & calculation and detail engineering and making of crossing drawing for getting their approval from concerned Authority/ Engineer-in-charge, getting work permit/ NOC for water crossings/ road crossings as well as utility crossings (if any) encountered during crossing prior to start the execution of work. | Item57 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
58 | Directional drilling to required depth from top of road including maintenance of drill hole in all types of strata ( other than hard rock,crossing by HDD in Hard rock is covered seperately) at all depth to accommodate the pipeline at all conditions encountered during rail/ road crossing by approved HDD methods for providing minimum cover specified in code/ specification or the actual depth as decided by concerned authority, whichever is more. | Item58 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
59 | In case of water crossing, drilling to the required depth on the banks and bed including maintenance of drill hole in all types of soil strata ( other than hard rock,crossing by HDD in Hard rock is covered seperately) all depth to accommodate the pipeline a by HDD methods for providing with minimum cover over top of the pipe at all point across the maximum possible width of water bed (as per drawing) either 1.5 mtrs. below the predicted scour profile expected during the life time of the pipeline or 2.5 mtrs. below the available lowest firm bed (if scour profile/ depth not available) of the water crossing by ascertaining bed level upto 50 mtrs. both the side from crossing location or the actual depth as decided by concerned Authority/ Engineer-in-charge whichever is more. | Item59
60 | Laying of the pipeline by the approved HDD method across the crossing including, strings preparation of pipes, welding, testing, radiography, welding repair and retest, coating of field joints with special type Dirax Heat Shrink Sleeve or equivalent and repair of pipeline coating with special PERP-80 repair patch or equivalent material as per specification, pre-hydrotest of complete strings made for crossing etc. | Item60 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
61 | Backfilling of the ditch/ trench including restoration and clean-up of area etc. to the satisfaction of Engineer-in-charge/ Concerned Authority and all other works including pigging, cleaning, final hydrotesting etc. alongwith mainline works (as mentioned in item no. 1.0 above) required as per specification, approved drawings, calculations, methods and to the satisfaction of Engineer-in-charge and/or as directed by concerned Authority. | Item61 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
62 | Post installation hydrotest dewatering and tie-in with pipeline at either side of crossing/banks etc. | Item62 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
63 | All other works including pigging, cleaning, final hydrotesting etc. alongwith mainline works (as mentioned in item no. 1.0 above) required as per specifications, codes, approved drawings, calculations, methods and as directed by Engineer-in-charge. | Item63
64 | Laying along/Crossing of Road/water body/canal/nallah/ drain/ channel by carrier pipeline of size 150 mm NB x 6.4 mm thk. of API X-52 (along with laying of 4" Steel Pipe for MDPE if necessary) by HDD Method. | Item64 | 420 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
65 | Laying along/Crossing of Road/water body/canal/nallah/ drain/ channel by carrier pipeline of size 100 mm NB x 6.4 mm thk. of API X-52 (along with laying of 4" Steel Pipe for MDPE if necessary) by HDD Method. | Item65 | 370 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
66 | Note: (i) Crossing width & Actual string length for HDD shall vary as per design calculations & site condition so that pipe is not under stress as permitted by codes/ specifications. However final length of string & cover from top of pipe shall be decided by concerned Authority/ Engineer-in-charge. | Item66 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
67 | (ii)Payment shall be based on the actual length (i.e. length between tie-in joints) of pipeline laid by HDD. Exact location of tie-in shall be approved by Owner/ Owner's representative. Above Rate for steel pipeline laying is inclusive of carrier pipe string preparation, Welding, NDT, Pretesting, Coating, Post Hydrotesting, Hydrotesting, Precommissioning & etc. | Item67 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
68 | (iii) Payment for the length of final tied-in carrier pipeline string with mainline made for crossing laid by HDD method are inclusive in the above item rate and no separate payment shall be made under other item mentioned elsewhere. | Item68 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
69 | (iv) Width of above crossings indicated are tentative. The width indicated are not for any single crossings. This shall be as per requirement at site for crossing at different locations. | Item69 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
70 | (v) The rates shall include bore holes for soil investigation, collection of disturbed samples from bore holes and visual engineering classification of soil at crossing location. Minimum 2 nos of bore holes ( 01 no each at both end of crossing) are required on each crossing and submission of detailed report to Company.Boreholes shall be made at locations as direct by Engineer in-charge at crossing location to find out the presence of rock strata. Boring shall be carried out in accordance with the provision of IS:1892. Minimum diameter of boring shall be 150 mm. | Item70 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
71 | Note: (i) Quantity mentioned under item nos. 46 , 49 are indicative only for different location of roads/water/ canal/ nallah/ drain/ channel Crossings. (ii) Actual length & width of individual crossing and cover from top of casing pipe/ carrier pipe string may vary depending upon site condition, approved crossing drawings, specifications etc. and / or as decided by Engineer-in-charge/ Concerned Authority. | Item71 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
72 | (iii) Payment for supply & installation of Zinc ribbon anode and its design excluded from above item and covered elsewhere in the SOR. (iv) Payment for the length carrier pipeline string inserted in casing pipe laid by Boring are covered separately and shall be paid under other clauses mentioned elesewhere in the SOR. | Item72 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
73 | Excavation beyond 1.5m depth in case of crossing of utilities/ drain/ culverts etc. through open cut upto the following depth (including restoration of the damaged area to its original condition and satisfaction of the Engineer-in-charge / concerned authorities) : - | Item73 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
74 | In all type of surface (Kachha/ built-up surface / Hard surface) of any type including metal, concrete, bituminous, tiled, brick lined soft rock which is breakable in pieces manually (without use of pneumatic machine) etc. All tiles/ slabs/ curb stones etc. removed during excavation shall be placed properly. The other activities are as per SOR 1.1. Payment for cutting of hard rock, if any, is covered unders SOR no. 81.0 | Item74
75 | Deeper than 1.5 m & upto 2.5 m below existing level (for 150 (approx.) mm NB Pipeline) | Item75 | 1500 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
76 | Deeper than 2.5 m below existing level (for 150 (approx.) mm NB Pipeline) | Item76 | 200 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
77 | Deeper than 1.5 m & upto 2.5 m below existing level (for 100 (approx.) mm NB Pipeline) | Item77 | 900 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
78 | Deeper than 2.5 m below existing level (for 100 (approx.) mm NB Pipeline) | Item78 | 100 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
79 | Excavation of hard rock | Item79 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
80 | Excavation of hard rock wherever hard rock of single piece exceeding 1.0 m in length removable by pneumatic chisel/ drill as per direction of EIC. | Item80 | 3800 | Cub. M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
81 | REPAIR OF COATING DEFECTS (NOT ATTRIBUTED TO CONTRACTOR) | Item81 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
82 | Repair of Holiday in Coating (Noted and recorded at the time of "receiving and taking over") Supply of all coating repair materials as per requirements of specification to be compatible with line pipe coating material, supply of all consumables, utilities, equipments and all manpower required, pipe cleaning and surface preparation, repairing of coating defects (resulting in holiday) and testing including all handling, transportation, etc. for line pipes, performing all works necessary for the completion of the works stirctly in accordance with relevant specification and instructions of Engineer-In-Charge. This rate shall be applicable per sq. cm of the exposed steel area exposed steel area. | Item82 | 1000 | Sq. cm. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
83 | PERMANENT MARKERS Supply, fabrication and installation of all types of permanent markers along the route including all associated civil works such as excavation in all types of soil, construction in all types of soil, construction of pedestals and grouting with concrete, clearing, supply and application of approved colour and quality of primer and paint, stencil letter cutting for numbers, direction, change etc., restoration of area to original condition and performing all works as per drawing, specification and instruction of engineer-in-charge. | Item83 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
84 | Pipeline RCC boundary / route marker as per drawing | Item84 | 400 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
85 | Pipeline warning markers with post & foundations | Item85 | 140 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
86 | Pipeline direction marker with post & foundations | Item86 | 40 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
87 | Pipeline KM with post & foundations | Item87 | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
88 | HOOK -UP | Item88 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
89 | Hook-up of proposed pipeline by welding of final tie-in-joint with any existing laid pipeline portion of river X-ing ,existing Tap-off & battery limit of section IV including Hook-up point of the existing pipeline to be made ready for welding by cutting of flanges / valves / headers at all depth in all type of soil etc. Venting of N2 / gas / gas mixture as required purging of N2 Gas (if required), rebevelling as required, radiography and other NDT examination, joint coating as per specification.Contractor shall supply of all consumables, manpower, machinaries, materials, N2 gas etc. and carry out all works as per the provisions of Contract document and instructions of Engineer-in-charge. | Item89 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
90 | For 6" NB | Item90 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
91 | For 4" NB | Item91 | 16 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
92 | PRE-COMMISSIONING AND ASSISTANCE IN COMMISSIONING OF PIPELINE SYSTEM Swabbing, drying, purging with nitrogen of the complete pipeline network and the associated facilities being installed to the specified acceptance criteria, carrying out pre-commissioning works, providing assistance during the complete duration of commissioning operations for entire pipeline network system including supply of all equipment, man-power, consumables (including pigs & nitrogen required for purging with maintaining nitrogen column of mininum 10% of pipeline geometric volume) materials for all temporary works and performing all associated works, complete as per the relevant specifications, other provisions of Contract document and instructions of Engineer-in-charge. | Item92 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
93 | For 6" NB Pipeline | Item93 | 13000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
94 | For 4" NB Pipeline | Item94 | 7000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
95 | IDLE TIME PRESERVATION OF PIPELINE Preservation of complete pipeline and associated facilities forming part of the pipeline as per Bid document and its maintenance including supply of all consumables, all equipment, manpower, etc. complete as per the requirements of specifications, other provisions of Contract document and instructions of Engineer-in-charge. Note : Owner reserves the right to exercise either or none of the rates below. | Item95 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
96 | By filling and pressurizing with nitrogen to a pressure of 2 bar(g) for a period of 3 months. | Item96 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
97 | For 6" NB Pipeline | Item97 | 13000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
98 | For 4" NB Pipeline | Item98 | 7000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
99 | For every additional period of one month or part thereof | Item99 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
100 | For 6" NB Pipeline | Item100 | 13000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
101 | For 4" NB Pipeline | Item101 | 7000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
102 | RCC VALVE PITS All civil works including supply of all materials, excavation of pit, piping supports including all PCC and RCC works for valves pits including pedestals with insert plates as required sealing of pipe at valve pits, providing cover etc. and finishing , clean-up and restoration of site, filling and grading of area around valve station for avoiding any local flooding of area, as per typical drawing and specification enclosed and instructions of Engineer-in-charge. In this item, instead of Brick Work, RCC will be done | Item102 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
103 | Valve Pit of Size 2m x 1.5m | Item103 | 7 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
104 | Valve Pit of Size 1.5m x 1 m | Item104 | 26 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
105 | Valve Pit of Size 1 m x 1 m | Item105 | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
106 | SUPPLY OF ASSORTED PIPE, FITTINGS AND FLANGES Complete works of supply of pipes, flanges & fittings for aboveground & underground installation including all taxes, duties, transportation and inspection charges but not limited to, the following items in accordance with PMS (piping material specification), relevant specifications & drawings indicated in job specification under SCC (technical) and instructions of Engineer-in-charge and as per all provisions of the CONTRACT DOCUMENT. - Handling including lifting, transportation from Contractor Stores to CONTRACTOR's workshop for fabrication and/ or to work site for field fabrication and erection for all piping items supplied by Contractor. | Item106 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
107 | Carbon Steel Pipe (A 106, Seamless B-36.10/ API X 52 ) | Item107 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
108 | Size Rating/ Schedule | Item108 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
109 | 2" NB, BE Sch. 80 | Item109 | 200 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
110 | 1" NB, PE Sch. 80 | Item110 | 160 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
111 | ¾" NB, PE Sch. 160 | Item111 | 120 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
112 | Flanges | Item112 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
113 | Weld Neck (B-16.5, 300# A105,125 AARH, Serrated finish) | Item113 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
114 | Size Rating/ Schedule | Item114 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
115 | 6" NB, RF End thickness to match with pipe wall thickness (Sch. 80) | Item115 | 24 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
116 | 4" NB, RF End thickness to match with pipe wall thickness (Sch. 80) | Item116 | 28 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
117 | 2" NB, RF End thickness to match with pipe wall thickness (Sch. 80) | Item117 | 40 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
118 | 3/4" NB, RF End thickness to match with pipe wall thickness (Sch. 80) | Item118 | 36 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
119 | Blind Flanges (B-16.5, 600# A105,125 AARH Serrated) | Item119
120 | 8" NB, RF | Item120 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
121 | Blind Flanges (B-16.5, 300# A105,125 AARH Serrated) | Item121 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
122 | Size | Item122 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
123 | 6" NB, RF | Item123 | 28 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
124 | 4" NB, RF | Item124 | 28 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
125 | 2" NB, RF | Item125 | 36 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
126 | 3/4" NB, RF | Item126 | 36 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
127 | Elbow (Seamless) | Item127
128 | 90° Elbow ( MOC MSS SP 75 WPHY 52 & DIM. ASME 16.9 R=1.5D ) Min Thickness 6.4mm | Item128 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
129 | Size Rating/ Schedule | Item129 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
130 | 6" NB 300# | Item130 | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
131 | 4" NB 300# | Item131 | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
132 | 2" NB Sch. 80 | Item132 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
133 | 45° Elbow ( MOC MSS SP 75 WPHY 52 & DIM. ASME 16.9 R=1.5D ) Min Thickness 6.4mm | Item133 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
134 | Size Rating/ Schedule | Item134 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
135 | 6" NB 300# | Item135 | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
136 | 4" NB 300# | Item136 | 28 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
137 | 2" NB Sch. 80 | Item137 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
138 | 90° Elbow (MOC MSS SP 75 WPHY 52 R= 3D ) Min Thickness 6.4mm | Item138 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
139 | Size Rating/ Schedule | Item139 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
140 | 6" NB 300# | Item140 | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
141 | 4" NB 300# | Item141 | 25 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
142 | 45° Elbow (MOC MSS SP 75 WPHY 52 R= 3D ) Min Thickness 6.4mm | Item142 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
143 | Size Rating/ Schedule | Item143 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
144 | 6" NB 300# | Item144 | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
145 | 4" NB 300# | Item145 | 28 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
146 | 22½° Elbow (MOC MSS SP 75 WPHY 52 R= 3D) Min Thickness 6.4mm | Item146 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
147 | Size Rating/ Schedule | Item147 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
148 | 6" NB End thickness to match with pipe wall thickness | Item148 | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
149 | 11½° Elbow (MOC MSS SP 75 WPHY 52 R= 3D), Min Thickness 6.4mm | Item149
150 | Size Rating/ Schedule | Item150
151 | 6" NB 300# | Item151 | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
152 | Tees (Seamless) | Item152 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
153 | Equal Tee (MOC MSS SP 75 WPHY 52 & DIM. ASME B16.9) | Item153
154 | Size Rating/ Schedule | Item154
155 | 6" NB x 6" NB x 6" NB Min. Thickness 6.4mm X min. Thickness 6.4mm | Item155 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
156 | 4" NB x 4" NB x 4" NB Min. Thickness 6.4mm X min. Thickness 6.4mm | Item156 | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
157 | 2" NB x 2" NB x 2" NB Sch. XS | Item157 | 28 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
158 | Unequal Tee (MOC MSS SP 75 WPHY 52 & DIM. ASME B16.9) | Item158
159 | Size Rating/ Schedule | Item159
160 | 4" NB x 4" NB x 2" NB Sch. 80 x Sch.80 | Item160 | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
161 | 6" NB x 6" NB x 4" NB Sch. Std.x Sch. XS | Item161 | 14 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
162 | Reducer (MOC MSS SP 75 WPHY 52 & DIM. ASME B16.9) | Item162
163 | 6" NB X 4" NB Min Thickness 6.4mm | Item163 | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
164 | 4" NB X 2" NB Min Thickness 6.4mm | Item164 | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
165 | Weldolet and Sockolet | Item165 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
166 | Weldolet (MOC A105 & DIM. MSS SP 97) | Item166 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
167 | Size Rating/ Schedule | Item167 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
168 | 6" NB x 2" NB Sch.80 | Item168 | 16 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
169 | 4" NB x 2" NB Sch. 80 | Item169 | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
170 | Sockolet (MOC A105 & DIM. MSS SP 97) | Item170 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
171 | 6" NB x 3/4" NB #300 | Item171 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
172 | 6" NB x 1" NB #300 | Item172 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
173 | 4" NB x 3/4" NB #300 | Item173 | 50 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
174 | Butt Weld Disc End Cap (MOC MSS SP 75 WPHY 52 & DIM. ASME B16.9) | Item174
175 | Size Rating/ Schedule | Item175 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
176 | 6" Sch. 40 | Item176 | 15 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
177 | 4" Sch. 80 | Item177 | 25 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
178 | Fabrication & Installation of Underground Valve Assembly | Item178 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
179 | 6" NB Isolation Valve/tap-off assembly as per Drg. No.MNGL/Plng./Steel/40 | Item179 | 7 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
180 | 4" NB Isolation Valve/tap-off assembly as per Drg. No. MNGL/Plng./Steel/40 | Item180 | 26 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
181 | Note: | Item181
182 | For all the supply items mentioned above, procurement shall be made as per enclosed Data Sheets and respective technical specification, after due approval of Engineer-in-charge. | Item182 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
183 | The quantities mentioned above are tentative and quantities for above supply items shall be finalised & procured by Contractor only after due approval of EIC. Contractor supplied any surplus item during reconciliation shall not be accepted / taken by the Owner. | Item183 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
184 | PLANT PIPING (ABOVEGROUND) Fabrication and testing of carbon steel piping and fittings, valves, IJ, including supply of all consumables, equipment, manpower, and other resources and execution of job as per instruction AIC/EIC.Transportation of all piping items from Owner's and/ or Contractor's storage point to work at site/ workshop as applicable, complete work of fabrication, erection, painting, testing of pipes, flanges and fittings and making ready for further Commissioning / Start-up of carbon steel piping of all sizes and ratings including supply of all consumables, equipment, manpower and other resources and execution of, but not limited to, as per all provisions of the CONTRACT DOCUMENT. | Item184 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
185 | Fabrication including lifting and transportation from COMPANY's warehouse to CONTRACTOR'S Stores and/or work site, cutting, edge preparation, inclusive of grinding the edges of pipes, fittings, flanges, reducers etc. to match with the matching edges of uneven thickness, wherever required, fit-up, welding of pipes and fittings like elbows, tees, reducers, weldolets, sockolets, Valves, IJ etc. flanges, vent and drain point connection, Radiography and NDT of all joints etc, including providing stubin connections, fabricated fittings and reinforcement pads etc., as required. | Item185 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
186 | Erection of pipes of all types and thickness at all elevations, connecting with equipment nozzle, aligning, installation and carrying out connected activities for all types of valves, all online instruments and fittings of all sizes of elbow, reducers, tees, flanges, blind flanges, spectacle blind flanges, branch connection / tapping for pressure gauges, including installation of gaskets and bolts. | Item186 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
187 | Erection including prior cleaning, lifting, placing on pipe sleepers and supports, overhead on racks, skids and at all elevations including installation and carrying out connected activities for all types of valves including supply and fixing of gaskets, studs/ bolts, nuts wherever required for all sizes, levelling, aligning, joining of flanges, blind flanges, connecting with equipment, nozzles, strainers, tie-in with existing piping/facilities, etc. tapping for inline instruments like pressure gauges, thermowells, sample connection, etc. | Item187 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
188 | Hydro testing of the piping job shall be conducted at pressure mentioned in specification for a period of 4 hours by using de-mineralised water, to check its strength. No visible leakages shall be detected during the test. Testing shall be conducted as per tender specification. | Item188 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
189 | Preparation of final bill of material based on piping GADs. | Item189 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
190 | Preparation of isometric and fabrication drawings. | Item190 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
191 | Carrying out Non-destructive testing as required except items mentioned in sl. no. 249 of SOR. | Item191 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
192 | Painting of entire system (including aboveground all pipes fittings, flanges and accessories) as per specifications suitable for highly corrosive area environment including supply of approved paints and primers, application of primer and paints, indentification lettering/ numbering, colour coding, etc. as specified including rub down & touch up of shop primer or scrapping of shop primer wherever required by COMPANY and providing scaffolding for all heights etc. | Item192
193 | Cleaning and flushing by water/ compressed air, testing of the systems including hydrostatic, pneumatic and any other type of testing as specified, draining, drying by compressed air/other methods approved by COMPANY. | Item193
194 | Precommissioning & making operational all piping system and equipments. | Item194 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
195 | Commissioning Contractor scope shall provide all necessary assistance in term of supply of man-power, equipment, tools and tackles required amount of nitrogen for purging of entire terminal piping system including equipments etc. to the company during commissioning activities. | Item195 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
196 | Completion of all such work in all respects as per scope of work and as per drawings, specifications and instructions of the COMPANY and keeping the system ready in all respects for further commissioning and start up. | Item196 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
197 | Hook-up works (with client/ consumer piping at battery limits): | Item197 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
198 | Complete Carbon Steel aboveground Piping Work with painting including all fittings, flanges and supply of all required gaskets, studs bolts & nuts etc. as described under item 16 above, and Any other work and material required for the completion of the work and not covered above and desired by EIC shall be in the scope of contractor | Item198 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
199 | Carbon Steel Pipe (ASTM A 106, Seamless B-36.10 / API X 52) | Item199 | 900 | inch Dia |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
200 | 1) Pipe Specification and thickness may vary depending upon availability of pipe. No extra payment shall be made for this. 2) All butt welded fittings & flanges end shall generally match with connecting pipe wall thickness. However, in case of misalignment, Contractor shall have to do end preparation without any extra cost. 3) All o-lets less than 2" NB size, all sizes of coupling and nipples etc. as required shall be suplied by contractor but no separate payments shall be made as it is covered under erection rate. | Item200 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
201 | Aboveground installation of Insulating Joint & Valves etc. Handling including lifting and transportation from COMPANY's warehouse to CONTRACTOR'S Stores and/or work site and installation of all types of valves, insulating joint including assembly of valve accessories, (if any) by bolting, threading or welding, supply and insertion of gaskets, nuts & bolts, nipples, etc. at all elevations of pipe sleepers, supports or overhead on racks, equipments nozzle, skid & painting etc. supply of all consumables, manpower, equipment, etc. for completion of all works as per scope of work and as per drawings, specifications and instructions of Engineer-in-charge including servicing/ cleaning of valve wherever requried. | Item201 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
202 | Welded Valves (Full Bore/ Reduced Bore) Ball / Globe / Check Valve | Item202 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
203 | Size Rating/ Schedule | Item203 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
204 | 4" NB 300# | Item204 | 25 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
205 | 2" NB 300# | Item205 | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
206 | Sockolet Welded Valve (Ball / Globe Valve) | Item206 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
207 | Size Rating/ Schedule | Item207 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
208 | 1" NB 800# | Item208 | 36 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
209 | ¾" NB 800# | Item209 | 32 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
210 | 6" NB, 300# - Insulating Joints | Item210 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
211 | 4" NB, 300# - Insulating Joints | Item211 | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
212 | STRUCTURAL WORKS | Item212 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
213 | Supply of erection of single leaf mild steel gate 2.5m high with mesh upto 2m height and barbed wire fencing and 2m wide complete in all respect including painting as per TS on all MS items, all works as per specification and drawings excluding foundations and RCC beams. | Item213 | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
214 | Supply of all materials, fabrication and erection of chain link fencing 2.5m high with mesh up to 2m height and barbed wire fenching complete in all respects including painting as per TS on all MS items, all works as per specification and drawings excluding foundation and RCC beams. | Item214 | 150 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
215 | Pipe Supports & Other Structures | Item215 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
216 | Supply, fabrication and erection of all types of pipe supports like clamps, saddle, guide stops, cradles, turn buckles, anchors, T-posts; stockade/ trestle and pipe bridge for overhead piping; frames for canopy, approach ladders and platforms, crossover, cable tray supports, etc. including painting suitable for highly corrosive area as per specification labour and supervision & complete work as per drawings, specifications and instruction of Engineerqw-incharge. (Bolts, nuts, washers, U-clamps etc. for supporting shall be supplied by the Contractor within the rates quoted. These items will not be measured and paid seperately). The work is to be completed in all respect as per scope of work and specification. | Item216 | 700 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
217 | Notes: | Item217 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
218 | The quantities indicated are estimated values and hence are approximate. Final payment will be made based on actual quantities to be certified by the Purchaser. | Item218 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
219 | The cost of MS bolts (permanent and service(, washers, electrodes, putty, gases, cost of straightening the raw materials, cutting of flats from plates and providing splices, paints, tools, plants etc., as required for the work shall be deemed to be included in the quoted rates. | Item219
220 | All handling and transport charges of raw materials and fabricated structures including double handling, as required, for completion of work in accrodance with time schedule, are deemed be included in the quoted rates. | Item220
221 | CIVIL WORKS | Item221 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
222 | Site Grading Excavation in earth and filling to the grades and levels shown in the approved drawings in all kinds of conditions including for Road embarkments, using approved quality good earth from designated borrow area, for all heights and depths including clearing and stripping (min. 150mm) of the area marked for filling, taking spot levels, consolidating the exposed natural soil surface, excavating the earth from borrow area loading, transporting & unloading, spreading in layers not exceeding 150mm thickness, breaking clods, watering (if reqd.), ramming and compacting by manual/ mechanical means to give minimum 92% of modified Proctor's density of earth, testing & dressing including disposal of all unserviceable material all complete as per specifications and directions of Engineer-in-charge. | Item222 | 500 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
223 | (Rate to include cost of all labour, tools, tackles, equipment, hire charges, cost of borrow earth by way of royalties, right of way, cess etc., as applicable with all bye works and sundry works). | Item223 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
224 | Plain Cement Concrete Supplying and laying plain cement concrete (including shuttering of required) in all types of concrete works including levelling courses below foundation, substructure, superstrcuture, chambers, cable tranch, under floors and any other locations, at all leveies as per drawings, specifications and directions of the Engineer-in-charge. | Item224 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
225 | PCC 1:2:4 1 Cement : 2 Coarse sand : 4 stone aggregate 20mm nominal size. | Item225 | 380 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
226 | Reinforced Cement Concrete Providing and laying reinforced cement of grade M-20 with 20mm and down grade crushed stone aggregate in all types of structures like foundations, pedestals, pedestal bases, pipe supports, sleepers cable trench inlcuding constrcution joints, bitumen painting on surface in contact with soil, providing and fixing reinforcing steel, shuttering, inserts, finishes etc. at all depths and heights complete as per drawings, specifications and direction of the Engineer-incharge. | Item226 | 450 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
227 | Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all maerials such as minimum 43 grade cement including sulphate resistant cement for substructures, R/F steel, Inserts, bolts, conduits, bitumen, other minor constrcution materials, shuttering, stanging, earthwork in excavation and backfilling using serviceable earth in all conditions, shorting bailing and pumping out water, testing of concrete, curing etc. with all bye works and syndry works. | Item227 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
228 | TEMPORARY CATHODIC PROTECTION SYSTEM | Item228 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
229 | Design, detailed engineering, supply, installation, testing and commissioning of the temporary Cathodic protection system using Mg/ Zn galvanic anodes to protect the external surface of 3 LPE coated entire 5.5 km (approx.) long steel pipeline network against corrosion for design life of minimum 1 year or till commissioning of PCP system whichever is later as per standard specification No. MNGL/Steel/TS/15 for temporary cathodic protection system. Scope shall also include but not limited to the following for completion of jobs: | Item229 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
230 | Measurement of soil resistivity along the right of way of the main pipeline route as per specification for design & installation of anodes. | Item230 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
231 | Collection of additional data related to cathodic protection along the right of way of pipeline as per specifications. | Item231 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
232 | Supply, installation, testing & commissioning of one set of spark gap arrestor with 2 plate Zinc grounding cell of 20 kg net weight each across each insulating joint as per specification. | Item232 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
233 | Supply, installation, testing & commissioning one set of polarisation cell with zinc anode at all high tension (66KV or higher) electrical power transmission line/Equipment crossing or running parallel to the pipeline for grounding purpose as per specification. The rating shall depend upon anticipated fault current & ground bed resistance at the location of installation. However, the rating of polarisation cell (krick) shall not be less than 5 KA & number of 20 kg net weight zinc anode shall not be less than two. | Item233 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
234 | Supply & installation of Zinc Ribbon Anodes at 4-8 O’Clock position in the interval of 2 metre (max.) on carrier pipes at all cased crossings i.e. railways/ roads etc. | Item234 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
235 | Monitoring of the protection system for 6 months. | Item235 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
236 | All civil/ structural works related to TCP system including supply of bricks, cement & steel etc. required for completion of the system. | Item236 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
237 | For 6" 300# | Item237 | 13000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
238 | For 4" 300# | Item238 | 7000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
239 | The quantities mentioned above are tentative and quantities for above including supply items shall be finalised & procured by Contractor only after due approval of EIC. Contractor supplied any surplus item during reconciliation shall not be accepted / taken by the Owner. | Item239 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
240 | For all the supply items mentioned above, procurement shall be made as per specification & Data Sheets, after due approval of Engineer-in-charge. | Item240 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
241 | FIELD INSTRUMENTATION | Item241 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
242 | PRESSURE INSTRUMENTS | Item242
243 | Supply , Installation of Pressure Gagues and their accessories inclusive of supply of necessary piping materials and tubings alongwith all necessary valves & fittings, fabrication and installation of impulse lines/ manifolds & hydraulic testing (exclusive of calibration of instruments) as per installation standard attached elsewhere in Tender Document and Supply as per Data Sheet No.MEC/23K8/05/E5/I/001/DS-PG. Give breakup of supply and Installation rate. | Item243 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
244 | CALIBRATION | Item244 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
245 | Calibration of the instruments listed below including removal of instruments from pre-installed locations like panels, enclosure racks, fields etc. and refixing them back in respective/ required places, providing equipments, necessary test jigs, instrument air and all consumables. Calibration reports shall be prepared and to be submitted to the Purchaser/ Consultant. | Item245 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
246 | Pressure Gauges | Item246 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
247 | Note: | Item247
248 | The quantities mentioned above are tentative and quantities for above including supply items shall be finalised & procured by Contractor only after due approval of EIC. Contractor supplied any surplus item during reconciliation shall not be accepted / taken by the Owner. | Item248
249 | For all the supply items mentioned above, procurement shall be made as per specification & Data Sheets, after due approval of Engineer-in-charge. | Item249
250 | Laying of MDPE pipe along with Steel pipe line Excluding supply of all MDPE pipe (PE 80/100,SDR11), but Including supply of Bends, Couplers, End caps, Tees, PE Reducer, CS to PE Fitting, Saddle Tapping, Warming mat, etc. as required to complete the job. ( Particular job specification.) "Receiving and taking-over" as defined in the specification, handling, loading, transportation and unloading of Owner supplied MDPE line pipes (PE80/100, SDR11) of all sizes (as free issue items) from Owner's designated place(s) of issue to Contractor's own stock-yard(s)/ Work Shop(s)/ work-site(s) including proper storing, stacking, identification, providing security & insurance cover , including supply of accessories of all sizes & thickness like Bends, Couplers, End caps, Tee, PE Reducer, CS to PE Fittings, Saddle Tapping, Warning Mat, etc.. | Item250
251 | Stringing/ uncoiling of the MDPE line pipe on the pipeline Right-of-Use, laying/ installation of MDPE line pipe alongwith steel pipeline (alongwith installation of required accessories as mentioned above) of following sizes, including executing all works; fabrication, access for construction; supply of all materials (except Owner supplied materials), consumables, labour and other incidental works and handing over the same after return of the surplus pipes to the Owner's designated stockyard(s); carrying out all temporary, ancillary, auxiliary works required to make the MDPE pipeline ready for commissioning as per drawings, specifications, scope of work indicated in PJS and other provisions of Contract document and instructions of Engineer-in-charge. | Item251
252 | UP to Dia 90mm | Item252 | 100 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
253 | Dia 125mm | Item253 | 20000 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
254 | Note : The quantities indicated above against all individual item are tentative and may vary considerably depending upon site condition, methodology adopted as per site requirement with due approval of Owner/ Consultants. | Item254
255 | Hot Tap | Item255
256 | HOT TAP Activities including man-power, technicians, Machineries, material (Valves, Split tees etc.) | Item256 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
257 | 1. Manpower & Technical Personnel The contractor shall provide: - Certified Hot Tap Technicians/Operators - Qualified Welders (with WPS/PQR approved for live-line welding) - Fitter/Helpers -Supervisors / Site Engineers -Rigging Crew All personnel must be competent, trained in gas safety, and equipped with PPE as per OISD/PNGRB norms. | Item257 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
258 | 2. Machinery & Equipment Contractor shall mobilize all machinery required for safe and efficient hot tapping, including but not limited to: - Hot Tapping Machine suitable for the specified pipeline size & pressure - Drilling/Cutting Machine with compatible cutters, pilots etc - Power Pack / Hydraulic Unit - Welding Machines - Gas Detectors (LEL monitoring) - Torque Tools & Pneumatic/Electric Tools - Lifting & Rigging Equipment - NDT Equipment (Radiography/Ultrasonic Testing as required) Other required Machinery & Equipments\ All equipment shall be tested, calibrated, and certified before mobilization. | Item258 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
259 | 3. Materials & Consumables The contractor shall supply all necessary materials, including: - Split Tees / Hot Tap Fittings of required size, material & pressure class - Ball Valve / Gate Valve (welded or flanged) suitable for hot tapping operations - Studs, Gaskets, Bolting & Flanges - Welding consumables (Class-approved electrodes/filler wire) - Temporary supports, clamps, and fittings - Sealing compounds & lubricants | Item259 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
260 | 6'' NB Hot tap on 6'' NB Charged Pipeline | Item260 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
261 | 4'' NB Hot tap on 10'' NB Charged Pipeline | Item261 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
262 | 4'' NB Hot tap on 6'' NB Charged Pipeline | Item262 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
263 | Details of Major Road Crossing (Canal/SH/MDR/NHAI): Supply, Installation & Insertion of pipeline across Canal / State Highways/MDR/NH as per SCC and technical specifications | Item263 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
264 | Supply & Installation of 18" NB x 6.4mm Wall thk. Casing pipe for Line Pipe 6" NB(6.4 mm thk API 5L Gr X52) & 4" NB, 6.4 mm thk API 5L Gr. X52 pipe by Jacking Boring . Including Insertion of 6" dia and 4" dia (for 125 mm dia MDPE Connectivity) Carrier pipeline in 18" dia casing pipe and connectivity with existing pipeline at both end of National Highways/State Highways/ Railway as per SCC and technical specifications -Supply of Casing Pipe Supply of following casing pipe including handling, loading, transportation & unloading etc. to contractor's own stock yard / worksite(s). -After Completion of insertion of carrier pipe with Connectivity at both end including all works as per the scope of work -Post Hydro testing & Commissioning , Submission of as-built drawing, Submission of Documents - The rates shall include bore holes for soil investigation, collection of disturbed samples from bore holes and visual engineering classification of soil at crossing location. Minimum 2 nos of bore holes ( 01 no each at both end of crossing) are required on each crossing and submission of detailed report to Company.Boreholes shall be made at locations as direct by Engineer in-charge at crossing location to find out the presence of rock strata. Boring shall be carried out in accordance with the provision of IS:1892. Minimum diameter of boring shall be 150 mm. - Rate Should include supply & installation of 250mm Casing pipe for 4" Steel Pipeline for MDPE (if required by Authority & as per the instructions of EIC) | Item264
265 | Note: (i) Crossing width may vary as per site condition. Tenderer are advised to visit site for actual assessment of extent of crossing. Actual length of Boring shall be as per design calculations so that pipe is not under stress as permitted by codes/ specifications. However final length of string & cover from top of pipe shall be decided by concerned Authority/ Engineer-in-charge. (ii) Payment for the length of final tied-in carrier pipeline string with mainline made for crossing laid by Boring method are inclusive in the above item rate and no separate payment shall be made under other item mentioned elsewhere. | Item265 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
266 | (iii) The Contractor has to quote alongwith 4" NB (for 125mm MDPE). No any extra payment shall be made against this item. (iv) Width of above crossings indicated are tentative. The width indicated are not for any single crossings. This shall be as per requirement at site for crossings at different locations. | Item266
267 | (v) Actual length & cover from top of casing pipe string may vary depending upon site conditions, approved drawings, specification etc. and / or as decided by concerned Authority / Engineer-in-charge. (vi) No Extra Payment for supply & installation of Zinc ribbon to be provided to Carrier pipe & Zinc Anode is to be provided to Casing pipe and its design included in above item | Item267
268 | Supply and installation of 24'' casing pipe,Preparation of required length of carrier pipeline welded string including all other works as mentioned in item no. 1.0 above and specification/ drawings. Insertion of carrier pipeline welded string including all other works as mentioned in item no. 1.0 above and as per specification/ drawings. Insertion of carrier pipe in casing pipe after above ground pretesting at specified test pressure and installation of casing insulators & Zinc ribbon anode as per specification/ drawings. Installation of vent and drain assembly, fixing of end seals, backfilling and restoration as original of the facilities crossed and performing all other works including pigging, cleaning, final hydrotesting etc. alongwith mainline works (as mentioned in item no. 1.0 above) and as per specification, approved procedure, drawing etc. and instruction of Engineer-in-charge and provision of contract document, getting NOC from all concerned Authority of the facilities crossed (Any type of soil) | Item268 | 200 | Mtrs |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information