## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver4.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Maharastra Natural Gas Ltd.,Pune
Name of Work: Tender for Annual Rate Contract for carrying out Mechanical Works at proposed CNG stations in Pune, Nashik, Sindhudurg, Ramanagara, Nanded & Nizamabad GAs of MNGL.
Tender No: MNGL/CP/2025-26/119
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC UNIT RATE to be entered by the Bidder in Rs. | GST (If applicable) in Percentage | GST Amount in Rs. | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes in Rs. | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | SECTION-A : SS TUBE LAYING & TESTING Laying, testing and commissioning of SS tubes along with all fittings (ie, unions, reducers, elbows, Tees , front Ferrule, Back Ferrule, NRV etc.) (all free issue items) as per Technical Specification & Typical P & ID for type of CNG station and scope of work including handling, lifting, transportation from Company's Stores to CNG Stations. | itemH1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | 1”OD X 0.120” min Wall thk. SS Tube (Refer TS Section III - A) | itemH1Code1 | 2800 | RM | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.2 | ¾”OD X 0.095” min Wall thk. SS Tube (Refer TS Section III - A) | itemH1Code2 | 23000 | RM | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.3 | ½”OD X 0.083” min Wall thk. SS Tube (Refer TS Section III - A) | itemH1Code3 | 1572 | RM | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.4 | Erection rates of following items (Refer TS Section III - A) | itemH1Code4 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.5 | Ball Valves ¾” Size | itemH1Code5 | 958 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.6 | Ball Valves ½” Size(2 way/3 way) | itemH1Code6 | 1010 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.7 | Ferrule Fittings ¾” (if to be changed) | itemH1Code7 | 2943 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.8 | Ferrule Fittings ½” (if to be changed) | itemH1Code8 | 852 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2 | Dismantaling of SS tubes along with all fittings (ie, unions, reducers, elbows, Tees , front Ferrule, Back Ferrule, NRV, Valves etc.) from the existing CNG station as per Instruction from Engineer In-Charge and scope of work including handling, lifting, transportation and submiting to Company's Stores from CNG site. | itemH2 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.1 | SS 316 tube of 3/4" OD/ 1/2" OD/ SS 304 tube of 1/2" OD | itemH2Code1 | 150 | RM | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | Supply, laying, testing and commissioning of SS 304 Tubes along with isolation valves, reducers & fittings etc.as per Technical Specification, Typical schematic drg. for Ins. air line of CNG station and scope of work including handling, storage,lifting, transportation upto CNG stations. | itemH3 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.1 | ½”OD X 0.035” min Wall thk. SS Tube (Refer TS Section III - A) | itemH3Code1 | 120 | RM | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.2 | SS Ball Valves ½” Size | itemH3Code2 | 12 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.3 | Reducer ½” x 1/4" Size | itemH3Code3 | 12 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.4 | Euqal Tee ½" Size | itemH3Code4 | 6 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | SECTION-B (i) : ERECTION OF MECH. EQUIPMENT Handling (including lifting and transportation from Company's store to CNG stations) and erecting in position, the following equipment either on the foundation at Ground level or on roof at 3.5 m above ground level. Contractor's scope shall include supply of all material and accessories including but not limited to any fixtures, clamps, gasket, nut bolts, etc. | itemH4 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | Cascade 3000 L water capacity. Erection at + 3.5 M level (Refer TS Section III - B) for (0 -50) Km | itemH4Code1 | 6 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.2 | Cascade 3000 L water capacity. Erection at + 3.5 M level (Refer TS Section III - B) for (51-100) Km | itemH4Code2 | 9 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.3 | Cascade 3000 L water capacity. Erection at + 3.5 M level (Refer TS Section III - B) for (101-150) Km | itemH4Code3 | 15 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.4 | Cascade 3000 L water capacity. Erection at + 3.5 M level (Refer TS Section III - B) for (151-200) Km | itemH4Code4 | 15 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | SECTION-B (ii) : UNLOADING , SHIFITNG & LOADING OF MECHANICAL EQUIPMENT IN STATION PREMISE (CASCADE) Unloading from existing position (including Compressed natural Gas venting from cascade if necessary) at Ground level or on roof at 3.5 m above ground level, lifting & erecting on foundation at ground level in the same CNG stations. Again the same cascade is to be shifted to new foundation within the same CNG station. Contractor's scope shall include supply of all material and accessories including but not limited to any fixtures, clamps, gasket, nut bolts, etc. | itemH5 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.1 | Cascade 3000 WLcapacity. (Refer TS Section III - B) | itemH5Code1 | 45 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6 | SECTION-B (iii) : SHIFTING OF MECHANICAL EQUIPMENT IN STATION PREMISE (CASCADE/ BOOSTER COMPRESSOR) Lifting of Cascade / Booster Compressor (including accessories if applicable) from existing position from ground level and shifting & erecting in the same CNG stations on foundation at ground level or on roof at 3.5 m above ground level (in case of Cascade if required) . Contractor's scope shall include supply of all material and accessories including but not limited to any fixtures, clamps, gasket, nut bolts, etc. | itemH6 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.1 | 3000 WL Cascade/ Booster Compressor with accessories. Lifting & Erection at ground /3.5 m level (Refer TS Section III - B) | itemH6Code1 | 45 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7 | SECTION-B (iv) : UNLOADING, TRANSPORTAION & LOADING OF BOOSTER COMPRESSOR Unloading from existing position (including dismantaling of connection, packaging of booster Compressor package), handling including lifting and transportation from CNG stations to Company's store / erecting on civil foundation at or above ground level in other CNG station site if necessary. Contractor's scope shall include supply of all material and accessories including but not limited to any fixtures, clamps, wire rope, gasket, nut bolts, etc. | itemH7 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.1 | 450 SCMH Hydraulic Booster Compressor (Refer TS Section III - B)- (0-50Km) | itemH7Code1 | 13 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.2 | 450 SCMH Hydraulic Booster Compressor (Refer TS Section III - B)- (51-100Km) | itemH7Code2 | 13 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | SECTION - C : SUPPLY, ERECTION & COMMISSIONING OF MISCELLANEOUS ITEM Supply, erection & commissioning of following miscellaneous items as per technical specification and at locations (within the stations) as directed by EIC. | itemH8 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.1 | Water cooler (Refer TS Section III - C) | itemH8Code1 | 6 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.2 | Fire fighting Equipments (Refer TS Section III - C) | itemH8Code2 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.3 | DCP -9 Kg | itemH8Code3 | 60 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.4 | DCP -75 Kg | itemH8Code4 | 17 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.5 | CO2 – 4.5 Kg | itemH8Code5 | 34 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.6 | Sand Bucket Set (6 Nos. on each strand) | itemH8Code6 | 17 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 18% | 0 | [37 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information