## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: M/s. Maharashtra Natural Gas Ltd., Pune
Name of Work: Tender for Annual Rate Contract for procurement of 125 KVA Capacity Natural Gas Gensets for proposed COCO CNG Stations at Sindhudurg GA of MNGL.
Tender No.: MNGL/CP/2025-26/122
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE / SCHEDULE OF RATES (SOR) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Total Cost in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Price Ex-works including cost of imported raw material/ components & Customs Duty thereon, pkg/ fwd, but excluding Goods & Service Tax on finished goods Rs. P | Per Unit Freight upto Project Site by Road Including Transit Insurance | Per Unit Goods & Service Tax (GST) applicable in % | GST in Rs. | Per Unit FOT Site |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1.1 | Design, Engineering, Manufacturing, Assembly, testing at work,Supply (including packaging & forwarding, insurance, custom clerance, handling and unloading at port as well as MNGL stores/ site), transportation including erection & commissioning of 125 KVA capacity Natural Gas Genset at site as per specification complete in all respect. Scope also includes: 1) supply of Pressure reduction skid (PRS) to covert CNG at 250 bar to 1-2 bar or less to operate the Gas Genset and its installation & commissioning. 2) Natural Gas Genset NOC from DISCOM (Electrical inspector NOC) for operation of Genset etc & related Liaisoning work shall be in bidder scope. | Item1 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 18% | 0 | 0 | [35 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.2 | Supply (including packaging & forwarding, insurance, custom clerance, handling and unloading at port as well as MNGL stores/ site), transportation including erection & commissioning of Auto changeover panel (AMF/ATS) as per tender specification complete in all respect. (Note: This item may or may not be utilized at site, depending on the operational requirements.) | Item2 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 18% | 0 | 0 | [35 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.3 | Required Power cable supply, laying, installation & termination from Gas Genset panel to Auto / Manual Changeover panel in electric room as per tender specification complete in all respect. Max. length for power cable would be around 60 Mtr. (Note: Length of power cable would be different from site to site. Invocing will be done on actual site cable length measurement. Vendor to mention sizes of power cables with details like Copper/ Aluminium cable consideration while quoting this item) | Item3 | 180 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 18% | 0 | 0 | [35 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.4 | Required earthings (4 Nos. per Genset) & its termination for each Gas Genset shall be in vendor scope. Vendor to consider 40-50 mm dia & 3 mtr depth copper Maintenance free chemical earthing for Gas Genset. copper strip/ Copper flexible wire for termination to Genset shall be as per standared design. civil foundation, electrical cable duct & chambers will be provided by MNGL. | Item4 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 18% | 0 | 0 | [35 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.5 | Gas Flow Meter for measurment of Gas concumption of Genset ( Vendor to mention proposed make, model, flow capacity , gas inlet pressure range of Mass flow Meter while quoting this item). | Item5 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 18% | 0 | 0 | [35 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.1 | Lump-sum Comprehensive Annual Maintenance charges of Gas 125 KVA Gas Genset & Accessories ( PRS Skid etc) during warranty period (first year) inclusive of supply of all Consumable & Manpower and all spares covered under warranty. (Refer tender clauses). | Item6 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 18% | 0 | 0 | [35 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.2 | Lump-sum Comprehensive Maintenance charges of 125 KVA Gas Genset & Accessories (PRS Skid etc) for second year i.e. after first year of warranty period inclusive of supply of all Consumable, all spares & Manpower. (Refer tender clauses). | Item7 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 18% | 0 | 0 | [35 empty] | 0 | 0 | #VALUE!
2.3 | Lump-sum Comprehensive Maintenance charges of 125 KVA Gas Genset & Accessories (PRS Skid etc) for third year i.e. after first year of warranty period and second year of AMC inclusive of supply of all Consumable, all spares & Manpower. (Refer tender clauses). | Item8 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 18% | 0 | 0 | [35 empty] | 0 | 0 | #VALUE!
2.4 | Lump-sum Comprehensive Maintenance charges of 125 KVA Gas Genset & Accessories (PRS Skid etc) for fourth year i.e. after first year of warranty period, second year and third year of AMC inclusive of supply of all Consumable, all spares & Manpower. (Refer tender clauses). | Item9 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 18% | 0 | 0 | [35 empty] | 0 | 0 | #VALUE!
2.5 | Lump-sum Comprehensive Maintenance charges of 125 KVA Gas Genset & Accessories (PRS Skid etc) for fifth year i.e. after first year of warranty period, second year, third year & fourth year of AMC inclusive of supply of all Consumable, all spares & Manpower. (Refer tender clauses). | Item10 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 18% | 0 | 0 | [35 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information