## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR | [49 empty] | 1
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Maharastra Natural Gas Ltd.,Pune
Name of Work: Transformer Rectifier Installation for CP System In Nashik & Sindhudurg GA
Tender No: MNGL/CP/2023-24/33
Do you want to quote for this sheet ? |  |  | Yes
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Rate inclusive of all taxes and duties except Goods & Service Tax (Rs.) | Per Unit Goods & Service Tax (GST) In % | GST in Rs. | Unit rate inclusive of all taxes & duties including GST (Rs.) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | TR Installation for CP System
1.01 | Supply of Transformer Rectifier Unit | Item1 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | Anode Ground Bed Assemblies(deepwell) | Item2 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
1.03 | Supply of Anodes with anode tail cable and accessories | Item3 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Supply/Installation of Anode Junction Box | Item4 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
1.05 | Supply/Installation of Cathode Junction Box | Item5 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.06 | Supply/Installation of Permanent Reference cell | Item6 | 15 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.07 | Supply/Installation of 1Cx6sqmm armoured cable | Item7 | 3500 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.08 | Supply/Installation of 1Cx4sqmm measurment cable | Item8 | 1000 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.09 | Supply/Installation of 1Cx35sqmm armoured cable | Item9 | 1500 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
1.1 | Supply/Installation of 3Cx10sqmm armoured conductor | Item10 | 750 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.11 | Supply of corrosion coupon with mantri | Item11 | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.12 | Supply of Portable TR Unit Set(Service as per requirement) | Item12 | 1 | Month |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## BoQ2 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR | [49 empty] | 1
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Maharastra Natural Gas Ltd.,Pune
Name of Work: Monitoring & Maintenance of Cathodic Protection in Nashik GA
Tender No: MNGL/CP/2023-24/33
Do you want to quote for this sheet ? |  |  | Yes
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Rate inclusive of all taxes and duties except Goods & Service Tax (Rs.) | Per Unit Goods & Service Tax (GST) In % | GST in Rs. | Unit rate inclusive of all taxes & duties including GST (Rs.) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Cathodic Protection Monitoring and Maintenance Works (Including Manpower, Material,Liasoning with Local Authority & Transport)
2 | TLP PSP Monitoring (ON) & Maintenance of the Pipeline network - MNGL Network (Monthly) as per Scope of Work | Item1 | 3120 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | ON / OFF PSP Monitoring of the Entire Pipeline netwrok (Yearly) | Item2 | 208 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4 | Monitoring & Maintenance of CPPSM / TRU along the P/L (Monthly). | Item3 | 90 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Monitoring and Maintenance of Computerised Test stations (CTSU) wherever installed as per Scope of Work including downloading of data ( yearly or as per MNGL requirment) . | Item4 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
6 | TLP (Including Material, Manpower & Transport) | Item5 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | SUPPLY AND INSTALLATION OF MTS/TLP of approved design as per existing installation including Terminal plates, diagram Plates foundation bolts, cable termination with lugs & numbering of TS etc, raising the old foundation further up to 1.5 feet around the 4" dia pipe of TLP with 1:2:4 cement concrete in each foundations complete in all respect as per the drawings, specifications and directions of the Engineer-In-Charge. (Normal Type) | Item6 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | With lower Bend & Foundation | Item7 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Without Lower Bend & Foundation - Fixing on the existing foundation. | Item8 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | SUPPLY & INSTALLATION OF MTS/TLP suitable to accommodate the polarization cell along with complete terminal plate for cable connections, door, locking arrangement as per approved design , Synthetic Enamel paint and marking of Chainage Nos & etc. on TLPs, raising the old foundation further up to 1.5 feet around the 4" dia pipe of TLP with 1:2:4 cement concrete in each foundations, as per directions of Engineer in Charge. | Item9
11 | With lower Bend & Foundation | Item10 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Without Lower Bend & Foundation - Fixing on the existing foundation. | Item11 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13 | Shifting of MTS/TLP along with foundation an upto a maximum distance of 25 Metres as per Scope of Work | Item12 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
14 | Repairing of MTS/TLP foundation with supply and replacement of foundation bolts & nuts | Item13 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Repairing of MTS/TLP including supply and replacement of damaged door, door locks,terminal plate ,diagram plate | Item14 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
16 | Repairing of AJB/ CJB including supply of new locks & latch for the outer enclosure | Item15 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17 | Supply & Installation of TLP door along with necessary weilding, hinges, allen bolt etc. | Item16 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
18 | Pipe To cable connection-(Supply, Installation, Including Material, Manpower & Transport) | Item17 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19 | Pin Brazing on Charged Pipeline | Item18 | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20 | Thermit Weld on Uncharged Pipeline | Item19 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
21 | Supply and fixing of Neo-prene gasket | Item20 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
22 | Supply of corrosion coupons with mangratic read swich and reference cell including 1c x 6 sq mm cable for reference cell and 1c x 10 sq mm cablefor corrosion coupon,pinbrazing connection encapsulation kit etc. | Item21 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
23 | Transformer Rectifier Unit (Including Material, Manpower & Transport) | Item22 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24 | Supply & Replacement of Fauly control cards in TR unit ( Card No. CECO- 103A, CECO- 104C1, CECO- 105D1, CECO-106, CECO- 118B,CECO 107,CECO 118B & CECO118C) | Item23 | 6 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
25 | Supply ,installation,testing and commissioning of Analog Meters | Item24 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
26 | Supply ,installation,testing and commissioning OF Digital Meters | Item25 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
27 | Supply & replacement of new / Repairing of faulty GPS interrupter with antenna | Item26 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
28 | Supply and installation new contactors/MCBs in CP panel | Item27 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
29 | Supply & Installation of fuses of different ratings in TRU. | Item28 | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
30 | Calibration of all meters of TRU (yearly) | Item29 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31 | Supply and installation of Display Board & Mother Board Type DB1 | Item30 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
32 | Supply and installation of Silicon Controlled Rectifier SCR1 | Item31 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
33 | Supply and installation of SCR and Diode Module | Item32 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34 | Supply and Installation of RC Surge Diverter | Item33 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
35 | Supply and Installation of Auxillary Transformer-TR2(5 Winding) | Item34 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36 | Supply and installation of Reference Selector,Auto/Manual Mode,Coarse Selector,Fine Selector & Toggle switch | Item35 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
37 | Supply and Installation of Filter circuit and lightining capacitor | Item36 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
38 | Supply and Installation of Transformer Rectifier Unit contractor | Item37 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
39 | Supply and Installation of Convert Module Voltage,current & PSP(4-20 MA) | Item38 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
40 | Anode Ground Bed (Including Material, Manpower & Transport) | Item39 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
41 | Supply of water and coke breeze to anode bed to maintain its resistance minimum Ohm.(Yearly) | Item40 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
42 | Supply & Installation of set of resistors and shunts for AJB of various ratings as per instruction of EIC. | Item41 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
43 | General Maintenance (Including Material, Manpower & Transport) | Item42 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44 | Supply and installation of pre-packed Magnesium anodes (7.7 Kg) | Item43 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
45 | Supply and installation of pre-packed Zinc anodes (22 Kg) | Item44 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
46 | Supply and installation of Zn ribbon anodes | Item45 | 10 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
47 | Cable jointing / Repairing of underground Cable of size 4-10 Sq MM | Item46 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
48 | Cable jointing / Repairing of underground Cable of size 25-35 Sq mm | Item47 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
49 | Supply, installation, laying, ferruling/tagging and termination of cables of different sizes as per the attached drawing & requirement | Item48
50 | 6 Sq.mm(PE/PVC,XLPE) | Item49 | 70 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
51 | 10 Sq.mm(PE/PVC,XLPE) | Item50 | 50 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
52 | 25 Sq.mm(PE/PVC,XLPE) | Item51 | 70 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
53 | 35 Sq.mm(PE/PVC,XLPE) | Item52 | 50 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
54 | Maintenance of Polarization Cells(Kirk cell 5kA) | Item53 | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
55 | Supply & Installation of (Including Material, Manpower & Transport) | Item54 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
56 | Supply and Installtion of Polarization cells at HT Line Crossings including Supply and installation of Type H Test stations of suitable size to accommodate the Static Type Polarsation Cells / replacement of smaller existing Test station with H Type wherever required for installation of the polarisation cell [As per Scope of Work] | Item55 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
57 | Supply and Installtion of Polarization, polarization cells (Solid State -Static type), at HT Line Crossings including Supply and installation of Type H Test stations of suitable size to accommodate the Static Type Polarsation Cells / replacement of smaller existing Test station with H Type wherever required for installation of the polarisation cell [As per Scope of Work] | Item56 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
58 | Supply, Installation, Testing and commissioning of Static type Spark gap arrestors across IJ's | Item57 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
59 | Supply, installation, testing & commissioning of permanent refernce cell as per the requirement (Make from approved vendor) | Item58 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
60 | Supply, installation,testing & commissioning of computerised test stations(CTSU) with SIM & Monthly rental | Item59 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
61 | 24 hours Data Recording, Data retrieval and Analysis using Portable Battery Power operated state of the art Digital Data Loggers at Critical Locations like Road /Rly / HT Line Crossings with analysis report as and when required as per SOW. | Item60 | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
62 | Repair pipe coating by cold applied tape including material,manpower required | Item61 | 70 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
63 | Excavation & backfilling for coating Defect/fault locations | Item62 | 70 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
64 | Checking effectivness of IJ (once in two year) | Item63 | 25 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
65 | Inspection of cased crossing (once in two year) | Item64 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
66 | Painting of TLP support structure and Foundation alongwith naming TLP and chainage No (as per MNGL requirment) | Item65 | 40 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
67 | Ultrasonic Thickness Test of A/G piping at DRS,MRS,CGS & CNG station(Yearly) | Item66 | 15 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
68 | Supply of Reference Electrode (Halfcell Cu/CuSo4, of reputed make) | Item67 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
69 | Supply of IJ tester (Make- Reputed make) | Item68 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
70 | Supply of Multimeter (Automatic)(Make-HTC DM-81/DIGITAL 83T/MASTECH MAS830L/FLUKE/MOTWANE/ Equivelent) | Item69 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
71 | Supply of Megger Tester (Reputed Make) | Item70 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
72 | Supply of GPS device (of reputed make) | Item71 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
73 | Liasoning for permission | Item72 | 250 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
74 | Note :Monitoring and Maintenance of TR units SOR will be activated after installation of TR units after 6 Months from Comissioning | Item73 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
75 | Note : The quantities of individual item can vary as per site requirement. The payment will be made as per actual certified measurement at site. | Item74
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## BoQ3 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR | [49 empty] | 1
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Maharastra Natural Gas Ltd.,Pune
Name of Work: Monitoring & Maintenance of Cathodic Protection in Sindhudurg GA
Tender No: MNGL/CP/2023-24/33
Do you want to quote for this sheet ? |  |  | Yes
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Rate inclusive of all taxes and duties except Goods & Service Tax (Rs.) | Per Unit Goods & Service Tax (GST) In % | GST in Rs. | Unit rate inclusive of all taxes & duties including GST (Rs.) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Cathodic Protection Monitoring and Maintenance Works (Including Manpower, Material,Liasoning with Local Authority & Transport)
2 | TLP PSP Monitoring (ON) & Maintenance of the Pipeline network - MNGL Network (Monthly) as per Scope of Work | Item1 | 2280 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | ON / OFF PSP Monitoring of the Entire Pipeline netwrok (Yearly) | Item2 | 152 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4 | Monitoring & Maintenance of CPPSM / TRU along the P/L (Monthly). | Item3 | 48 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Monitoring and Maintenance of Computerised Test stations (CTSU) wherever installed as per Scope of Work including downloading of data ( yearly or as per MNGL requirment) . | Item4 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
6 | TLP (Including Material, Manpower & Transport) | Item5 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | SUPPLY AND INSTALLATION OF MTS/TLP of approved design as per existing installation including Terminal plates, diagram Plates foundation bolts, cable termination with lugs & numbering of TS etc, raising the old foundation further up to 1.5 feet around the 4" dia pipe of TLP with 1:2:4 cement concrete in each foundations complete in all respect as per the drawings, specifications and directions of the Engineer-In-Charge. (Normal Type) | Item6 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | With lower Bend & Foundation | Item7 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Without Lower Bend & Foundation - Fixing on the existing foundation. | Item8 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | SUPPLY & INSTALLATION OF MTS/TLP suitable to accommodate the polarization cell along with complete terminal plate for cable connections, door, locking arrangement as per approved design , Synthetic Enamel paint and marking of Chainage Nos & etc. on TLPs, raising the old foundation further up to 1.5 feet around the 4" dia pipe of TLP with 1:2:4 cement concrete in each foundations, as per directions of Engineer in Charge. | Item9
11 | With lower Bend & Foundation | Item10 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Without Lower Bend & Foundation - Fixing on the existing foundation. | Item11 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13 | Shifting of MTS/TLP along with foundation an upto a maximum distance of 25 Metres as per Scope of Work | Item12 | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
14 | Repairing of MTS/TLP foundation with supply and replacement of foundation bolts & nuts | Item13 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Repairing of MTS/TLP including supply and replacement of damaged door, door locks,terminal plate ,diagram plate | Item14 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
16 | Repairing of AJB/ CJB including supply of new locks & latch for the outer enclosure | Item15 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17 | Supply & Installation of TLP door along with necessary weilding, hinges, allen bolt etc. | Item16 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
18 | Pipe To cable connection-(Supply, Installation, Including Material, Manpower & Transport) | Item17 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19 | Pin Brazing on Charged Pipeline | Item18 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20 | Thermit Weld on Uncharged Pipeline | Item19 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
21 | Supply and fixing of Neo-prene gasket | Item20 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
22 | Supply of corrosion coupons with mangratic read swich and reference cell including 1c x 6 sq mm cable for reference cell and 1c x 10 sq mm cablefor corrosion coupon,pinbrazing connection encapsulation kit etc. | Item21 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
23 | Transformer Rectifier Unit (Including Material, Manpower & Transport) | Item22 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24 | Supply & Replacement of Fauly control cards in TR unit ( Card No. CECO- 103A, CECO- 104C1, CECO- 105D1, CECO-106, CECO- 118B,CECO 107,CECO 118B & CECO118C) | Item23 | 5 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
25 | Supply ,installation,testing and commissioning of Analog Meters | Item24 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
26 | Supply ,installation,testing and commissioning OF Digital Meters | Item25 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
27 | Supply & replacement of new / Repairing of faulty GPS interrupter with antenna | Item26 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
28 | Supply and installation new contactors/MCBs in CP panel | Item27 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
29 | Supply & Installation of fuses of different ratings in TRU. | Item28 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
30 | Calibration of all meters of TRU (yearly) | Item29 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31 | Supply and installation of Display Board & Mother Board Type DB1 | Item30 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
32 | Supply and installation of Silicon Controlled Rectifier SCR1 | Item31 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
33 | Supply and installation of SCR and Diode Module | Item32 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34 | Supply and Installation of RC Surge Diverter | Item33 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
35 | Supply and Installation of Auxillary Transformer-TR2(5 Winding) | Item34 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36 | Supply and installation of Reference Selector,Auto/Manual Mode,Coarse Selector,Fine Selector & Toggle switch | Item35 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
37 | Supply and Installation of Filter circuit and lightining capacitor | Item36 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
38 | Supply and Installation of Transformer Rectifier Unit contractor | Item37 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
39 | Supply and Installation of Convert Module Voltage,current & PSP(4-20 MA) | Item38 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
40 | Anode Ground Bed (Including Material, Manpower & Transport) | Item39 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
41 | Supply of water and coke breeze to anode bed to maintain its resistance minimum Ohm.(Yearly) | Item40 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
42 | Supply & Installation of set of resistors and shunts for AJB of various ratings as per instruction of EIC. | Item41 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
43 | General Maintenance (Including Material, Manpower & Transport) | Item42 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44 | Supply and installation of pre-packed Magnesium anodes (7.7 Kg) | Item43 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
45 | Supply and installation of pre-packed Zinc anodes (22 Kg) | Item44 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
46 | Supply and installation of Zn ribbon anodes | Item45 | 10 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
47 | Cable jointing / Repairing of underground Cable of size 4-10 Sq MM | Item46 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
48 | Cable jointing / Repairing of underground Cable of size 25-35 Sq mm | Item47 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
49 | Supply, installation, laying, ferruling/tagging and termination of cables of different sizes as per the attached drawing & requirement | Item48
50 | 6 Sq.mm(PE/PVC,XLPE) | Item49 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
51 | 10 Sq.mm(PE/PVC,XLPE) | Item50 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
52 | 25 Sq.mm(PE/PVC,XLPE) | Item51 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
53 | 35 Sq.mm(PE/PVC,XLPE) | Item52 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
54 | Maintenance of Polarization Cells(Kirk cell 5kA) | Item53 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
55 | Supply & Installation of (Including Material, Manpower & Transport) | Item54 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
56 | Supply and Installtion of Polarization cells at HT Line Crossings including Supply and installation of Type H Test stations of suitable size to accommodate the Static Type Polarsation Cells / replacement of smaller existing Test station with H Type wherever required for installation of the polarisation cell [As per Scope of Work] | Item55 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
57 | Supply and Installtion of Polarization, polarization cells (Solid State -Static type), at HT Line Crossings including Supply and installation of Type H Test stations of suitable size to accommodate the Static Type Polarsation Cells / replacement of smaller existing Test station with H Type wherever required for installation of the polarisation cell [As per Scope of Work] | Item56 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
58 | Supply, Installation, Testing and commissioning of Static type Spark gap arrestors across IJ's | Item57 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
59 | Supply, installation, testing & commissioning of permanent refernce cell as per the requirement (Make from approved vendor) | Item58 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
60 | Supply, installation,testing & commissioning of computerised test stations(CTSU) with SIM & Monthly rental | Item59 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
61 | 24 hours Data Recording, Data retrieval and Analysis using Portable Battery Power operated state of the art Digital Data Loggers at Critical Locations like Road /Rly / HT Line Crossings with analysis report as and when required as per SOW. | Item60 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
62 | Repair pipe coating by cold applied tape including material,manpower required | Item61 | 50 | M2 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
63 | Excavation & backfilling for coating Defect/fault locations | Item62 | 50 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
64 | Checking effectivness of IJ (once in two year) | Item63 | 8 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
65 | Inspection of cased crossing (once in two year) | Item64 | 8 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
66 | Painting of TLP support structure and Foundation alongwith naming TLP and chainage No (as per MNGL requirment) | Item65 | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
67 | Ultrasonic Thickness Test of A/G piping at DRS,MRS,CGS & CNG station(Yearly) | Item66 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
68 | Note :Monitoring and Maintenance of TR units SOR will be activated after installation of TR units after 6 Months from Comissioning | Item67 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
69 | Note : The quantities of individual item can vary as per site requirement. The payment will be made as per actual certified measurement at site. | Item68
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information