## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Maharastra Natural Gas Ltd.,Pune
Name of Work: Tender for appointment of agency for getting HT electric power supply at upcoming City Gate Station (CGS) at Dodi, Sinner in Nashik GA
Tender No: MNGL/CP/2024-25/121
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE / SCHEDULE OF RATES (SOR) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | UNIT RATE In Figures To be entered by the Bidder inclusive of all taxes & duties except GST Rs. P | Per Unit Goods & Service Tax (GST) In % (To be entered by the Bidder) | GST in Rs. | Unit rate inclusive of all taxes & duties including GST (Rs.) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Part A Supply, installation, testing and commissioning of 4x4½ ‘2I’ Section 11 Mtr. Height Pole Set complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item1 | 2 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2 | Supply, installation, testing and commissioning of 11KV Air Break Switch complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item2 | 1 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
3 | Supply, installation, testing Loading,unloading and commissioning of HT 11 kV GOD & D O set complete with required Fabrication in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB. | Item3 | 1 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4 | Supply, installation, testing and commissioning of 11 kV Disc Insulator complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item4 | 9 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
5 | Supply, installation, testing and commissioning of Pin Insulators 11 kV complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item5 | 12 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
6 | Supply, installation, testing and commissioning of Lighting Arrestors set. with required Fabrication complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item6 | 1 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
7 | Supply, laying, testing and commissioning of HT Cable 3 x 300 mm² (XLPE)from HT cut point to HT metering(Kiosk) & from Kiosk to DP structure & To T/F ISI Make/ Market situation complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: 1. Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily. 2. The rate includes digging of trench,laying of bricks, backfilling the same etc. that are necessary to complete the job satisfactorily.) | Item7 | 900 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
8 | Supply, laying, testing and commissioning of HT Cable 3 x 95 mm² (XLPE)from HT cut point to HT metering(Kiosk) & from Kiosk to DP structure & To T/F ISI Make/ Market situation complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: 1. Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily. 2. The rate includes digging of trench,laying of bricks, backfilling the same etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) cable from GOD to Kiosk to RMU to Transformer | Item8 | 110 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
9 | Supply, installation, testing and commissioning of HT Termination 300 mm² HT outdoor complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item9 | 4 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
10 | Supply, installation, testing and commissioning of HT Termination 95 mm² HT outdoor complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item10 | 7 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
11 | Supply, installation, testing and commissioning of LT 630 Amp M c c b Panel with required material as per PWD office complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item11 | 1 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
12 | Supply, laying, testing and commissioning LT cable 3 ½ core 240 sq mm. ( cable from T/F to LT panel Two Runs & other works ) complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item12 | 300 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
13 | Supply, installation, testing and commissioning LT termination with 300sqmm Gland, Indoor & Out door complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item13 | 8 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
14 | Supply, installation, testing and commissioning Earthling Cu. Earth plated Electrode” Chemical Earthing System Outer Electrode Dia 80 mm and 3 Mtr Long, with Bag Of back fill compound.(With BFC 25 Kg X 2 Bags). & require Material for TF Neutral complete in all respect as per tender document and direction of Engineer In Charge. Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB. | Item14 | 10 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
15 | Supply, installation, testing and commissioning of 25 mmx5mm Copper strip for Earthing running complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item15 | 150 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
16 | Supply, installation, testing, lunloading, transportation and commissioning of Transformer,11kv/22kv -.440v, 500 kva (OIL type) complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) with OLTC JOB | Item16 | 1 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
17 | Supply, installation, testing and commissioning of 25mmx6mm GI strip for Earthing running complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB. | Item17 | 180 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
18 | Supply, installation, testing and commissioning of HT Meter complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item18 | 1 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
19 | Supply and laying of RCC Pipe halff Round pipe 150mm complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item19 | 900 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
20 | 11kV, 630Amps, 25kA for 3 sec. rating Indoor type VCB ICOG Panel, Degree of Protection: IP55 protected metal enclosed switchgears with Copper Busbar, Incoming/Outgoing Bottom cable. complete in all respect as per tender document, requirement of concerned authorities and direction of Engineer In Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item20 | 1 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
21 | Supply, installation, testing and commissioning of 11 mtr/as per site condition requirments Height pole,along with disc/pin insulators for support of HT conductor, complete with earthing complete in all respect as per the scope of work, tender document, requirement of concerned authorities and direction of Engineer In-Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item21 | 7 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
22 | Supply & laying of ACSR conductor as per the tender document, requirement of concerned authorities and direction of Engineer In- Charge. (Note: Rate includes cost of loading, unloading, transportation, installation, testing and commissioning, labour charges, etc. that are necessary to complete the job satisfactorily as per the requirment of MNGL & MSEB.) | Item22 | 600 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
23 | RCC Foundation: Providing, laying in position, construction and handing over of RCC M25 in foundations, substructure and under floor including shuttering inserts/ anchor bolts, sleeves, two coats of bitumen paint on surfaces in contact with soil etc complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of Engineer-in-charge. | Item23 | 5 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
24 | Supplying, fabricating & fixing steel structural fencing 2.10 m Height fabricated from pipes conforming to IS:1161 and plates conforming to IS:2062 & fixing of GI weldmesh made from 3mm GI wire @ 75 mm bothways to structural steel frame by means of welding/bolting, painting with enamel paint in approved shade including supply of all raw materials, bolts, electrodes, transportation, including making pockets & pouring with PCC (1:2:4) in of block 500x500x500 for fixing of posts etc complete as per enclosed sketch, technical specifications and directions of the Engineer-In-Charge. | Item24 | 20 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
25 | Supplying, fabricating & fixing fencing gates fabricated from pipes conforming to IS:1161 and plates conforming to IS:2062 & fixing of GI weldmesh made from 3mm GI wire @ 75 mm bothways to structural steel frame by means of welding/bolting, painting with enamel paint in approved shade including supply of all raw materials, bolts, electrodes, transportation etc complete as per enclosed sketch, technical specifications and directions of the Engineer-In-Charge. | Item25 | 20 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
26 | 2m Wide and fencing height of 2.1 m x 5 x 5 smm with Angel | Item26 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
27 | 4m Wide and fencing height of 2.1 m x 5 x 5 smm with Angel | Item27 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
28 | Supplying and Fabricating and Fixing in position HYSD Steel Reinforcements/ TMT Grade Fe-415 conforming to IS1786-1985 at all levels and positions including the Cost of transport, Straightening, Cutting, Bending, Cranking, Binding, Welding, Provision of necessary Chairs and Spacers, Preparation of bar bending schedule Drawings, getting the same approved etc., as per Drawings and Specifications and including Cost of binding wire, Labour etc., all complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of Engineer-in- charge. The chairs and spacer bars provided will not be Measured for payment. | Item28 | 0.5 | MT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
29 | Shifting of HT line pole and extension of cable including obtaining permission from MSEDCL | Item29 | 3 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
30 | Part B Professional fees for documents preparation, submission for getting release order & HT supply as per tender document, requirement of concerned authorities and direction of Engineer In Charge | Item30 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
31 | Liaisoning fees for getting all the necessary NOC's, other documents etc. from MSEDCL, PWD/NH,Local authorities, etc. that are necessary for getting electrical HT supply as per tender document, requirement of concerned authorities and direction of Engineer In Charge (including approval for DG setup) | Item31 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information