## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Maharastra Natural Gas Ltd.,Pune
Name of Work: "Rate Contract for a period of 2 (Two) years for Electrical AMC with spares for maintenance activities at DBS, LCNG and MNGL COCO CNG Stations at Nashik GA of MNGL."
Tender No: MNGL/CP/2024-25/146
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE / SCHEDULE OF RATE (ALL ITEM SHOULD BE QUOTED) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Monthly Pay per Manpower including Petrol Allowance(Rs.) |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Rate (in Rs.) | GST in % | GST in Rs. (F) | Unit rate inclusive of all taxes & duties including GST (Rs.) | Amount for 2(Two) Years |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxess in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply of Spares (As per Scope of work) | Item1
1.1 | Power Capacitor 20KVR (3 Ph 415V) | Item2 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
1.2 | Power Capacitor 15KVR (3 Ph 415V) | Item3 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
1.3 | Power Capacitor 10KVR (3 Ph 415V) | Item4 | 8 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
1.4 | Power Capacitor 5KVR (3 Ph 415V) | Item5 | 8 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
1.5 | Capacitor Contactor 25 KVAR | Item6 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
1.6 | Capacitor Contactor 15 KVAR | Item7 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
1.7 | Capacitor Contactor 10 KVAR | Item8 | 2 | NO |  |  |  | Excess(+) |  | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
1.8 | Capacitor Contactor 5 KVAR | Item9 | 8 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
1.9 | CAPACITOR Contactor coil 32 AMP | Item10 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
2 | CAPACITOR Contactor coil 50 AMP | Item11 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
2.1 | CAPACITOR Contactor coil 20 AMP | Item12 | 4 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
2.2 | 11KV HT Fuse (Per Ph.)(3 Ph/415V) | Item13 | 6 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
2.3 | 63 Amp, 4 pole MCB | Item14 | 8 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
2.4 | 32 Amp, 4 pole MCB | Item15 | 4 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
2.5 | 16 Amp, 4 pole MCB | Item16 | 4 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
2.6 | Cable Gland 22mm DC | Item17 | 6 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
2.7 | Cable Gland 50mm DC | Item18 | 8 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
2.8 | 63 AMP 2 pole MCB | Item19 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
2.9 | 63- AMP 3 pole MCB | Item20 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
3 | 32 AMP 2-POLE MCB | Item21 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
3.1 | 16 AMP 2-POLE MCB | Item22 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
3.2 | 32 AMP 3-POLE MCB | Item23 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
3.3 | VOLTMETER-PANEL MOUNTED | Item24 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
3.4 | AMMETER-PANEL MOUNTED | Item25 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
3.5 | 2 CORE X 2.5 SQMM ARMOURED ALUMINIUM CABLE | Item26 | 100 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
3.6 | LED BULB 15 WATTS | Item27 | 10 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
3.7 | ALLUMINIUM LUG 300 SQMM X 3.5 CORE | Item28 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
3.8 | ALLUMINIUM LUG 185 SQMM X 3.5 CORE | Item29 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
3.9 | 36 Watt PL LAMP | Item30 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4 | 36 Watt PL LAMP CHOKE | Item31 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4.1 | 125 AMP 4-POLE CHANGEOVER SWITCH | Item32 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4.2 | 100 AMP MCCB | Item33 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4.3 | 250 Amp MCCB | Item34 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4.4 | EARTH TESTER DIGITAL | Item35 | 1 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4.5 | RUBBER GLOVES 33KV | Item36 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4.6 | INSULATION TAPE-RED,YELLOW, BLACK, BLUE, Taplon tape | Item37 | 10 | EACH |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4.7 | HT TAPE | Item38 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4.8 | DISTRIBUTION BOARD-12 WAY SPN | Item39 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
4.9 | EXHAUST FAN | Item40 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
5 | CEILING FAN | Item41 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
5.1 | 20WATT LED WITH FITTING-4 FEET | Item42 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
5.2 | 20 WATT LED WITH FITTING-2 FEET | Item43 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
5.3 | 4Cx2.5 sqmm Flexible Cu cable | Item44 | 100 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
5.4 | 4Cx1.5 sqmm Flexible Cu cable | Item45 | 100 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
5.5 | 4Cx2.5 sqmm Armoured Cu cable | Item46 | 100 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
5.6 | 16 sqmm green earthing Cu Cable | Item47 | 100 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
5.7 | MCB Single pole 6 Amp | Item48 | 10 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
5.8 | Electrical Insulation Mat(2Mtr X 10 Mtr) | Item49 | 5 | Rolls |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
5.9 | HRC fuse 250 Ampere | Item50 | 3 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
6 | Clamp Meter | Item51 | 1 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
6.1 | Contact Cleaner CRC 2-26 | Item52 | 10 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
6.2 | 2.5 sqmm cu lug | Item53 | 2 | Pkt |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
6.3 | Crocodile clamp (Heavy duty) | Item54 | 20 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
6.4 | Electrical tool box with necessary tools. | Item55 | 3 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
7 | Electrical AMC (As per Scope of work) | Item56
7.1 | SERVICE ARC visit of licensed electrician for attending B/D work at site | Item57 | 60 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
7.2 | SERVICE ARC ELECTRICAL ENERGY AUDIT | Item58 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
7.3 | SERVICE ARC Annual ELECTRICAL inspection by Electrical inspector. | Item59 | 10 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
7.4 | Service ARC 125 KVA Gas Genst Electrical charging permission and plan approval, drawing submission and registration for gettting necessary NOCs , other documents,etc. from MSEDCL office Nashik | Item60 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
7.5 | Service ARC Revamping of SLD and Approval of Revamped SLD by electrical inspector. | Item61 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
7.6 | Service ARC Earthpit Calibration, Testing Maintenance and Layout drawing preparation including Grid on half yearly basis. | Item62 | 700 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
7.7 | SERVICE ARC Supply, Installation ,Commissioning of Maintenance free Earthing | Item63 | 30 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
7.8 | Service ARC maintenance of Conventional earthing including recharging | Item64 | 40 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
7.9 | SERVICE ARC Supply & Installion of Cu STRIP 25*5mm | Item65 | 100 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
8 | SERVICE ARC Electrical earth pit using GI STRIP | Item66 | 120 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
8.1 | SERVICE ARC supply and installation 3.5Cx185 sqmm Al Armoured cable XLPE | Item67 | 100 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
8.2 | SERVICE ARC Jointing Kit_3x185 sqmm XLPE Cable outdoor | Item68 | 2 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
8.3 | SERVICE ARC S,I,C LT CABLE 3.5 CORE X 300 SQMM ARMOURED ALLUMINIUM CABLE | Item69 | 100 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
8.4 | SERVICE ARC S,I,C OF HT cable 3 CORE X 300 SQMM ARMOURED ALLUMINIUM CABLE | Item70 | 100 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
8.5 | SERVICE ARC Calibration,testing and TRANSFORMER OIL FILTRATION WITH OIL TOP-UP, FILTER CHANGE ETC.up to 500 KVA ( Oil max 45 Ltr). | Item71 | 4 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
8.6 | SERVICE ARC DOUBLE POLE STRUCTURE MAINTENANCE INCASE OF BREAKDOWN AS ACTUAL | Item72 | 3 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
8.7 | SERVICE ARC Jointing Kit_240/300 sqmm HT Cable outdoor | Item73 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
8.8 | Service ARC Suply,I & C LED street lights STORE(75 WATT) | Item74 | 5 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
8.9 | Service ARC Sup,I,C flameproof LED light for Canopy(75 WATT) | Item75 | 10 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
9 | Service ARC Sup,I,C flameproof well glass LED (75 WATT) | Item76 | 10 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
9.1 | Maintenance of LT breaker cubicle(Quarterly Non Comprehensive at Nashik and Zodage,Malegaon) | Item77 | 16 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
9.2 | Maintenance of LT MCCB cubicle including APFC panel (Non Comprehensive) (Locations Nashik, Dhule, Valsad and other adjoining areas, 45 CNG stations.) | Item78 | 180 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
9.3 | Maintenance of HT breaker cubicle(Quarterly Comprehensive) | Item79 | 16 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
9.4 | Service ARC liasoning with MSEDCL for HT,LT, work, conversion of commercial tariff to industrial tariff of CNG station,etc. | Item80 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | 0 | [36 empty] | 0 | 0 | #VALUE!
Total in Figures | [13 empty] | 0 | 0 | [36 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information